## Sheet1
SN | NUPCO Code | Item Specification | UNIT | QUANTITY | Manufacturer | Country Of Origin | Supplier | SFDA. NO | Trade Name | Item Validity Total Shelf Life (months) | Catalog Number | Volume/ Package Size | Quantity Quoted | Unit Price (SR) | Unit Price In Writing (SR) | Total Price (SR) | Free Of Charge % | Company Comments & Remarks | Delivery Period | First Shipment Quantity | First Shipment Delivery Period
1 | 4227191504000 | TUBE TRACHEOSTOMY PEDIATRIC CUFFED SIZE 5.5 SINGLE CANNULA STERILE | TUB | 132 | [11 empty] | 0
2 | 4227191506600 | TUBE TRACHEOSTOMY ADULT UNCUFFED FLEXIBLE ADJUSTABLE NECK FLANGE SZ 6 | TUB | 9900 | [11 empty] | 0
3 | 4227190403500 | TUBE TRACHEOSTOMY PLAIN 7.5 MM ID (31.0FG APPROX) WITH FENESTRATION AND WITHOUT INNER CANNULA | EA | 2640 | [11 empty] | 0
4 | 4214410101400 | DRAINAGE, CHEST, WATER SEAL SYSTEM, 500 - 1000 CC, CLOSED SYSTEM, SINGLE CHAMBER, SILICONE CONNECTION TUBES, DISPOSABLE, STERILE | EA | 1980 | [11 empty] | 0
5 | 4218160500700 | KIT PRESSURE MONITORING, WITH AN ADAPTER TO FIT ANY PRESSURE MONITORING EQUIPMENT BRAND IN THE HOSPITAL, DISPOSABLE, STERILE | SET | 16500 | [11 empty] | 0
6 | 4220170800800 | ULTRASOUND, GEL, (REGULAR AND STERILE), XR/031 OR EQUIVALENT, GEL ULTRASOUND TRANSMISSION, 250 GM/TUBE | EA | 9900 | [11 empty] | 0
7 | 4227170500100 | CONNECTING TUBE, HIGH PRESSURE 8.8 FRENCH, 180 CM, DISPOSABLE, STERILE | PC | 264000 | [11 empty] | 0
8 | 4110410705100 | TUBE, BLOOD COLLECTION, 2-3ML, POLYSTYRENE, ROUND BOTTOM, LEAK PROOF, CAPPED, STANDARD LABEL, VACUUM, CONTAIN EDTA | EA | 158400 | [11 empty] | 0
9 | 4110411200000 | CONTAINER, URINE COLLECTION, 2500-3000ML, WHITE, PLASTIC, GRADUATED HEAVY WALL. | TET | 1320 | [11 empty] | 0
10 | 4110411200500 | CONTAINER, URINE COLLECTION, 60ML, HIGH TIGHTNESS, EASY TRANSPORT, DISPOSABLE | PC | 39600 | [11 empty] | 0
11 | 4110411201500 | CONTAINER, URINE COLLECTION, TRANSPARENT, POLYSTYRENE, WITH SCREW, FITTED CAP AND LABEL, STERILE FOR URINE CULTURE, VOLUME APPROX. 120 ML | EA | 39600 | [11 empty] | 0
12 | 4110410501800 | BAG BIOHAZARD 15X25CM SPECIMEN TRANSPORT 1PK/100EA | PC | 211200 | [11 empty] | 0
13 | 4110410502000 | BAG BIOHAZARD 14X16CM SPECIMEN TRANSPORT 1PK/100EA | PC | 132000 | [11 empty] | 0
14 | 4110410702200 | TUBE, BLOOD COLLECTION, 6 - 7ML, PLASTIC, VACUUM, POLYSTYRENE | TUB | 79200 | [11 empty] | 0
15 | 4110411600400 | SWAB, SPECIMEN COLLECTION, FLOCKED, AMIES TRANSPORT MEDIA, WITHOUT CHARCOAL, DISPOSABLE, STERILE | PC | 50000 | [11 empty] | 0
16 | 4110411600300 | SWAB, SPECIMEN COLLECTION, FLOCKED, AMIES TRANSPORT MEDIUM, CHARCOAL, DISPOSABLE, STERILE | TUB | 50000 | [11 empty] | 0
17 | 4110411001300 | BOTTLE, BLOOD CULTURE, ADULT, 50ML, STANDARD, ANAEROBIC, FOR BACT. ALERT | BT | 50000 | [11 empty] | 0
18 | 4110411001500 | BOTTLE, BLOOD CULTURE, ADULT, FAN, AEROBIC | BT | 50000 | [11 empty] | 0
19 | 4114000017800 | TUBE, BLOOD COLLECTION, 1.8-2 ML, POLYSTYRENE, ROUND BOTTOMED, LEAKPROOF, CAPPED AND STANDARD LABEL, CONTAIN SODIUM CITRATE, SINGLE USE | EA | 10000 | [11 empty] | 0
20 | 4114000017500 | TUBE, BLOOD COLLECTION, 4 - 6 ML, GEL, SILICA | EA | 158400 | [11 empty] | 0
21 | 4114000017400 | TUBE, BLOOD COLLECTION, VACUUM, 4-6 ML, POLYSTYRENE, ROUND BOTTOMED, LEAKPROOF, CAPPED AND STANDARD LABEL, TO CONTAIN PLASMA SEP. TUBE (GEL, LITHIUM HEP.) | EA | 158400 | [11 empty] | 0
22 | 5110270701200 | SWAB STICKS POVIDONE-IODINE SATURATED WITH 10% POVIDONE-IODINE, 1% TITRATABLE IODINE (POVIDONE-IODINE SOLUTION USP) 10 CMS LONG, STERILE, INDIVIDUALLY PACKED, (BOX/ 50 STICKS) | BOX | 1980 | [11 empty] | 0
23 | 4214410200700 | SYSTEM, CHEST DRAINAGE WATER SEAL, 1500 -2000 CC, CLOSED SYSTEM, DOUBLE CHAMBER, SILICONE CONNECTION TUBES, DISPOSABLE, STERILE ( IFU BE MUST ATTACHED TO EVERY UNIT ) | EA | 1980 | [11 empty] | 0
24 | 4214253600500 | DRAINAGE, CATHETER, THORACIC, WITH TROCAR AND SENTINEL, STRAIGHT, TRANSPARENT, ROUND SOFT TIP, RADIO-OPAQUE, 30-50CM LENGTH, WITH PEEL OFF PAC KING, SIZE: FG 28, DISPOSABLE, STERILE | PC | 3300 | [11 empty] | 0
25 | 4214253601200 | CATHETER, THORACIC DRAINAGE, WITH TROCAR AND SENTINEL, STRAIGHT, TRANSPARENT, ROUND SOFT TIP, RADIO-OPAQUE, 30-50CM LENGTH, WITH PEEL OFF PACK ING, SIZE: FG32, DISPOSABLE, STERILE | PC | 3300 | [11 empty] | 0
26 | 4227222300200 | EXERCISER, 4000 TO 5000 ML, VOLUMETRIC INCENTIVE DEEP BREATHING CAPACITY | PC | 3960 | [11 empty] | 0
27 | 4229560300700 | TRAY, FOR LUMBER PUNCTURE, ADULT, CONTAINS: 25 G X 5/8 INCH NEEDLE PRE ATTACHED TO 3 ML PLASTIC LUER SLIP SYRINGE, NEEDLE 18 G X 3.5 INCH, NEED LE 20 G X 3.5 INCH, NEEDLE 22 G X 3.5 INCH, 4 WAYS STOPCOCK, MANOMETER, 5 INCH EXTENSION TUBING, 5 ML LIDOCAINE 1%, SPECIMEN VIALS WITH LABELS , NEEDLE STICK PAD, ADHESIVE BANDAGE, SPONGE APPLICATORS, TOWELS AND FENESTRATED DRAPE, IODINE SOLUTION, DISPOSABLE, STERILE | EA | 3960 | [11 empty] | 0
28 | 4227170801600 | MASK, FOR OXYGEN, PARTIAL REBREATHING, ADULT, WITH PLASTIC BAG AND EXTENSION TUBE, DISPOSABLE, STERILE | PC | 2640 | [11 empty] | 0
29 | 4231220102900 | SUTURE, NON-ABSORBABLE, MULTIFILAMENT, BRAIDED, SILK, SIZE 2/0, 35 MM, 3/8 CURVED REVERSE CUTTING, 75 CM, STERILE | DZ | 3168 | [11 empty] | 0
30 | 4227222300000 | DISPOSABLE VENTILATOR TUBING PORTABLE OPEN SYSTEM DISPOSABLE 1.5-3METER, CORRUGATE INCLUDING FLOW SENSOR, BREATHING VALVE, MEASURING HOSE ELBOW COMPATIBLE WITH PORTABLE VENTILATOR ACCORDING TO HOSPITAL STERILE | SET | 4290 | [11 empty] | 0
31 | 4227221300700 | CPAP MASK FOR ADULT FULL FACE WITH INSPIRATORY AND EXPIRATORY PORTS, ASSORTED SIZES (SIZE WILL BE DETERMINED ACCORDING TO HOSPITAL CHOICE) , DISPOSABLE STERILE | PC | 5610 | [11 empty] | 0
32 | 4222150101000 | CATHETER, ARTERIAL, 20 GAUGE NEEDLE, STRAIGHT INTIMA, 7CM, RADIAL, COMPATIBLE GUIDEWIRE, DISPOSABLE, STERILE | SET | 10560 | [11 empty] | 0
33 | 4222150300300 | CATHETER CENTRAL VENOUS COMPLETE KIT, RADIO-OPAQUE, CONTAINS: - TRIPLE LUMEN PUR CATHETER. - GUIDE WIRE (UNKINKABLE) - NON LUER LO CK SYRINGE 5 ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. - SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP BLADE. SIZE: 7 FR, LENGTH 30 CM, PEEL PACK, DISPOSABLE, STERILE. | KIT | 9900 | [11 empty] | 0
34 | 4227190500700 | SAFETY PRESSURE MONITORING KIT, DOUBLE , FOR TRANSDUCER WITH MICRO DRIP CHAMBER , FLUSH DEVICE , EXTENSION FOR PRESSURE TUBING ( 11 0 CM ) AND 3 WAY STOPCOCK , NON COMPLIANT , ( COMPATIBLE WITH MONITOR IN EVERY CENTRE ) DISPOSABLE , STERILE. | SET | 13200 | [11 empty] | 0
35 | 4227160010300 | CATHETER CENTRAL VENOUS COMPLETE KIT, RADIOPAQUE, CONTAINS: - TRIPLE LUMEN PUR CATHETER. - GUIDE WIRE (UNKINKABLE) - NON LUER LOCK SYRINGE 5 ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. - SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP BLADE. - SIZE: 7 FR, LENGTH 20 CM, PEEL PACK, DISPOSABLE, STERILE | SET | 13200 | [11 empty] | 0
36 | 4227191537000 | CATHETER, SUCTION, 12FR, CLOSED, TRACHEOSTOMY | EA | 19800 | [11 empty] | 0
37 | 4222150300000 | CATHETER CENTRAL VENOUS COMPLETE KIT, RADIO-OPAQUE, CONTAINS: - DOUBLE LUMEN PUR CATHETER. - GUIDE WIRE (UNKINKABLE) - NON LUER LOCK SYRINGE 5 ML. - INTRODUCER NEEDLE SHORT BEVEL - INTRODUCER CANNULA. - DILATOR. - SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP BLADE. SIZE: 7 FR, LENGTH 30 CM PEEL PACK, DISPOSABLE, STERILE. | KIT | 13200 | [11 empty] | 0
38 | 4222150300400 | CATHETER CENTRAL VENOUS COMPLETE KIT, RADIO-OPAQUE, CONTAINS: - TRIPLE LUMEN PUR CATHETER. - GUIDE WIRE (UNKINKABLE) - NON LUER LOCK SYRINGE 5 ML. - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. - SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP BLADE. SIZE : 7 FR, LENGTH 15 CM PEEL PACK, DISPOSABLE, STERILE. | KIT | 13200 | [11 empty] | 0
39 | 4222150111400 | CATHETER, ARTERIAL, 22GA, L5CM, INTRODUCER, 22GA, NEEDLE, 1MMX4CM, GUIDE WIRE, L35CM, DIA0.53MM, POLYETHYLENE, RADIAL, INDWELLING, LATEX-FREE, PVC-FREE, DEHP-FREE, RED HUB, SECURE FIXATION, EXIT MARKING, SOFT TIP ENDS, INTEGRATED EXTENSION LINE, 7CM, REMOVABLE SLID E CLAMP, DISPOSABLE, STERILE | EA | 15840 | [11 empty] | 0
40 | 4227170801400 | MASK, FOR OXYGEN, ADULT, NON-REBREATHING, WITH TWO PART AT THE EXHALATION PORTS AND ONE VALVE BETWEEN THE PLASTIC BAG AND THE MASK AND EXTENSION TUBE, DISPOSABLE, STERILE | PC | 19800 | [11 empty] | 0
41 | 4222150300500 | CATHETER CENTRAL VENOUS COMPLETE KIT, RADIO-OPAQUE, CONTAINS: - TRIPLE LUMEN PUR CATHETER. - GUIDE WIRE (UNKINKABLE) - NON LUER LO CK SYRINGE 5 ML. - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. - SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP BLADE. SIZE: 7.5 FR, LENGTH 20 CM, PEEL PACK, DISPOSABLE, STERILE | KIT | 19800 | [11 empty] | 0
42 | 4222150307000 | PACK, CATHETER, CENTRAL LINE INSERTION, DRAPE, SIDE 150X270CM, 2 OPENINGS, ONE FOR EXTERNAL JUGULAR, ONE FOR FEMORAL CENTRAL LINE, RIGHT AND LEFT, KIDNEY TRAY, 2 GAUZE, 8X8CM, VINYL GLOVES, XL, PLASTIC TRAY WITH 6 COTTON SWABS, PLASTIC SAFETY SCALPEL, SWAB STICK 2, CHLORHEXIDINE 2%, ALCOHOL 70%, TRANSPARENT DRESSING, 2, LIDOCAINE STERILE SYRINGES, 5ML, 2, CURVED NEEDLE WITH SUTURE, SURGICAL GOWN, XLARGE, LARGE, ABSORBENT TOWEL, 2IN | PAC | 19800 | [11 empty] | 0
43 | 4227190901300 | TUBE AIRWAY, ORAL, CLEAR SILICONE, HARD MOUTHPIECE WITH ATRAUMATIC SOFT ROUND BLUNT END, DISPOSABLE, NON STERILE SIZE: 4 SIZE TO BE MENTIONED ON THE TUBE | PC | 26400 | [11 empty] | 0
44 | 4214251000000 | FILTER NEEDLE: REMOVABLE 5 MICRON FILTER WITH ATTACHED 19 GA X 1 IN THIN WALL NEEDLE FOR WITHDRAWAL OR INJECTION OF MEDICATION FROM RUBBER STOPPERED VIALS (STERILE), 5 MICRON FILTER IN FEMALE LUER LOCK CONNECTOR WITH 20 GA X 1 1/2 INCHES THIN WALL NEEDLE FOR WITHDRAWAL OR INJECTION OF MEDICATION FROM RUBBER STOPPERED VIALS (STERILE) | PC | 105600 | [11 empty] | 0
45 | 4213160800000 | SCRUB SUIT (SHIRT AND PANTS) FOR MALE, SIZES MEDIUM, WITH COMFORT FIT DESIGN AND SHORT SLEEVES ROUND OR V-SHAPE COLLAR, TIES AROUND THE WASTE, RESISTANCE TO MICROBIAL PENETRATION DRY, RESISTANCE TO TENSILE AND BURST WET AND DRY, CLEAN (NON-STERILE) , SHOULD BE FLAME RESISTANCE, DARK COLOR, NOT SEE THROUGH MATERIALS, SINGLE PACK | PC | 147840 | [11 empty] | 0
46 | 4222151213300 | SET, I.V. SOLUTION ADMINISTRATION P.V.C., MICRODRIP, PYROGEN FREE WITH SAFETY VALVE AND 150 ML MEASURING CHAMBER, LUER LOCK DEVICE FOR INJECTION OF DRUGS, DISPOSABLE, STERILE | EA | 211200 | [11 empty] | 0
47 | 4218180301400 | SENSOR, PULSE OXIMETER, NEONATAL, PROBE ADHESIVE TAPE, HIGH ACCURACY, RD SET NEO, DISPOSABLE | PC | 132000 | [11 empty] | 0
48 | 4218170800000 | ELECTRODE E.C.G. FOR ADULT, PRE-JELLED, DISPOSABLE PACKED IN ALUMINUM FOIL | PC | 396000 | [11 empty] | 0
49 | 4618170200100 | MASK, SURGICAL, WRAP AROUND, SPLASH GUARD, VISOR, FOG FREE, WITH TIES, DISPOSABLE | PC | 792000 | [11 empty] | 0
50 | 5110270701300 | SWAB, IMPREGNATED IN 70% ISOPROPYL ALCOHOL AND 2% CHLOROHEXIDINE, SIZE: NOT LESS THAN 4 X 4 CM, DISPOSABLE, STERILE | PC | 1584000 | [11 empty] | 0
[14 empty] | 0 |  | 0
| Total Number of Original Offers | 0
| Total Amount of Offered Items (Original) | 0