## Sheet1
SN | Nupco Item Code | SHORT DESCRIPTION | LONG DESCRIPTION | UOM | Nedded QTY | Manufacturer | Country Of Origin | Supplier | SFDA. NO | Trade Name | Item Validity Total Shelf Life (months) | Catalog Number | Volume/ Package Size | Quantity Quoted | Unit Price (SR) | Unit Price In Writing (SR) | Total Price (SR) | Free Of Charge % | Company Comments & Remarks | Delivery Period | First Shipment Quantity | First Shipment Delivery Period
1 | 4228180100200 | STRIP DISINFECTANT CIDEX OPA CTRL TEST | STRIP DISINFECTANT CIDEX OPA CONTROL TEST | EACH | 7
2 | 4229180218400 | RESOLUTION CLIP HEMOSTASIS L 2.8MM | RESOLUTION CLIP FOR HEMOSTASIS ENDOSCOPIC MARKING CLOSURE AND FIXING OF JEJUNAL FEEDING TUBES 235 WORKING LENGTH 2.8 MM WORKING CHANNEL DISPOSABLE | EACH | 50
3 | 4227190906900 | VALVE AIR/WATER SCOPES REUSABLE | VALVE AIR/WATER FOR SCOPES REUSABLE | EACH | 5
4 | 4231154608800 | PULL THRU BRUSH CLEANING CHANNEL ENDO | PULL THRU BRUSH FOR CLEANING WORKING CHANNEL OF ENDOSCOPE ASSORTED SIZE DISPOSABLE | EACH | 5
5 | 4231154608900 | BRUSH PULL THRU MINI USE IN ENDOSCOPY | BRUSH PULL THRU MINI FOR USE IN ENDOSCOPY MANUAL CLEANING WORK ZONE | EACH | 5
6 | 4228171600100 | SWAB DETECTION TEST PROTEIN RESIDUES | SWAB DETECTION TEST PROTEIN RESIDUES | EACH | 15
7 | 4229640600100 | PRE CLEANING KIT FOR ENDOSCOPE DISP | PRE - CLEANING KIT FOR ENDOSCOPE DISPOSABLE | EACH | 700
8 | 4232220001100 | GUIDEWIRE JAGWIRE EXCHANGE ASSORT TIP ST | GUIDEWIRE JAGWIRE EXCHANGE ASSORTED TIP STYLES 0.35 INCH 450 CM WORKING LENGTH STERILE DISPOSABLE | EACH | 10
9 | 4220340430100 | SPHINCTEROTOME 5 MM SHORT NOSE 30 MM | SPHINCTEROTOME 5 MM SHORT NOSE - 30 MM CUT WIRE | EACH | 5
10 | 4229495900100 | ULTRATOME TRIPLE LUMEN SHORT XLARGE | ULTRATOME TRIPLE LUMEN SPHINCTEROTOME SHORT NOSE XLARGE STERILE DISPOSABLE | EACH | 10
11 | 4220341207500 | STENT PRELOADED BILIARY WIRE GUIDE | STENT PRELOADED BILIARY WIRE GUIDE DIAMETER. 035 INCH STENT LENGTH AND SIZE ON DEMAND STERILE DISPOSABLE | EACH | 3
12 | 4220341207500 | STENT PRELOADED BILIARY WIRE GUIDE | STENT PRELOADED BILIARY WIRE GUIDE DIAMETER. 035 INCH STENT LENGTH AND SIZE ON DEMAND STERILE DISPOSABLE | EACH | 3
13 | 4220341207500 | STENT PRELOADED BILIARY WIRE GUIDE | STENT PRELOADED BILIARY WIRE GUIDE DIAMETER. 035 INCH STENT LENGTH AND SIZE ON DEMAND STERILE DISPOSABLE | EACH | 3
14 | 4214250002100 | NEEDLE SCLEROTHERAPY 25G 2.8CH L200CM | NEEDLE FOR SCLEROTHERAPY 25 G 2.8 WORKING CHANNEL LENGTH 200CM STERILE DISPOSABLE | EACH | 15
15 | 4229495200800 | RETRIEVER FOR BODY 1.8MMX180CM REUS | RETRIEVER FOREIGN BODY REMOVAL 1.8 MMX180CM STERILE REUSABLE | EACH | 5
16 | 4215248301700 | PAPER POINTS SIZE MEDIUM STERILE | PAPER POINTS PRE - STERILIZED CELLS SIZE MEDIUM 200 POINTS/BOX | EACH | 10