## قائمة الطرح
SN | Original Generic | Original Desc | UOM | Sum of Original Open Qty | SRM
1 | 4227150504300 | "NASAL CANNULA OXYGEN ADULT, LENGTH 2.1 M SOFT CURVED PRONGS KINKRESISTANT, NON STERILE, DISPOSABLE." | EA | 7000 | 3000012984
2 | 4227151510200 | NEBULIZER KIT, SMALL VOLUME, WITH OXYGEN TUBING, AEROSOL MASK WITH METALPIECE, SIZE ADULT, DISPOSABLE. | KIT | 4020 | 3000012984
3 | 4227160001900 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 100MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 1000 | 3000012984
4 | 4227160003100 | "FILTER HME AND (BACTERIAL/VIRAL), HIGH FILTRATION EFFICIENCY 99.999%,MECHANICAL, MACHINE SIDE 22MM (ID) 15MM (OD), PATIENT SIDE 15MM (ID)22MM (OD),STRAIGHT,WITH CO2 PORT, ADULT, DISPOSABLE." | EA | 3770 | 3000012984
5 | 4227160004500 | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 1608 | 3000012984
6 | 4227160013600 | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | EA | 900 | 3000012984
7 | 4227162101100 | "ADAPTER 15MM (ID) BOTH ENDS, DISPOSABLE, NON-STERILE" | EA | 200 | 3000012984
8 | 4227190323800 | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER SI ZE, 3.0MM (ID)" | EA | 80 | 3000012984
9 | 4227190325500 | "TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, TAPERED CUFF, WITH PILOTCUFF MARKED WITH TUBE SIZE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR,SMOOTH FORMED MURPHY EYE AND TIP, WITH SUBGLOTTIC SUCTION PORT LOCATEDJUST ABOVE THE CUFF, TUBE LINES MUST ALLOW FOR TUBE SHORTENING,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE 7.5MM (ID)" | EA | 240 | 3000012984
10 | 4227190902900 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 40-45MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 400 | 3000012984
11 | 4227190903100 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 60-65MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 500 | 3000012984
12 | 4227190903200 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 70MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 370 | 3000012984
13 | 4227191202300 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 80MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 1000 | 3000012984
14 | 4227191202400 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 90MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 1000 | 3000012984
15 | 4227191535600 | "TRACHEOSTOMY TUBE HOLDER, ONE PIECE, VELCRO SECURING, SOFT PADDED FOAMCOVERED WITH FABRIC, ADULT/PEDIATRIC SIZE, 1.5 INCH WIDE, FITS NECK FROM18INCH TO 22 INCH , DISPOSABLE, NON-STERILE." | EA | 6000 | 3000012984
16 | 4227200500100 | "FORCEPS MAGILL INFANT SIZE 15CM (6 INCH), REUSABLE" | EA | 10 | 3000012984
17 | 4227200500200 | FORCEPS MAGILL CHILD SIZE 20CM (8 INCH) REUSABLE | EA | 10 | 3000012984
18 | 4227201807300 | "STYLET FOR INTUBATION SIZE 12FR FOR ADULT, LENGTH RANGE 30-35 CM MADEOF ALUMINUM, DISPOSABLE, STERILE." | EA | 800 | 3000012984
19 | 4227201807700 | "BLADE LARYNGOSCOPE FIBER OPTIC MACINTOSH SIZE 3, DISPOSABLE, MADE OFSTAINLESS STEEL, MUST BE COMPATIBLE WITH LARYNGOSCOPE HANDLE AND EASY TOINSTALL AND REMOVE" | EA | 992 | 3000012984
20 | 4227201810800 | "ATOMIZATION DEVICE, LARYNGOTRACHEAL MUCOSAL ATOMIZATION MALLEABLESTYLET, LATEX FREE, DISPOSABLE" | EA | 75 | 3000012984
21 | 4227223000300 | "UNIVERSAL CIRCUIT HOLDER AIDS IN SECURING CIRCUIT HOLDER AIDS INSECURING UNIVERSAL CIRCUIT HOLDER AIDS IN SECURING ENDOTRACHEAL TUBE,EASY CLEAN, FIT WITH ADULT AND PEDIATRIC CIRCUIT" | EA | 20 | 3000012984
22 | 4227250003300 | "MINI PACK EPIDURAL 18G, TUOHY NEEDLE, CATHETER, LOSS RESISTANCESYRINGE, FILTER, STERILE" | EA | 70 | 3000012984
23 | 4227250005700 | "MOUTH PIECE WITH BUILT IN BACTERIAL / VIRAL FILTER KIT WITH NOSE CLIPFOAM PADS KIT, ADAPTER DIAMETER 30MM (ID) WITH OVAL SHAPE TER MINAL,CERTIFIED TO BE USED WITH VYAIRE-JAEGER PULMONARY FUNCTION TEST,DISPOSABLE., ONE (1) ITEM/PC = ONE (1) KIT" | EA | 1600 | 3000012984
24 | 4227250035200 | CATHETER ARTERIAL SIZE, 22 G X 3 CM, SELDINGER TECHNIQUE, GUIDEWIRE,INTRODUCER NEEDLE, STERILE | EA | 50 | 3000012984
25 | 4110410300000 | "HEEL WARMER, CONFORMS TO INFANT'S HEEL, COMPLETELY COVERS HEEL STICKAREA, DUAL ADHESIVE STRAPS KEEPS WARMER IN PLACE, TEMPERATURE 40 C(+/-2), FOR 3-5 MINUTES, LATEX-FREE AND NON-TOXIC INGREDIENTS MAKE IT SAFETO USE" | EA | 200 | 3000012984
26 | 4222150000200 | KIT CATHETER RAPID INFUSION 7 FR 2 INCH 5.08 CM SHEATH DILATOR TWNEEDEL0.89 MM GUIDEWIRE 33.5 CM SYRINGE 5 ML FOR MASSIVE BLEEDING, LATEX FREEDISPOSABLE | EA | 10 | 3000012984
27 | 4227170803500 | ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, SCENTED, EASY ANDCOMFORTABLE GRIP FOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEXFREE, DISPOSABLE, SIZE 4 | EA | 1500 | 3000012984

## توزيع المناطق
Original Pur group name | Original Tender desc | Original Tender no | Original Generic | Original Delivery Address | Original Desc | UOM | Sum of Original Open Qty
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227150504300 | MOH - KFSH | "NASAL CANNULA OXYGEN ADULT, LENGTH 2.1 M SOFT CURVED PRONGS KINKRESISTANT, NON STERILE, DISPOSABLE." | EA | 7000
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227151510200 | MOH - KFSH | NEBULIZER KIT, SMALL VOLUME, WITH OXYGEN TUBING, AEROSOL MASK WITH METALPIECE, SIZE ADULT, DISPOSABLE. | KIT | 4020
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227160001900 | MOH - KFSH | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 100MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 1000
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227160003100 | MOH - KFSH | "FILTER HME AND (BACTERIAL/VIRAL), HIGH FILTRATION EFFICIENCY 99.999%,MECHANICAL, MACHINE SIDE 22MM (ID) 15MM (OD), PATIENT SIDE 15MM (ID)22MM (OD),STRAIGHT,WITH CO2 PORT, ADULT, DISPOSABLE." | EA | 3770
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227160004500 | MOH - KFSH | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 1608
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227160013600 | MOH - KFSH | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | EA | 900
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227162101100 | MOH - KFSH | "ADAPTER 15MM (ID) BOTH ENDS, DISPOSABLE, NON-STERILE" | EA | 200
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190323800 | MOH - KFSH | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER SI ZE, 3.0MM (ID)" | EA | 80
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190325500 | MOH - KFSH | "TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, TAPERED CUFF, WITH PILOTCUFF MARKED WITH TUBE SIZE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR,SMOOTH FORMED MURPHY EYE AND TIP, WITH SUBGLOTTIC SUCTION PORT LOCATEDJUST ABOVE THE CUFF, TUBE LINES MUST ALLOW FOR TUBE SHORTENING,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE 7.5MM (ID)" | EA | 240
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190902900 | MOH - KFSH | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 40-45MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 400
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190903100 | MOH - KFSH | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 60-65MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 500
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190903200 | MOH - KFSH | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 70MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 370
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227191202300 | MOH - KFSH | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 80MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 1000
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227191202400 | MOH - KFSH | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 90MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 1000
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227191535600 | MOH - KFSH | "TRACHEOSTOMY TUBE HOLDER, ONE PIECE, VELCRO SECURING, SOFT PADDED FOAMCOVERED WITH FABRIC, ADULT/PEDIATRIC SIZE, 1.5 INCH WIDE, FITS NECK FROM18INCH TO 22 INCH , DISPOSABLE, NON-STERILE." | EA | 6000
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227200500100 | MOH - KFSH | "FORCEPS MAGILL INFANT SIZE 15CM (6 INCH), REUSABLE" | EA | 10
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227200500200 | MOH - KFSH | FORCEPS MAGILL CHILD SIZE 20CM (8 INCH) REUSABLE | EA | 10
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227201807300 | MOH - KFSH | "STYLET FOR INTUBATION SIZE 12FR FOR ADULT, LENGTH RANGE 30-35 CM MADEOF ALUMINUM, DISPOSABLE, STERILE." | EA | 800
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227201807700 | MOH - KFSH | "BLADE LARYNGOSCOPE FIBER OPTIC MACINTOSH SIZE 3, DISPOSABLE, MADE OFSTAINLESS STEEL, MUST BE COMPATIBLE WITH LARYNGOSCOPE HANDLE AND EASY TOINSTALL AND REMOVE" | EA | 992
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227201810800 | MOH - KFSH | "ATOMIZATION DEVICE, LARYNGOTRACHEAL MUCOSAL ATOMIZATION MALLEABLESTYLET, LATEX FREE, DISPOSABLE" | EA | 75
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227223000300 | MOH - KFSH | "UNIVERSAL CIRCUIT HOLDER AIDS IN SECURING CIRCUIT HOLDER AIDS INSECURING UNIVERSAL CIRCUIT HOLDER AIDS IN SECURING ENDOTRACHEAL TUBE,EASY CLEAN, FIT WITH ADULT AND PEDIATRIC CIRCUIT" | EA | 20
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227250003300 | MOH - KFSH | "MINI PACK EPIDURAL 18G, TUOHY NEEDLE, CATHETER, LOSS RESISTANCESYRINGE, FILTER, STERILE" | EA | 70
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227250005700 | MOH - KFSH | "MOUTH PIECE WITH BUILT IN BACTERIAL / VIRAL FILTER KIT WITH NOSE CLIPFOAM PADS KIT, ADAPTER DIAMETER 30MM (ID) WITH OVAL SHAPE TER MINAL,CERTIFIED TO BE USED WITH VYAIRE-JAEGER PULMONARY FUNCTION TEST,DISPOSABLE., ONE (1) ITEM/PC = ONE (1) KIT" | EA | 1600
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227250035200 | MOH - KFSH | CATHETER ARTERIAL SIZE, 22 G X 3 CM, SELDINGER TECHNIQUE, GUIDEWIRE,INTRODUCER NEEDLE, STERILE | EA | 50
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير الإلحاقية | NPT0025/20 | 4110410300000 | MOH - KFSH | "HEEL WARMER, CONFORMS TO INFANT'S HEEL, COMPLETELY COVERS HEEL STICKAREA, DUAL ADHESIVE STRAPS KEEPS WARMER IN PLACE, TEMPERATURE 40 C(+/-2), FOR 3-5 MINUTES, LATEX-FREE AND NON-TOXIC INGREDIENTS MAKE IT SAFETO USE" | EA | 200
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير الإلحاقية | NPT0025/20 | 4222150000200 | MOH - KFSH | KIT CATHETER RAPID INFUSION 7 FR 2 INCH 5.08 CM SHEATH DILATOR TWNEEDEL0.89 MM GUIDEWIRE 33.5 CM SYRINGE 5 ML FOR MASSIVE BLEEDING, LATEX FREEDISPOSABLE | EA | 10
East - 1st Cluster | منافسة تأمين مستلزمات العلاج التنفسي والتخدير الإلحاقية | NPT0025/20 | 4227170803500 | MOH - KFSH | ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, SCENTED, EASY ANDCOMFORTABLE GRIP FOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEXFREE, DISPOSABLE, SIZE 4 | EA | 1500