## قائمة الطرح
SN | Original Generic | Original Desc | UOM | Sum of Original Open Qty | SRM
1 | 4227150504300 | "NASAL CANNULA OXYGEN ADULT, LENGTH 2.1 M SOFT CURVED PRONGS KINKRESISTANT, NON STERILE, DISPOSABLE." | EA | 1000 | 3000012992
2 | 4227190323800 | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER SI ZE, 3.0MM (ID)" | EA | 80 | 3000012992
3 | 4227190323900 | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER SI ZE, 3.5MM (ID)" | EA | 80 | 3000012992
4 | 4227190902800 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 50-55MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED,ONE (1) EACH = ONE (1) SET | EA | 8 | 3000012992
5 | 4227190903200 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 70MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 192 | 3000012992
6 | 4227191202300 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 80MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 32 | 3000012992
7 | 4227191534200 | "MASK OXYGEN ADULT, CLEAR PLASTIC WITH METAL STRIP OVER NOSE, SMALLEXHALATION PORT BILATERAL OXYGEN TUBING RESISTANT LENGTH 2.1 M ADU LTDISPOSABLE" | EA | 3000 | 3000012992
8 | 4227191535300 | "INTRODUCER TRACHEAL TUBE ADULT (BOUGIE) ANGLED, 15CH X 700-800MM" | EA | 50 | 3000012992

## توزيع المناطق
Original Pur group name | Original Tender desc | Original Tender no | Original Generic | Original Delivery Address | Original Desc | UOM | Sum of Original Open Qty
Sec. Force - Makka | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227150504300 | MOI - SFH Jeddah | "NASAL CANNULA OXYGEN ADULT, LENGTH 2.1 M SOFT CURVED PRONGS KINKRESISTANT, NON STERILE, DISPOSABLE." | EA | 1000
Sec. Force - Makka | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190323800 | MOI - SFH Jeddah | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER SI ZE, 3.0MM (ID)" | EA | 80
Sec. Force - Makka | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190323900 | MOI - SFH Jeddah | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER SI ZE, 3.5MM (ID)" | EA | 80
Sec. Force - Makka | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190902800 | MOI - SFH Jeddah | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 50-55MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED,ONE (1) EACH = ONE (1) SET | EA | 8
Sec. Force - Makka | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227190903200 | MOI - SFH Jeddah | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 70MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 192
Sec. Force - Makka | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227191202300 | MOI - SFH Jeddah | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 80MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | EA | 32
Sec. Force - Makka | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227191534200 | MOI - SFH Jeddah | "MASK OXYGEN ADULT, CLEAR PLASTIC WITH METAL STRIP OVER NOSE, SMALLEXHALATION PORT BILATERAL OXYGEN TUBING RESISTANT LENGTH 2.1 M ADU LTDISPOSABLE" | EA | 3000
Sec. Force - Makka | منافسة تأمين مستلزمات العلاج التنفسي والتخدير | NPT0029/22 | 4227191535300 | MOI - SFH Jeddah | "INTRODUCER TRACHEAL TUBE ADULT (BOUGIE) ANGLED, 15CH X 700-800MM" | EA | 50