## قائمة البنود
SA | NUPCO Code | Item Description | UoM | QUANTITY | SRM #
1 | 4220341107000 | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | each | 1462 | 3000013974
2 | 4227150501800 | "MDI ADAPTER FOR VENTILATOR CIRCUIT, STRAIGHT, DISPOSABLE, PORT TOWARDSPATIENT, 15 (OD), MACHINE SIDE 15 (ID)" | items (Pieces) | 79 | 3000013974
3 | 4227150504100 | "NASAL CANNULA OXYGEN NEONATAL 2.1 M SOFT PRONGS KINK RESISTANT, NONSTERILE, CURVED PRONGS AND ROUNDED TIP, DISPOSABLE" | items (Pieces) | 1237 | 3000013974
4 | 4227150504200 | "NASAL CANNULA OXYGEN PEDIATRIC 2.1 M SOFT PRONGS RESISTANT, NONSTERILE, CURVED, DISPOSABLE" | items (Pieces) | 38718 | 3000013974
5 | 4227150504300 | "NASAL CANNULA OXYGEN ADULT, LENGTH 2.1 M SOFT CURVED PRONGS KINKRESISTANT, NON STERILE, DISPOSABLE." | items (Pieces) | 204586 | 3000013974
6 | 4227160001600 | "RESUSCITATION KIT BAG, ADULT, PATIENT VALVE, WITH OXYGEN TUBING, WITHRESERVOIR BAG, 2.5 L DISPOSABLE, (SHOULD BE COMPLETE KIT PEEP VALVE,RESERVOIR BAG, OXYGEN TUBING, MASK SIZE 5), ALL KIT SECURED IN ATRANSPARENT HANGABLE BAG." | Kit | 22440 | 3000013974
7 | 4227160001700 | "RESUSCITATION KIT BAG, PEDIATRIC, PATIENT VALVE, WITH OXYGEN TUBING,WITH RESERVOIR BAG, 1.0 L DISPOSABLE, (SHOULD BE COMPATIBLE KIT PEEPVALVE, RESERVOIR BAG, OXYGEN TUBING, MASK SIZE 1 AND 2) AND PRESSUREGAUGE MANOMETER, RELEASE VALVE SET AT 40 CM.H2O, ALL KIT SECURED IN ATRANSPARENT HANGABLE BAG." | Kit | 6917 | 3000013974
8 | 4227160001800 | "RESUSCITATION KIT BAG, INFANT, PATIENT VALVE, WITH OXYGEN TUBING, WITHRESERVOIR BAG, 0.5 L DISPOSABLE, (SHOULD BE COMPLETE KIT PEEP VALVE,RESERVOIR BAG, OXYGEN TUBING, MASK SIZE 0) AND PRESSURE GAUGE MANOMETER,RELEASE VALVE SET AT 40 CM.H2O, ALL KIT SECURED IN A TRANSPARENTHANGABLE BAG." | Kit | 7106 | 3000013974
9 | 4227160002300 | "BREATHING SYSTEM INFANT T-PIECE, 1.7M TO 1.8M LENGTH, WITH 0.5L OPENTAIL BAG, ONE (1) ITEM/PC = ONE (1) SET" | items (Pieces) | 1554 | 3000013974
10 | 4227160002600 | "FILTER MECHANICAL VIRAL/BACTERIAL, FOR VENTILATOR, 22 MM ID / 15 MM ID/22 MM OD, ADULT, STERILE, DISPOSABLE" | items (Pieces) | 610 | 3000013974
11 | 4227160003100 | "FILTER HME AND (BACTERIAL/VIRAL), HIGH FILTRATION EFFICIENCY 99.999%,MECHANICAL, MACHINE SIDE 22MM (ID) 15MM (OD), PATIENT SIDE 15MM (ID)22MM (OD),STRAIGHT,WITH CO2 PORT, ADULT, DISPOSABLE." | items (Pieces) | 2350 | 3000013974
12 | 4227160003200 | "FILTER HME AND (BACTERIAL/VIRAL), HIGH FILTRATION EFFICIENCY 99.999%,MECHANICAL, MACHINE SIDE 22MM (ID) 15MM (OD), PATIENT SIDE 15MM (ID)22MM (OD),STRAIGHT,WITH CO2 PORT, PEDIATRIC, DISPOSABLE." | items (Pieces) | 150 | 3000013974
13 | 4227160003300 | "FILTER HME AND (BACTERIAL/VIRAL), HIGH FILTRATION EFFICIENCY 99.999%,MECHANICAL, MACHINE SIDE 15MM (OD), PATIENT SIDE 15MM (ID),STRAIGHT,WITHCO2 PORT, NEONATE, DISPOSABLE." | items (Pieces) | 449 | 3000013974
14 | 4227160004000 | "ADULT VOLUMETRIC EXERCISER 4000-5000 ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | items (Pieces) | 40933 | 3000013974
15 | 4227160004100 | "PEDIATRIC VOLUMETRIC EXERCISER 2500ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER WITH INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | items (Pieces) | 3390 | 3000013974
16 | 4227160004500 | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | items (Pieces) | 52250 | 3000013974
17 | 4227160005600 | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | items (Pieces) | 6430 | 3000013974
18 | 4227160006000 | "PNEUMOTHORAX KIT, 20 SIDE PORTS, 18 G X 20 CM NEEDLE, 9FR X 30 CM,DISPOSABLE, STERILE, ONE (1) ITEM/PC = ONE (1) KIT" | items (Pieces) | 146 | 3000013974
19 | 4227160009200 | PAD DEFIBRILLATOR PRE -GELLED 4.5*4.5 INCH | items (Pieces) | 150 | 3000013974
20 | 4227160009900 | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - DOUBLELUMEN PUR CATHETER, GUIDE WIRE(UNKINKABLE), NON LUER LOCK SYRINGE 5 ML,INTRODUCER NEEDLE SHORT BEVEL, INTRODUCER CANNULA, DILATOR, SECONDARYFIXATION DEVICE, SLIDING CLAMPS, SCAL P BLADE, SIZE: 7 FR, LENGTH 15-18CM, PEEL PACK, DISPOSABLE, STERILE" | SET | 255 | 3000013974
21 | 4227160010300 | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - TRIPLELUMEN PUR CATHETER. - GUIDE WIRE(UNKINKABLE) - NON LUER LOCK SY RANGE 5ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. -SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP B LADE. - SIZE: 7FR, LENGTH 20 CM, PEEL PACK, DISPOSABLE, STERILE" | SET | 252 | 3000013974
22 | 4227160010400 | CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - TRIPLELUMEN PUR CATHETER. - GUIDE WIRE (UNKINKABLE) - NON LUER LOCK SY RANGE 5ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. -SECONDARY FIXATION DEVICE. -SLIDING CLAMPS, SIZE: 7 FR, LENGTH 30 CM,PEEL PACK, DISPOSABLE, STERILE | SET | 413 | 3000013974
23 | 4227160010600 | "CATHETER CENTRAL VENOUS COMPLETE KIT, CONTAINS: DOUBLE LUMEN CATHETER 4FR X 5CM - GUIDE WIRE (UNKINKABLE) NOT LESS THAN 40CM WITH SOFT TIP ANDEND J- TIP, EXTENSION LINE CLAMPS, FENESTRATED DRAPE ADHESIVE NOT LESSTHAN 40*60 CM WITH 7-10CM FENESTRATION- CATHETER CONTAIN CLAMP- SCALPELNUMBER 11, NOT LESS THAN FOUR GAUZE 4X4, NOT LESS THAN TWO 2X2, SUTUREBRAIDED SILK WITH STRAIGHT NEEDLE, TISSUE DILATOR, INJECTION NEEDLE 25G,SYRINGE 3ML LUER LOCK, SYRINGE 5ML LUER SLIP, INTRODUCER NEEDLE 21 GA,CATHETER 22 GA X NOT LESS THAN 4.0CM RADIOPAQUE WITH INTRODUCER NEEDLEWITH 5 ML LUER-SLIP SYRINGE, DISPOSABLE, STERILE" | Kit | 1376 | 3000013974
24 | 4227160010700 | "CATHETER CENTRAL VENOUS COMPLETE KIT, CONTAINS: DOUBLE LUMEN CATHETER 4FR X 8CM - GUIDE WIRE (UNKINKABLE) NOT LESS THAN 40CM WITH SOFT TIP ANDEND J- TIP, EXTENSION LINE CLAMPS, FENESTRATED DRAPE ADHESIVE NOT LESSTHAN 40*60 CM WITH 7-10CM FENESTRATION- CATHETE R CONTAIN CLAMP- SCALPELNUMBER 11, NOT LESS THAN FOUR GAUZE 4X4, NOT LESS THAN TWO 2X2, SUTUREBRAIDED SILK WITH STRAIGHT NEEDL E, TISSUE DILATOR, INJECTION NEEDLE25G, SYRINGE 3ML LUER LOCK, SYRINGE 5ML LUER SLIP, INTRODUCER NEEDLE 21GA, CATHETER 22 GA X NOT LESS THAN 4.0CM RADIOPAQUE WITH INTRODUCERNEEDLE WITH 5 ML LUER-SLIP SYRINGE, DISPOSABLE, STERILE, ONE (1) SET =ONE (1) KIT" | SET | 47 | 3000013974
25 | 4227160011200 | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | items (Pieces) | 2371 | 3000013974
26 | 4227160011300 | "PERCUTANEOUS SHEATH INTRODUCER SET, WITH NEEDLE, GUIDEWIRE, GAUZE ANDDRAPE WITH DISINFECTED (FOR SWAN GANZ), LENGTH 11CM, DISPOSABLE,STERILE, SIZE 6.0FR" | SET | 62 | 3000013974
27 | 4227160011500 | CATHETER ARTERIAL SIZE, 19GX10CM, SELDINGER TECHNIQUE, GUIDEWIRE,INTRODUCER NEEDLE, STERILE | items (Pieces) | 930 | 3000013974
28 | 4227160011700 | "CATHETER, ARTERIAL, POLYETHYLENE INDWELLING CATHETER 20G, 5CM LONG,LATEX-FREE, PVC-FREE, DEHP-FREE WITH WINGED RED HUB FOR SECURE FIXATIONAND EASY IDENTIFICATION WITH 7 CM INTEGRATED EXTENSION LINE ANDREMOVABLE SLIDE CLAMP, 35CM X 0.50-0.55MM SPRING-WIRE GUIDE WITH EXITMARKING AND SOFT TIP ENDS FOR PLACEMENT USING SELDINGER TECHNIQUE,INTRODUCER 20 G NEEDLE, (1MM X 4 CM), RADIAL, DISPOSABLE, STERILE" | items (Pieces) | 168 | 3000013974
29 | 4227160011800 | "CATHETER, ARTERIAL, POLYETHYLENE INDWELLING CATHETER 22G, 5CM LONG,LATEX-FREE, PVC-FREE, DEHP-FREE WITH WINGED RED HUB FOR SECURE FI XATIONAND EASY IDENTIFICATION WITH 7 CM INTEGRATED EXTENSION LINE ANDREMOVABLE SLIDE CLAMP, 35CM X 0.50-0.55MM SPRING-WIRE GUIDE WITH EXITMARKING AND SOFT TIP ENDS FOR PLACEMENT USING SELDINGER TECHNIQUE,INTRODUCER 22 G NEEDLE, (1MM X 4 CM), RADIAL, DISPOSABLE, STERILE" | items (Pieces) | 1780 | 3000013974
30 | 4227160013600 | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | items (Pieces) | 182453 | 3000013974
31 | 4227160016800 | "HME PAPER FILTER, FOR TRACHED PATIENTS, ADULT PEDIATRIC, OXYGEN ANDSUCTION PORT WITH MECHANICAL CAP, IN BLISTER PACK, STERILE, DISPOSABLE,RESISTANCE 0.7 CMH2O AT GAS FLOW RATE OF 60 LPM." | items (Pieces) | 9753 | 3000013974
32 | 4227190322400 | HOLDER ENDOTRACHEAL TUBE SET, WITH PLASTIC TUBE GRIP, HOOKUP LOOP STRAPVELCRO ADJUSTABLE, FOR 6.0 ETT AND ABOVE. | items (Pieces) | 250 | 3000013974
33 | 4227190322800 | "TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, PROFILE CUFF HIGH VOLUME/LOWPRESSURE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR, NUMERI CAL SCALINGEVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATION BETWEENID/OD, SMOOTH FORMED MURPHY EYE AND TIP, SMOOTH TAPE RED MEMBRANE CUFF,DISPOSABLE, STERILE, SIZE, 4.5MM (ID)" | items (Pieces) | 240 | 3000013974
34 | 4227190323300 | "TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, PROFILE CUFF HIGH VOLUME/LOWPRESSURE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR, NUMERI CAL SCALINGEVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATION BETWEENID/OD, SMOOTH FORMED MURPHY EYE AND TIP, SMOOTH TAPE RED MEMBRANE CUFF,DISPOSABLE, STERILE, SIZE, 7.0MM (ID)" | items (Pieces) | 516 | 3000013974
35 | 4227190323400 | "TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, PROFILE CUFF HIGH VOLUME/LOWPRESSURE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR, NUMERI CAL SCALINGEVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATION BETWEENID/OD, SMOOTH FORMED MURPHY EYE AND TIP, SMOOTH TAPE RED MEMBRANE CUFF,DISPOSABLE, STERILE, SIZE, 7.5MM (ID)" | items (Pieces) | 2400 | 3000013974
36 | 4227190323700 | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER SI ZE, 2.5MM (ID)" | items (Pieces) | 3027 | 3000013974
37 | 4227190323900 | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER SI ZE, 3.5MM (ID)" | items (Pieces) | 871 | 3000013974
38 | 4227190324100 | "TUBE ENDOTRACHEAL, POLYVINYL, PLAIN, ORAL / NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, INNER DIAMETER S IZE, 4.5MM (ID)" | items (Pieces) | 1141 | 3000013974
39 | 4227190325000 | "TUBE ENDOTRACHEAL, POLYVINYL, ORAL / NASAL TYPE, CUFFED, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, WITHSUBGLOTTIC SUCTION TAPER NUMERICAL SCALING EVERY 1 CM STARTING FROMINSERTION SIDE, PROPER CORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE,SIZE 5.0MM (ID)" | items (Pieces) | 75 | 3000013974
40 | 4227190325500 | "TUBE ENDOTRACHEAL, PVC, ORAL / NASAL TYPE, TAPERED CUFF, WITH PILOTCUFF MARKED WITH TUBE SIZE, RADIOPAQUE WITH 15MM TERMINATION CONNECTOR,SMOOTH FORMED MURPHY EYE AND TIP, WITH SUBGLOTTIC SUCTION PORT LOCATEDJUST ABOVE THE CUFF, TUBE LINES MUST ALLOW FOR TUBE SHORTENING,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE 7.5MM (ID)" | items (Pieces) | 1260 | 3000013974
41 | 4227190325900 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.0MM ( ID)" | items (Pieces) | 13 | 3000013974
42 | 4227190326000 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.5MM ( ID)" | items (Pieces) | 301 | 3000013974
43 | 4227190326100 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 4.0MM ( ID)" | items (Pieces) | 37 | 3000013974
44 | 4227190326200 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 4.5MM ( ID)" | items (Pieces) | 44 | 3000013974
45 | 4227190326300 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 5.0MM ( ID)" | items (Pieces) | 49 | 3000013974
46 | 4227190327200 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, CUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND T IP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 5.0MM (ID )" | items (Pieces) | 39 | 3000013974
47 | 4227190327400 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, CUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND T IP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 6.0MM (ID )" | items (Pieces) | 120 | 3000013974
48 | 4227190327600 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, CUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND T IP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 7.0MM (ID )" | items (Pieces) | 20 | 3000013974
49 | 4227190327800 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, CUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND T IP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 8.0MM (ID )" | items (Pieces) | 173 | 3000013974
50 | 4227190329500 | "TUBE ENDOTRACHEAL, POLYVINYL, REINFORCED BY CIRCUMFERENTIAL RIBS,ORAL/NASAL TYPE, PROFILE CUFF HIGH VOLUME/LOW PRESSURE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, WITH STYLET, NUMERICAL SCALING EVERY 1 CMSTARTING FROM INSERTION SIDE, PROPER CORRELATION BETWEEN ID/OD, SMOOTHFORMED MURPHY EYE AND TIP, SMOOTH TAPERED MEMBRANE CUFF, DISPOSABLE,STERILE, SIZE, 5.0MM (ID)" | items (Pieces) | 80 | 3000013974
51 | 4227190330600 | "TUBE ENDOTRACHEAL, PREFORMED, PVC, PLAIN, NASAL TYPE, RADIOPAQUE WITH15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP, NUMERICALSCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPER CORRELATIONBETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.5MM(ID)" | items (Pieces) | 13 | 3000013974
52 | 4227190336800 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 6.5MM (ID)" | items (Pieces) | 371 | 3000013974
53 | 4227190336900 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | items (Pieces) | 2356 | 3000013974
54 | 4227190337000 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.5MM (ID)" | items (Pieces) | 486 | 3000013974
55 | 4227190337100 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | items (Pieces) | 1753 | 3000013974
56 | 4227190503800 | "TUBE ENDO-BRONCHIAL BLOCKER, Y BIFURCATION, DOUBLE BALLOON, MULTIPORTADAPTOR ALLOW VENTILATION, BRONCHOSCOPY AND THE BLOCKER SIMULTANEOUSLYFOR USE IN THORACIC SURGERY, ADULT, DISPOSABLE, STERILE" | SET | 86 | 3000013974
57 | 4227190504000 | "BLOOD GAS SAMPLING KIT, 1ML SYRINGE, LUER SLIP TIP, WITH NEEDLE SIZE23G, 2.5 CM LENGTH, HEPARINIZED 20 -35 IU/ML, SAFETY NEEDLE CA P, WITHBUBBLE REMOVER, STERILE, DISPOSABLE., ONE (1) ITEM/PC = ONE (1) KIT" | items (Pieces) | 131 | 3000013974
58 | 4227191202300 | AIRWAY ORAL PHARYNGEAL GUEDEL PLASTIC, DISPOSABLE, LENGTH PRINTEDPERMANENTLY 80MM, DISTAL END CURVE WITH ATRAUMATIC EDGE COLOR CODED | items (Pieces) | 3197 | 3000013974
59 | 4227191500900 | TRACHEOSTOMY CARE TRAY | each | 13236 | 3000013974
60 | 4227191522300 | "TRACHEOSTOMY PERCUTANEOUS KIT (ONE STAGE DILATOR, TRACHEOSTOMY TUBEWITH SUBGLOTTIC SUCTION, TWO INNER CANNULA, TRACHEOSTOMY HOLDER,GUIDEWIRE WITH PROXIMAL AND DISTAL MARKING, INTRODUCER CANNULA, SPLITGAUZE, SAFETY SCALPEL, CANNULA, 10 CC SYRINGE), RADIOPAQUE MARKING,STERILE SIZE 7.0MM (ID)." | Kit | 237 | 3000013974
61 | 4227191522500 | "TRACHEOSTOMY PERCUTANEOUS KIT (ONE STAGE DILATOR, TRACHEOSTOMY TUBEWITH SUBGLOTTIC SUCTION, TWO INNER CANNULA, TRACHEOSTOMY HOLDER,GUIDEWIRE WITH PROXIMAL AND DISTAL MARKING, INTRODUCER CANNULA, SPLITGAUZE, SAFETY SCALPEL, CANNULA, 10 CC SYRINGE), RADIOPAQUE MARKING,STERILE SIZE 9.0MM (ID)." | Kit | 44 | 3000013974
62 | 4227191529300 | "NEBULIZER KIT, SMALL VOLUME, WITH OXYGEN TUBING, T-PIECE AND CORRUGATEDTUBING AND MOUTHPIECE." | Kit | 3305 | 3000013974
63 | 4227191530000 | "MASK FULL FACE ADULT SILICONE/GEL, VENTED, SIZE LARGE WITH STRAP ANDSWIVEL, ADJUSTABLE SILICON PADDED FOREHEAD SUPPORT, DISPOSABLE FORCPAP/BIPAP MACHINE., ONE (1) ITEM/PC = ONE (1) SET" | items (Pieces) | 7675 | 3000013974
64 | 4227191530400 | MASK NASAL ADULT SILICONE/GEL, FOAM VENTED SMALL WITH STRAP AND SWIVEL DISPOSABLE FOR CPAP/BIPAP MACHINE | items (Pieces) | 112 | 3000013974
65 | 4227191530900 | "FACE MASK RESUSCITATION, ROUND SILICONE SIZE INTERNAL DIAMETER 50MM(+/- 2MM), DISPOSABLE" | items (Pieces) | 712 | 3000013974
66 | 4227191531000 | "FACE MASK RESUSCITATION, ROUND SILICONE SIZE INTERNAL DIAMETER 60MM(+/- 2MM), DISPOSABLE" | items (Pieces) | 103 | 3000013974
67 | 4227191531200 | "FACE MASK RESUSCITATION, ROUND SILICONE SIZE DIAMETER 80MM, DISPOSABLE" | items (Pieces) | 66 | 3000013974
68 | 4227191531300 | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | items (Pieces) | 10680 | 3000013974
69 | 4227191532200 | MASK NASAL PEDIATRIC (SILICONE/GEL), VENTED, SIZE SMALL WITH STRAP ANDSWIVEL, ADJUSTABLE FOREHEAD SUPPORT, ADJUSTABLE MOLD DISPOSABLE FORCPAP/BIPAP MACHINE. | items (Pieces) | 67 | 3000013974
70 | 4227191535000 | "VENTURI-MASK, METAL STRIP, ELASTIC BAND, ADULT SIZE, OXYGEN TUBING 1.8M KINK RESISTANT, WITH TWO EXHALATION PORT, ADJUSTABLE OXYGEN RANGE 24%TO 50 %, DISPOSABLE." | items (Pieces) | 100 | 3000013974
71 | 4227191535100 | "VENTURI-MASK, METAL STRIP, ELASTIC BAND, PEDIATRIC, SIZE, OXYGEN TUBING1.8 M KINK RESISTANT, WITH TWO EXHALATION PORT, WITH ADJUSTABLE OXYGENRANGE 24% TO 50 %, DISPOSABLE." | items (Pieces) | 500 | 3000013974
72 | 4227191535300 | "INTRODUCER TRACHEAL TUBE ADULT (BOUGIE) ANGLED, 15CH X 700-800MM" | items (Pieces) | 5492 | 3000013974
73 | 4227191535500 | "CUFF INFLATOR / PRESSURE GAUGE FOR ENDOTRACHEAL- TRACHEOSTOMY MEASURINGCUFF PRESSURE, REUSABLE" | items (Pieces) | 68 | 3000013974
74 | 4227191535600 | "TRACHEOSTOMY TUBE HOLDER, ONE PIECE, VELCRO SECURING, SOFT PADDED FOAMCOVERED WITH FABRIC, ADULT/PEDIATRIC SIZE, 1.5 INCH WIDE, FITS NECK FROM18INCH TO 22 INCH , DISPOSABLE, NON-STERILE." | items (Pieces) | 25055 | 3000013974
75 | 4227191540800 | KIT, PERCUTANEOUS TRACHEOSTOMY, ADULT, WITH SUBGLOTTIC SUCTION,UNFENESTRATED ID-IC 8MM | each | 68 | 3000013974
76 | 4227201805000 | "LARYNGEAL MASK HYPER CURVED AIRWAY TUBE, OVAL SHAPED, INFLATABLE MASKWITH CUFF, DISPOSABLE, STERILE, SIZE 1.0" | items (Pieces) | 380 | 3000013974
77 | 4227201805100 | "LARYNGEAL MASK HYPER CURVED AIRWAY TUBE, OVAL SHAPED, INFLATABLE MASKWITH CUFF, DISPOSABLE, STERILE, SIZE 1.5" | items (Pieces) | 630 | 3000013974
78 | 4227201805800 | "LARYNGEAL MASK AIRWAY (LMA) TUBE, CURVED, WITH FIXATION TAB, ELONGATEDCUFF, CUFF SILICON MATERIAL, SOFT BITE BLOCKER AND GASTRIC ACCESS WHICHENABLES PASSIVE OR ACTIVE DRAINAGE OF GASTRIC CONTENT INDEPENDENTLY OFVENTILATION, SIZE 1.5" | items (Pieces) | 160 | 3000013974
79 | 4227201805900 | "LARYNGEAL MASK AIRWAY (LMA) TUBE, CURVED, WITH FIXATION TAB, ELONGATEDCUFF, CUFF SILICON MATERIAL, SOFT BITE BLOCKER AND GASTRIC ACCESS WHICHENABLES PASSIVE OR ACTIVE DRAINAGE OF GASTRIC CONTENT INDEPENDENTLY OFVENTILATION, SIZE 2.0" | items (Pieces) | 518 | 3000013974
80 | 4227201806000 | LARYNGEAL MASK AIRWAY (LMA) TUBE, CURVED, WITH FIXATION TAB, ELONGATEDCUFF, CUFF SILICON MATERIAL, SOFT BITE BLOCKER AND GASTRIC ACCESS WHICHENABLES PASSIVE OR ACTIVE DRAINAGE OF GASTRIC CONTENT INDEPENDENTLY OFVENTILATION, SIZE 2.5 | items (Pieces) | 260 | 3000013974
81 | 4227201806100 | "LARYNGEAL MASK AIRWAY (LMA) TUBE, CURVED, WITH FIXATION TAB, ELONGATEDCUFF, CUFF SILICON MATERIAL, SOFT BITE BLOCKER AND GASTRIC ACCESS WHICHENABLES PASSIVE OR ACTIVE DRAINAGE OF GASTRIC CONTENT INDEPENDENTLY OFVENTILATION, SIZE 3.0" | items (Pieces) | 2549 | 3000013974
82 | 4227201806200 | "LARYNGEAL MASK AIRWAY (LMA) TUBE, CURVED, WITH FIXATION TAB, ELONGATEDCUFF, CUFF SILICON MATERIAL, SOFT BITE BLOCKER AND GASTRIC ACCESS WHICHENABLES PASSIVE OR ACTIVE DRAINAGE OF GASTRIC CONTENT INDEPENDENTLY OFVENTILATION, SIZE 4.0" | items (Pieces) | 351 | 3000013974
83 | 4227201806300 | "LARYNGEAL MASK AIRWAY (LMA) TUBE, CURVED, WITH FIXATION TAB, ELONGATEDCUFF, CUFF SILICON MATERIAL, SOFT BITE BLOCKER AND GASTRIC ACCESS WHICHENABLES PASSIVE OR ACTIVE DRAINAGE OF GASTRIC CONTENT INDEPENDENTLY OFVENTILATION, SIZE 5.0" | items (Pieces) | 1610 | 3000013974
84 | 4227250003200 | "SPINAL NEEDLE WHITACRE PENCIL POINT WITH INTRODUCER 22G X 3.5""" | items (Pieces) | 11910 | 3000013974
85 | 4227250003800 | "EPIDURAL SET G16 FOR ADULT : 16G X 12-15 CM TUOHY NEEDLE, LOSS-OFRESISTANCE SYRINGE, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL, CATHETER LABEL0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, PAPER DRAPE EYE SHIELD, TRANSPARENT ADHESIVE, FENESTRATEDDRAPE, DISPOSABLE, STERILE" | SET | 394 | 3000013974
86 | 4227250003900 | "EPIDURAL SET G18 FOR ADULT :18G X 8-10 CM TUOHY NEEDL, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK.20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, PAPER DRAPE EYE SHIELD, TRANSPARENT ADHESIVE, FENESTRATEDDRAPE, DISPOSABLE, STERILE" | SET | 1130 | 3000013974
87 | 4227250004100 | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | SET | 1486 | 3000013974
88 | 4227250008200 | HME FILTER FOR TRACHED PATIENTS, FOR ADULT,TIDAL VOLUME RANGE WITH O2AND SUCTION PORT, IN BLISTER PACK STERILE, DISPOSABLE | items (Pieces) | 290 | 3000013974

## توزيع المناطق
SA | NUPCO Code | Plant | Delivery Address | QUANTITY
1 | 4220341107000 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 80
2 | 4220341107000 | C2C1 | MOH - PMAH | 98
3 | 4220341107000 | C2C1 | MOH - Riiyadh Cluster 2 | 8
4 | 4220341107000 | C2C1 | MOH - Riiyadh Cluster 3 | 6
5 | 4220341107000 | E2C1 | MOH - Dammam | 150
6 | 4220341107000 | N2C1 | MOH - Qassim | 70
7 | 4220341107000 | S2C1 | MOH - Najran | 129
8 | 4220341107000 | W2C1 | MOH - Jeddah | 918
9 | 4220341107000 | W2C1 | MOH - Qonfodah | 3
10 | 4227150501800 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 19
11 | 4227150501800 | C2C1 | MOH - KSMC | 60
12 | 4227150504100 | C2C1 | MOH - Riiyadh Cluster 2 | 237
13 | 4227150504100 | W2C1 | MOH - Jeddah | 1000
14 | 4227150504200 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 3328
15 | 4227150504200 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 1000
16 | 4227150504200 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 8400
17 | 4227150504200 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 606
18 | 4227150504200 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 998
19 | 4227150504200 | 1100 | MOH - Taif Health Clusterالتجمع الصحي بالطائف | 2616
20 | 4227150504200 | C2C1 | MOH - KSMC | 5565
21 | 4227150504200 | C2C1 | MOH - Riiyadh Cluster 1 | 3053
22 | 4227150504200 | C2C1 | MOH - Riiyadh Cluster 2 | 1226
23 | 4227150504200 | C2C1 | MOH - Riiyadh Cluster 3 | 2749
24 | 4227150504200 | E2C1 | MOH - Ahsa | 2781
25 | 4227150504200 | E2C1 | MOH - Dammam | 2128
26 | 4227150504200 | S2C2 | MOH - Baha | 1218
27 | 4227150504200 | W2C1 | MOH - Jeddah | 2448
28 | 4227150504200 | W2C1 | MOH - Makkah | 2
29 | 4227150504200 | W2C1 | MOH - Qonfodah | 102
30 | 4227150504200 | W2C2 |  | 498
31 | 4227150504300 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 6142
32 | 4227150504300 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 3460
33 | 4227150504300 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 28674
34 | 4227150504300 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 1089
35 | 4227150504300 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 15640
36 | 4227150504300 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 1450
37 | 4227150504300 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 1066
38 | 4227150504300 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 7478
39 | 4227150504300 | 1100 | MOH - Taif Health Clusterالتجمع الصحي بالطائف | 22328
40 | 4227150504300 | C2C1 | MOH - KSMC | 11063
41 | 4227150504300 | C2C1 | MOH - Riiyadh Cluster 1 | 7841
42 | 4227150504300 | C2C1 | MOH - Riiyadh Cluster 2 | 3138
43 | 4227150504300 | C2C1 | MOH - Riiyadh Cluster 3 | 4703
44 | 4227150504300 | E2C1 | MOH - Ahsa | 13744
45 | 4227150504300 | E2C1 | MOH - Dammam | 16744
46 | 4227150504300 | N2C1 | MOH - Qassim | 6794
47 | 4227150504300 | S2C2 | MOH - Baha | 10120
48 | 4227150504300 | W2C1 | MOH - Jeddah | 36475
49 | 4227150504300 | W2C1 | MOH - Makkah | 139
50 | 4227150504300 | W2C1 | MOH - Qonfodah | 1658
51 | 4227150504300 | W2C2 |  | 4840
52 | 4227160001600 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 600
53 | 4227160001600 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 9556
54 | 4227160001600 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 1440
55 | 4227160001600 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 648
56 | 4227160001600 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 156
57 | 4227160001600 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 3392
58 | 4227160001600 | S2C1 | MOH - Najran | 132
59 | 4227160001600 | S2C2 | MOH - Baha | 1018
60 | 4227160001600 | W2C1 | MOH - Makkah | 5498
61 | 4227160001700 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 234
62 | 4227160001700 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 2372
63 | 4227160001700 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 216
64 | 4227160001700 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 666
65 | 4227160001700 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 778
66 | 4227160001700 | E2C1 | MOH - Dammam | 786
67 | 4227160001700 | S2C1 | MOH - Najran | 222
68 | 4227160001700 | S2C2 | MOH - Baha | 701
69 | 4227160001700 | W2C1 | MOH - Jeddah | 546
70 | 4227160001700 | W2C1 | MOH - Makkah | 312
71 | 4227160001700 | W2C1 | MOH - Qonfodah | 84
72 | 4227160001800 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 648
73 | 4227160001800 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 1704
74 | 4227160001800 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 2250
75 | 4227160001800 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 36
76 | 4227160001800 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 924
77 | 4227160001800 | S2C1 | MOH - Najran | 156
78 | 4227160001800 | S2C2 | MOH - Baha | 728
79 | 4227160001800 | W2C1 | MOH - Makkah | 660
80 | 4227160002300 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 135
81 | 4227160002300 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 166
82 | 4227160002300 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 116
83 | 4227160002300 | C2C1 | MOH - KSMC | 612
84 | 4227160002300 | S2C2 | MOH - Baha | 261
85 | 4227160002300 | W2C1 | MOH - Jeddah | 132
86 | 4227160002300 | W2C1 | MOH - Qonfodah | 132
87 | 4227160002600 | W2C1 | MOH - Jeddah | 610
88 | 4227160003100 | S2C1 | MOH - Najran | 2350
89 | 4227160003200 | W2C1 | MOH - Qonfodah | 150
90 | 4227160003300 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 1
91 | 4227160003300 | W2C1 | MOH - Jeddah | 448
92 | 4227160004000 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 936
93 | 4227160004000 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 1020
94 | 4227160004000 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 96
95 | 4227160004000 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 156
96 | 4227160004000 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 408
97 | 4227160004000 | C2C1 | MOH - KSMC | 6304
98 | 4227160004000 | C2C1 | MOH - PMAH | 3390
99 | 4227160004000 | C2C1 | MOH - Riiyadh Cluster 1 | 832
100 | 4227160004000 | C2C1 | MOH - Riiyadh Cluster 2 | 417
101 | 4227160004000 | C2C1 | MOH - Riiyadh Cluster 3 | 628
102 | 4227160004000 | E2C1 | MOH - Ahsa | 7412
103 | 4227160004000 | E2C1 | MOH - Dammam | 2480
104 | 4227160004000 | S2C1 | MOH - Najran | 3024
105 | 4227160004000 | S2C2 | MOH - Baha | 1476
106 | 4227160004000 | W2C1 | MOH - Jeddah | 5018
107 | 4227160004000 | W2C1 | MOH - Makkah | 3910
108 | 4227160004000 | W2C1 | MOH - Qonfodah | 150
109 | 4227160004000 | W2C2 |  | 3276
110 | 4227160004100 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 252
111 | 4227160004100 | C2C1 | MOH - KSMC | 1824
112 | 4227160004100 | E2C1 | MOH - Ahsa | 106
113 | 4227160004100 | E2C1 | MOH - Dammam | 320
114 | 4227160004100 | W2C1 | MOH - Jeddah | 342
115 | 4227160004100 | W2C1 | MOH - Makkah | 210
116 | 4227160004100 | W2C1 | MOH - Qonfodah | 62
117 | 4227160004100 | W2C2 |  | 274
118 | 4227160004500 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 1248
119 | 4227160004500 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 4140
120 | 4227160004500 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 720
121 | 4227160004500 | C2C1 | MOH - KSMC | 780
122 | 4227160004500 | C2C1 | MOH - Riiyadh Cluster 1 | 6870
123 | 4227160004500 | C2C1 | MOH - Riiyadh Cluster 2 | 1832
124 | 4227160004500 | C2C1 | MOH - Riiyadh Cluster 3 | 2748
125 | 4227160004500 | E2C1 | MOH - Ahsa | 24
126 | 4227160004500 | E2C1 | MOH - Dammam | 5136
127 | 4227160004500 | N2C1 | MOH - Qassim | 4968
128 | 4227160004500 | W2C1 | MOH - Jeddah | 8550
129 | 4227160004500 | W2C1 | MOH - Makkah | 9000
130 | 4227160004500 | W2C1 | MOH - Qonfodah | 258
131 | 4227160004500 | W2C2 |  | 5976
132 | 4227160005600 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 1100
133 | 4227160005600 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 100
134 | 4227160005600 | 1100 | MOH - Qonfodah Health Directorateالمديريةالعامة للشؤون الصحية القنفذ | 230
135 | 4227160005600 | C2C1 | MOH - Riiyadh Cluster 2 | 100
136 | 4227160005600 | E2C1 | MOH - Ahsa | 200
137 | 4227160005600 | E2C1 | MOH - Dammam | 100
138 | 4227160005600 | N2C1 | MOH - Qassim | 2800
139 | 4227160005600 | S2C1 | MOH - Najran | 600
140 | 4227160005600 | S2C2 | MOH - Baha | 400
141 | 4227160005600 | W2C1 | MOH - Makkah | 800
142 | 4227160006000 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 5
143 | 4227160006000 | E2C1 | MOH - Ahsa | 30
144 | 4227160006000 | W2C1 | MOH - Makkah | 14
145 | 4227160006000 | W2C1 | MOH - Qonfodah | 39
146 | 4227160006000 | W2C2 |  | 58
147 | 4227160009200 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 90
148 | 4227160009200 | W2C1 | MOH - Makkah | 60
149 | 4227160009900 | S2C1 | MOH - Najran | 240
150 | 4227160009900 | W2C1 | MOH - Qonfodah | 15
151 | 4227160010300 | C2C1 | MOH - Riiyadh Cluster 2 | 41
152 | 4227160010300 | C2C1 | MOH - Riiyadh Cluster 3 | 61
153 | 4227160010300 | E2C1 | MOH - Ahsa | 89
154 | 4227160010300 | S2C2 | MOH - Baha | 51
155 | 4227160010300 | W2C1 | MOH - Qonfodah | 10
156 | 4227160010400 | W2C1 | MOH - Jeddah | 161
157 | 4227160010400 | W2C1 | MOH - Qonfodah | 252
158 | 4227160010600 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 1031
159 | 4227160010600 | E2C1 | MOH - Ahsa | 210
160 | 4227160010600 | E2C1 | MOH - Dammam | 57
161 | 4227160010600 | N2C1 | MOH - Qassim | 64
162 | 4227160010600 | W2C1 | MOH - Makkah | 14
163 | 4227160010700 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 17
164 | 4227160010700 | C2C1 | MOH - Riiyadh Cluster 2 | 20
165 | 4227160010700 | W2C1 | MOH - Makkah | 10
166 | 4227160011200 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 60
167 | 4227160011200 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 240
168 | 4227160011200 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 824
169 | 4227160011200 | C2C1 | MOH - KSMC | 270
170 | 4227160011200 | C2C1 | MOH - PMAH | 13
171 | 4227160011200 | C2C1 | MOH - Riiyadh Cluster 1 | 40
172 | 4227160011200 | E2C1 | MOH - Ahsa | 355
173 | 4227160011200 | E2C1 | MOH - Dammam | 140
174 | 4227160011200 | N2C1 | MOH - Qassim | 116
175 | 4227160011200 | S2C1 | MOH - Najran | 111
176 | 4227160011200 | S2C2 | MOH - Baha | 90
177 | 4227160011200 | W2C1 | MOH - Makkah | 36
178 | 4227160011200 | W2C1 | MOH - Qonfodah | 1
179 | 4227160011200 | W2C2 |  | 75
180 | 4227160011300 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 10
181 | 4227160011300 | N2C1 | MOH - Qassim | 20
182 | 4227160011300 | W2C1 | MOH - Jeddah | 22
183 | 4227160011300 | W2C2 |  | 10
184 | 4227160011500 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 112
185 | 4227160011500 | C2C1 | MOH - KSMC | 105
186 | 4227160011500 | C2C1 | MOH - Riiyadh Cluster 1 | 6
187 | 4227160011500 | C2C1 | MOH - Riiyadh Cluster 2 | 2
188 | 4227160011500 | W2C1 | MOH - Makkah | 205
189 | 4227160011500 | W2C2 |  | 500
190 | 4227160011700 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 30
191 | 4227160011700 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 4
192 | 4227160011700 | 1100 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | 94
193 | 4227160011700 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 2
194 | 4227160011700 | C2C1 | MOH - PMAH | 38
195 | 4227160011800 | C2C1 | MOH - KSMC | 1780
196 | 4227160013600 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 5380
197 | 4227160013600 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 3200
198 | 4227160013600 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 9300
199 | 4227160013600 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 480
200 | 4227160013600 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 12960
201 | 4227160013600 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 3220
202 | 4227160013600 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 3720
203 | 4227160013600 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 60
204 | 4227160013600 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 17
205 | 4227160013600 | 1100 | MOH - Taif Health Clusterالتجمع الصحي بالطائف | 10410
206 | 4227160013600 | C2C1 | MOH - KSMC | 36980
207 | 4227160013600 | C2C1 | MOH - Riiyadh Cluster 1 | 2178
208 | 4227160013600 | C2C1 | MOH - Riiyadh Cluster 2 | 1173
209 | 4227160013600 | C2C1 | MOH - Riiyadh Cluster 3 | 1311
210 | 4227160013600 | C2C1 | MOH - Riyadh | 336
211 | 4227160013600 | E2C1 | MOH - Ahsa | 11330
212 | 4227160013600 | E2C1 | MOH - Dammam | 10195
213 | 4227160013600 | N2C1 | MOH - Qassim | 20600
214 | 4227160013600 | S2C1 | MOH - Najran | 17910
215 | 4227160013600 | W2C1 | MOH - Jeddah | 22020
216 | 4227160013600 | W2C1 | MOH - Makkah | 4093
217 | 4227160013600 | W2C1 | MOH - Qonfodah | 410
218 | 4227160013600 | W2C2 |  | 5170
219 | 4227160016800 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 93
220 | 4227160016800 | C2C1 | MOH - KSMC | 700
221 | 4227160016800 | W2C1 | MOH - Jeddah | 510
222 | 4227160016800 | W2C1 | MOH - Qonfodah | 50
223 | 4227160016800 | W2C2 |  | 8400
224 | 4227190322400 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 200
225 | 4227190322400 | C2C1 | MOH - Riiyadh Cluster 2 | 50
226 | 4227190322800 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 160
227 | 4227190322800 | W2C1 | MOH - Qonfodah | 80
228 | 4227190323300 | 1100 | MOH - Taif Health Clusterالتجمع الصحي بالطائف | 516
229 | 4227190323400 | E2C1 | MOH - Ahsa | 2400
230 | 4227190323700 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 1280
231 | 4227190323700 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 209
232 | 4227190323700 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 1538
233 | 4227190323900 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 720
234 | 4227190323900 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 71
235 | 4227190323900 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 80
236 | 4227190324100 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 240
237 | 4227190324100 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 901
238 | 4227190325000 | E2C1 | MOH - Ahsa | 75
239 | 4227190325500 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 840
240 | 4227190325500 | E2C1 | MOH - Dammam | 120
241 | 4227190325500 | W2C2 |  | 300
242 | 4227190325900 | E2C1 | MOH - Ahsa | 11
243 | 4227190325900 | W2C2 |  | 2
244 | 4227190326000 | C2C1 | MOH - KSMC | 202
245 | 4227190326000 | C2C1 | MOH - Riiyadh Cluster 1 | 27
246 | 4227190326000 | C2C1 | MOH - Riiyadh Cluster 2 | 38
247 | 4227190326000 | C2C1 | MOH - Riiyadh Cluster 3 | 34
248 | 4227190326100 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 1
249 | 4227190326100 | C2C1 | MOH - Riiyadh Cluster 2 | 36
250 | 4227190326200 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 1
251 | 4227190326200 | C2C1 | MOH - KSMC | 11
252 | 4227190326200 | C2C1 | MOH - Riiyadh Cluster 2 | 11
253 | 4227190326200 | C2C1 | MOH - Riiyadh Cluster 3 | 21
254 | 4227190326300 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 9
255 | 4227190326300 | C2C1 | MOH - Riiyadh Cluster 2 | 40
256 | 4227190327200 | C2C1 | MOH - Riiyadh Cluster 2 | 29
257 | 4227190327200 | N2C1 | MOH - Qassim | 10
258 | 4227190327400 | C2C1 | MOH - KSMC | 90
259 | 4227190327400 | C2C1 | MOH - Riiyadh Cluster 3 | 30
260 | 4227190327600 | W2C1 | MOH - Qonfodah | 20
261 | 4227190327800 | C2C1 | MOH - KSMC | 60
262 | 4227190327800 | C2C1 | MOH - Riiyadh Cluster 1 | 13
263 | 4227190327800 | E2C1 | MOH - Dammam | 40
264 | 4227190327800 | S2C2 | MOH - Baha | 60
265 | 4227190329500 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 80
266 | 4227190330600 | C2C1 | MOH - Riiyadh Cluster 2 | 13
267 | 4227190336800 | C2C1 | MOH - KSMC | 48
268 | 4227190336800 | C2C1 | MOH - Riiyadh Cluster 2 | 33
269 | 4227190336800 | W2C2 |  | 290
270 | 4227190336900 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 180
271 | 4227190336900 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 60
272 | 4227190336900 | C2C1 | MOH - KSMC | 578
273 | 4227190336900 | C2C1 | MOH - Riiyadh Cluster 1 | 272
274 | 4227190336900 | C2C1 | MOH - Riiyadh Cluster 2 | 26
275 | 4227190336900 | C2C1 | MOH - Riiyadh Cluster 3 | 20
276 | 4227190336900 | E2C1 | MOH - Ahsa | 70
277 | 4227190336900 | S2C1 | MOH - Najran | 120
278 | 4227190336900 | W2C1 | MOH - Jeddah | 160
279 | 4227190336900 | W2C1 | MOH - Makkah | 210
280 | 4227190336900 | W2C2 |  | 660
281 | 4227190337000 | C2C1 | MOH - KSMC | 310
282 | 4227190337000 | C2C1 | MOH - Riiyadh Cluster 1 | 84
283 | 4227190337000 | C2C1 | MOH - Riiyadh Cluster 2 | 22
284 | 4227190337000 | W2C1 | MOH - Makkah | 70
285 | 4227190337100 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 420
286 | 4227190337100 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 20
287 | 4227190337100 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 8
288 | 4227190337100 | 1100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | 200
289 | 4227190337100 | C2C1 | MOH - KSMC | 530
290 | 4227190337100 | C2C1 | MOH - Riiyadh Cluster 1 | 200
291 | 4227190337100 | C2C1 | MOH - Riiyadh Cluster 2 | 10
292 | 4227190337100 | C2C1 | MOH - Riiyadh Cluster 3 | 35
293 | 4227190337100 | W2C2 |  | 330
294 | 4227190503800 | E2C1 | MOH - Ahsa | 9
295 | 4227190503800 | S2C2 | MOH - Baha | 68
296 | 4227190503800 | W2C1 | MOH - Makkah | 9
297 | 4227190504000 | E2C1 | MOH - Ahsa | 93
298 | 4227190504000 | E2C1 | MOH - Dammam | 38
299 | 4227191202300 | C2C1 | MOH - Riiyadh Cluster 2 | 590
300 | 4227191202300 | E2C1 | MOH - Dammam | 2000
301 | 4227191202300 | S2C1 | MOH - Najran | 607
302 | 4227191500900 | C2C1 | MOH - KSMC | 530
303 | 4227191500900 | S2C1 | MOH - Najran | 1620
304 | 4227191500900 | W2C1 | MOH - Qonfodah | 1080
305 | 4227191500900 | W2C2 |  | 10006
306 | 4227191522300 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 237
307 | 4227191522500 | W2C1 | MOH - Qonfodah | 44
308 | 4227191529300 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 1800
309 | 4227191529300 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 705
310 | 4227191529300 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 800
311 | 4227191530000 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 1920
312 | 4227191530000 | S2C1 | MOH - Najran | 90
313 | 4227191530000 | S2C2 | MOH - Baha | 330
314 | 4227191530000 | W2C1 | MOH - Makkah | 5335
315 | 4227191530400 | S2C1 | MOH - Najran | 106
316 | 4227191530400 | W2C1 | MOH - Qonfodah | 6
317 | 4227191530900 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 486
318 | 4227191530900 | E2C1 | MOH - Dammam | 16
319 | 4227191530900 | W2C1 | MOH - Jeddah | 210
320 | 4227191531000 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 96
321 | 4227191531000 | E2C1 | MOH - Dammam | 3
322 | 4227191531000 | W2C1 | MOH - Qonfodah | 4
323 | 4227191531200 | S2C1 | MOH - Najran | 64
324 | 4227191531200 | W2C1 | MOH - Qonfodah | 2
325 | 4227191531300 | C2C1 | MOH - KSMC | 830
326 | 4227191531300 | E2C1 | MOH - Ahsa | 350
327 | 4227191531300 | E2C1 | MOH - Dammam | 1980
328 | 4227191531300 | W2C1 | MOH - Jeddah | 420
329 | 4227191531300 | W2C1 | MOH - Makkah | 6300
330 | 4227191531300 | W2C2 |  | 800
331 | 4227191532200 | W2C1 | MOH - Jeddah | 50
332 | 4227191532200 | W2C1 | MOH - Qonfodah | 17
333 | 4227191535000 | S2C1 | MOH - Najran | 100
334 | 4227191535100 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 200
335 | 4227191535100 | E2C1 | MOH - Ahsa | 300
336 | 4227191535300 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 680
337 | 4227191535300 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 418
338 | 4227191535300 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 376
339 | 4227191535300 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 102
340 | 4227191535300 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 202
341 | 4227191535300 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 212
342 | 4227191535300 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 150
343 | 4227191535300 | C2C1 | MOH - KSMC | 2261
344 | 4227191535300 | E2C1 | MOH - Ahsa | 156
345 | 4227191535300 | E2C1 | MOH - Dammam | 181
346 | 4227191535300 | S2C2 | MOH - Baha | 16
347 | 4227191535300 | W2C1 | MOH - Jeddah | 168
348 | 4227191535300 | W2C1 | MOH - Makkah | 332
349 | 4227191535300 | W2C2 |  | 238
350 | 4227191535500 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 14
351 | 4227191535500 | C2C1 | MOH - PMAH | 54
352 | 4227191535600 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 700
353 | 4227191535600 | 1100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | 900
354 | 4227191535600 | 1100 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | 2670
355 | 4227191535600 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 6222
356 | 4227191535600 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 400
357 | 4227191535600 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 600
358 | 4227191535600 | C2C1 | MOH - KSMC | 2076
359 | 4227191535600 | C2C1 | MOH - Riiyadh Cluster 1 | 344
360 | 4227191535600 | C2C1 | MOH - Riiyadh Cluster 2 | 278
361 | 4227191535600 | C2C1 | MOH - Riiyadh Cluster 3 | 204
362 | 4227191535600 | E2C1 | MOH - Ahsa | 420
363 | 4227191535600 | N2C1 | MOH - Qassim | 800
364 | 4227191535600 | S2C1 | MOH - Najran | 800
365 | 4227191535600 | S2C2 | MOH - Baha | 540
366 | 4227191535600 | W2C1 | MOH - Jeddah | 5350
367 | 4227191535600 | W2C1 | MOH - Makkah | 671
368 | 4227191535600 | W2C1 | MOH - Qonfodah | 1780
369 | 4227191535600 | W2C2 |  | 300
370 | 4227191540800 | W2C1 | MOH - Qonfodah | 68
371 | 4227201805000 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 10
372 | 4227201805000 | C2C1 | MOH - KSMC | 220
373 | 4227201805000 | S2C1 | MOH - Najran | 150
374 | 4227201805100 | 1100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | 10
375 | 4227201805100 | S2C1 | MOH - Najran | 620
376 | 4227201805800 | S2C1 | MOH - Najran | 160
377 | 4227201805900 | S2C1 | MOH - Najran | 518
378 | 4227201806000 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 130
379 | 4227201806000 | S2C1 | MOH - Najran | 130
380 | 4227201806100 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 1979
381 | 4227201806100 | S2C1 | MOH - Najran | 210
382 | 4227201806100 | W2C1 | MOH - Makkah | 360
383 | 4227201806200 | W2C1 | MOH - Makkah | 180
384 | 4227201806200 | W2C1 | MOH - Qonfodah | 171
385 | 4227201806300 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 60
386 | 4227201806300 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 1260
387 | 4227201806300 | N2C1 | MOH - Qassim | 290
388 | 4227250003200 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 4975
389 | 4227250003200 | C2C1 | MOH - KSMC | 745
390 | 4227250003200 | C2C1 | MOH - Riiyadh Cluster 1 | 78
391 | 4227250003200 | C2C1 | MOH - Riiyadh Cluster 3 | 92
392 | 4227250003200 | E2C1 | MOH - Ahsa | 575
393 | 4227250003200 | N2C1 | MOH - Qassim | 930
394 | 4227250003200 | S2C1 | MOH - Najran | 750
395 | 4227250003200 | W2C1 | MOH - Jeddah | 2125
396 | 4227250003200 | W2C1 | MOH - Makkah | 1490
397 | 4227250003200 | W2C1 | MOH - Qonfodah | 150
398 | 4227250003800 | 1100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | 40
399 | 4227250003800 | C2C1 | MOH - KSMC | 10
400 | 4227250003800 | E2C1 | MOH - Ahsa | 10
401 | 4227250003800 | E2C1 | MOH - Dammam | 30
402 | 4227250003800 | S2C1 | MOH - Najran | 90
403 | 4227250003800 | W2C1 | MOH - Makkah | 34
404 | 4227250003800 | W2C2 |  | 180
405 | 4227250003900 | E2C1 | MOH - Ahsa | 80
406 | 4227250003900 | E2C1 | MOH - Dammam | 30
407 | 4227250003900 | N2C1 | MOH - Qassim | 90
408 | 4227250003900 | S2C2 | MOH - Baha | 850
409 | 4227250003900 | W2C2 |  | 80
410 | 4227250004100 | 1100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | 60
411 | 4227250004100 | 1100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | 500
412 | 4227250004100 | 1100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | 60
413 | 4227250004100 | C2C1 | MOH - KSMC | 330
414 | 4227250004100 | E2C1 | MOH - Ahsa | 46
415 | 4227250004100 | N2C1 | MOH - Qassim | 120
416 | 4227250004100 | S2C1 | MOH - Najran | 150
417 | 4227250004100 | W2C1 | MOH - Jeddah | 140
418 | 4227250004100 | W2C1 | MOH - Makkah | 80
419 | 4227250008200 | 1100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | 70
420 | 4227250008200 | E2C1 | MOH - Dammam | 70
421 | 4227250008200 | S2C1 | MOH - Najran | 50
422 | 4227250008200 | W2C2 |  | 100