## قائمة الطرح
SN | Original Generic | Original Desc | UOM | Sum of Sum of Original Open Qty | SRM
1 | 4229161100400 | ENDPLATE RASP NON SLIPPERY 15 OVERALL LENGTH SIZE 1/2 INCH OR EQUIVALENTSPINAL | EA | 2 | 3000014082
2 | 4229161209200 | PITUITARY RONGEUR STRAIGHT LENGTH 250 MM SIZE 2 MM OR EQUIVALENT SMOOTHAND TOOTHED (EQUALLY DISTRIBUTED) SPINAL | EA | 3 | 3000014082
3 | 4229162719800 | "BURR, ARTHROSCOPIC, ASSORTED TYPES AND LENGTHS AS REQUESTED BY ENDUSER, ORTHOPEDIC" | EA | 125 | 3000014082
4 | 4229421916800 | "FEMORAL COMPONENT, FOR REVISION TOTAL KNEE ARTHROPLASTY WITH POSTERIORSTABILIZER ASSORTED SIZES AS REQUIRED BY END USER, ORTHOPEDIC" | EA | 10 | 3000014082
5 | 4229421917000 | FEMORAL OFFSET STEM FOR REVISION TKR ASSORTED SIZES AS REQUIRED BY END USER, ORTHOPEDIC | EA | 20 | 3000014082
6 | 4229421920800 | EXTERNAL FIXATOR CARBON FIBER RADIOLUCENT CONNECTING 5MM. DIAM ASSORTED LENGTH AS REQUIRED BY END USER ON DEMAND, ORTHOPEDIC | EA | 100 | 3000014082
7 | 4229421934100 | PLATE RECONSTRUCTION 3.5 MM STRAIGHT, ASSORTED SIZES AS REQUIRED BY END USER, ORTHOPEDIC | EA | 30 | 3000014082
8 | 4229421948400 | PLATE LCP 3.5 MM ASSORTED SIZE (LENGTH) AS REQUIRED BY END USER, ORTHOPEDIC | EA | 50 | 3000014082
9 | 4229421988500 | "HOLLOW NEEDLE, FOR BANKART AND ROTATOR CUFF REPAIR, ASSORTED SIZES ANDANGLES AS REQUESTED BY END USER, REUSABLE" | SET | 25 | 3000014082
10 | 4229497804900 | CLEAR CANNULA ASSORTED 7.0, 8.5 MM AND ASSORTED LENGTH OR EQUIVALENT, ORTHOPEDIC | EA | 100 | 3000014082
11 | 4232150402800 | NAIL CANNULATED PIRIFORMIS ENTRY, FEMORAL INTERLOCKING TITANIUM, NECK AND SHAFT, ASSORTED SIZES AND LENGTH INCLUDING A NAIL CAP ASSORTED SIZES , ORTHOPEDIC | EA | 3 | 3000014082
12 | 4232150527300 | "PLATE, FOR DYNAMIC CONDYLAR SCREW STAINLESS STEEL ASSORTED TYPES ANDSIZES" | EA | 10 | 3000014082
13 | 4232150527500 | "PLATE, OF DYNAMIC HIP SCREW STAINLESS STEEL ASSORTED TYPES AND SIZES" | EA | 50 | 3000014082
14 | 4232150529700 | LOCKING COMPRESSION PLATE FOR DISTAL TIBIA RIGHT/LEFT 3.5 MM ASSORTED SIZES AS REQUIRED BY END USE, ORTHOPEDIC | EA | 4 | 3000014082
15 | 4232150530200 | LOCKING COMPRESSION T-SHAPED OBLIQUE ANGLE RIGHT/LEFT PLATE 3.5 MM ASSORTED SIZES AND SHAPE AS REQUIRED BY END USER, ORTHOPEDIC | EA | 25 | 3000014082
16 | 4232150601300 | "SCREW, LOCKED HEAD VARIABLE ANGLE FOR VOLAR DISTAL RADIUS FIXATIONTITANIUM ASSORTED LENGTHS AND SIZES" | EA | 100 | 3000014082
17 | 4232150629000 | SCREW CORTICAL, 2.0 MM. DIAM OR EQUIVALENT, ASSORTED SCREW LENGTHS ON DEMAND AS REQUIRED BY END USERS, ORTHOPEDIC | EA | 100 | 3000014082
18 | 4232150629200 | "SCREW, LAG OF DYNAMIC HIP SCREW PLATE STAINLESS STEEL ASSORTED TYPESAND SIZES AS REQUESTED BY END USER" | EA | 70 | 3000014082
19 | 4232150630600 | SCREW ABSORBABLE INTERFERENCE (POLYLACTIC GLYCOLIC ACID) FOR ACL RECONSTRUCTION ASSORTED DIAMETERS &amp; LENGTHS AS REQUIRED BY ENDUSERS, ORTHO P EDIC | EA | 40 | 3000014082
20 | 4232150703100 | STAINLESS STEEL IMPLANTS FOR 10 CASES FOR 1.5 MM (10) PLATES ASSORTED SHAPES (L, T, H, CONDYLAR) AND ASSORTED (50) SCREWS LENGTH ASREQUESTED BY END USER WITH GRAPHIC TRAY AND CASE, ORTHOPEDIC | EA | 1 | 3000014082
21 | 4232160709900 | SPINAL KERRISON DOUBLE COATED ANTI REFLECTION SELF CLEANING EJECTORANGLED 45 DEGREE FORWARD CURVED SHAFT LENGTH 250 MM SIZE 2 MM SPINAL | EA | 2 | 3000014082
22 | 4232160710000 | SPINAL KERRISON DOUBLE COATED ANTI REFLECTION SELF CLEANING EJECTORANGLED 45 DEGREE FORWARD CURVED SHAFT LENGTH 250 MM SIZE 3 MM SPINAL | EA | 1 | 3000014082
23 | 4232180200300 | "STEM, FEMORAL STRAIGHT OR OFFSET FOR REVISION TOTAL KNEE ARTHROPLASTYASSORTED SIZES AND LENGTHS AS REQUIRED BY END USER, ORTHOPEDIC" | EA | 20 | 3000014082
24 | 4232181300100 | TIBIAL HALF WEDGE ASSORTED ANGLES AND SIZES, ORTHOPEDIC | EA | 20 | 3000014082
25 | 4232220300000 | ANCHOR SUTURE KNOTTED ABSORBABLE SHOULDER REPAIR ASSORTED TYPES ANDSIZES REQUESTED BY END USER | EA | 20 | 3000014082
26 | 4232220300100 | ANCHOR SUTURE KNOTTED TITANIUM SHOULDER REPAIR ASSORTED TYPES AND SIZESREQUESTED BY END USER | EA | 25 | 3000014082

## توزيع المناطق
Original Pur group name | Original Tender desc | Original Tender no | Original Generic | Original Delivery Address | Original Desc | UOM | Sum of Original Open Qty
Sec. Force - East | منافسة تأمين لوازم العظام والع | NPT0008/19 | 4229161100400 | MOI - SFH | ENDPLATE RASP NON SLIPPERY 15 OVERALL LENGTH SIZE 1/2 INCH OR EQUIVALENTSPINAL | EA | 2
Sec. Force - East | منافسة تأمين لوازم العظام والع | NPT0008/19 | 4229161209200 | MOI - SFH | PITUITARY RONGEUR STRAIGHT LENGTH 250 MM SIZE 2 MM OR EQUIVALENT SMOOTHAND TOOTHED (EQUALLY DISTRIBUTED) SPINAL | EA | 3
Sec. Force - East | منافسة تأمين لوازم العظام والع | NPT0008/19 | 4232160709900 | MOI - SFH | SPINAL KERRISON DOUBLE COATED ANTI REFLECTION SELF CLEANING EJECTORANGLED 45 DEGREE FORWARD CURVED SHAFT LENGTH 250 MM SIZE 2 MM SPINAL | EA | 2
Sec. Force - East | منافسة تأمين لوازم العظام والع | NPT0008/19 | 4232160710000 | MOI - SFH | SPINAL KERRISON DOUBLE COATED ANTI REFLECTION SELF CLEANING EJECTORANGLED 45 DEGREE FORWARD CURVED SHAFT LENGTH 250 MM SIZE 3 MM SPINAL | EA | 1
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4229162719800 | MOI - SFH | "BURR, ARTHROSCOPIC, ASSORTED TYPES AND LENGTHS AS REQUESTED BY ENDUSER, ORTHOPEDIC" | EA | 125
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4229421916800 | MOI - SFH | "FEMORAL COMPONENT, FOR REVISION TOTAL KNEE ARTHROPLASTY WITH POSTERIORSTABILIZER ASSORTED SIZES AS REQUIRED BY END USER, ORTHOPEDIC" | EA | 10
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4229421917000 | MOI - SFH | FEMORAL OFFSET STEM FOR REVISION TKR ASSORTED SIZES AS REQUIRED BY END USER, ORTHOPEDIC | EA | 20
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4229421920800 | MOI - SFH | EXTERNAL FIXATOR CARBON FIBER RADIOLUCENT CONNECTING 5MM. DIAM ASSORTED LENGTH AS REQUIRED BY END USER ON DEMAND, ORTHOPEDIC | EA | 100
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4229421934100 | MOI - SFH | PLATE RECONSTRUCTION 3.5 MM STRAIGHT, ASSORTED SIZES AS REQUIRED BY END USER, ORTHOPEDIC | EA | 30
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4229421948400 | MOI - SFH | PLATE LCP 3.5 MM ASSORTED SIZE (LENGTH) AS REQUIRED BY END USER, ORTHOPEDIC | EA | 50
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4229421988500 | MOI - SFH | "HOLLOW NEEDLE, FOR BANKART AND ROTATOR CUFF REPAIR, ASSORTED SIZES ANDANGLES AS REQUESTED BY END USER, REUSABLE" | SET | 25
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4229497804900 | MOI - SFH | CLEAR CANNULA ASSORTED 7.0, 8.5 MM AND ASSORTED LENGTH OR EQUIVALENT, ORTHOPEDIC | EA | 100
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150402800 | MOI - SFH | NAIL CANNULATED PIRIFORMIS ENTRY, FEMORAL INTERLOCKING TITANIUM, NECK AND SHAFT, ASSORTED SIZES AND LENGTH INCLUDING A NAIL CAP ASSORTED SIZES , ORTHOPEDIC | EA | 3
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150527300 | MOI - SFH | "PLATE, FOR DYNAMIC CONDYLAR SCREW STAINLESS STEEL ASSORTED TYPES ANDSIZES" | EA | 10
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150527500 | MOI - SFH | "PLATE, OF DYNAMIC HIP SCREW STAINLESS STEEL ASSORTED TYPES AND SIZES" | EA | 50
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150529700 | MOI - SFH | LOCKING COMPRESSION PLATE FOR DISTAL TIBIA RIGHT/LEFT 3.5 MM ASSORTED SIZES AS REQUIRED BY END USE, ORTHOPEDIC | EA | 4
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150530200 | MOI - SFH | LOCKING COMPRESSION T-SHAPED OBLIQUE ANGLE RIGHT/LEFT PLATE 3.5 MM ASSORTED SIZES AND SHAPE AS REQUIRED BY END USER, ORTHOPEDIC | EA | 25
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150601300 | MOI - SFH | "SCREW, LOCKED HEAD VARIABLE ANGLE FOR VOLAR DISTAL RADIUS FIXATIONTITANIUM ASSORTED LENGTHS AND SIZES" | EA | 100
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150629000 | MOI - SFH | SCREW CORTICAL, 2.0 MM. DIAM OR EQUIVALENT, ASSORTED SCREW LENGTHS ON DEMAND AS REQUIRED BY END USERS, ORTHOPEDIC | EA | 100
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150629200 | MOI - SFH | "SCREW, LAG OF DYNAMIC HIP SCREW PLATE STAINLESS STEEL ASSORTED TYPESAND SIZES AS REQUESTED BY END USER" | EA | 70
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150630600 | MOI - SFH | SCREW ABSORBABLE INTERFERENCE (POLYLACTIC GLYCOLIC ACID) FOR ACL RECONSTRUCTION ASSORTED DIAMETERS &amp; LENGTHS AS REQUIRED BY ENDUSERS, ORTHO P EDIC | EA | 40
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232150703100 | MOI - SFH | STAINLESS STEEL IMPLANTS FOR 10 CASES FOR 1.5 MM (10) PLATES ASSORTED SHAPES (L, T, H, CONDYLAR) AND ASSORTED (50) SCREWS LENGTH ASREQUESTED BY END USER WITH GRAPHIC TRAY AND CASE, ORTHOPEDIC | EA | 1
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232180200300 | MOI - SFH | "STEM, FEMORAL STRAIGHT OR OFFSET FOR REVISION TOTAL KNEE ARTHROPLASTYASSORTED SIZES AND LENGTHS AS REQUIRED BY END USER, ORTHOPEDIC" | EA | 20
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232181300100 | MOI - SFH | TIBIAL HALF WEDGE ASSORTED ANGLES AND SIZES, ORTHOPEDIC | EA | 20
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232220300000 | MOI - SFH | ANCHOR SUTURE KNOTTED ABSORBABLE SHOULDER REPAIR ASSORTED TYPES ANDSIZES REQUESTED BY END USER | EA | 20
Sec. Force - East | منافسة تأمين لوازم العظام والعامود الفقري والأعصاب | NPT0008/19 | 4232220300100 | MOI - SFH | ANCHOR SUTURE KNOTTED TITANIUM SHOULDER REPAIR ASSORTED TYPES AND SIZESREQUESTED BY END USER | EA | 25