## الطرح
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4214310110000 | "LAPAROSCOPIC BIPOLAR BLUNT COAGULATOR 5 MM SUCTION/IRRIGATION DEVICE, 32 T0 44 CM LONG ELECTRODE, WITH SIDE HOLES SUCTION AND HANDLE, PROVIDED WITH SUCTION/IRRIGATION TUBING, AND UNIVERSAL CABLE, DISPOSABLE, STERILE" | EA | 431 | 3000014603
2 | 4222150302500 | CATHETER PERMANENT JUGULAR VEIN FOR CHILDREN CONSISTING OF: DUAL LUMEN SILICONE RUBBER CATHETER WITH DARCON FELT CUFF HUB AND CLEAR SILICON EXTENSION TUBES TERMINATING WITH LUER LOCK ADAPTERS OVERALL LENGTH 28 CM OUTER DIAMETER 2.8 X 4.9 MM INNER DIAMETER 1.5 MM J - STRAIGHT 0.038 INCH GUIDEWIRE SHEATH DILATOR TUNNELING STYLET INTRODUCER NEEDLE AND 10 CC LUER LOCK SYRINGE DISPOSABLE STERILE | Kit | 857 | 3000014603
3 | 4216165907200 | CATHETER HEMODIALYSIS SILICONE KIT 8 FR X 10 CM SHORT TERM | each | 60 | 3000014603
4 | 4110420703200 | WATER ANALYSIS SAMPLING KIT WITH CONNECTOR FEMALE FIT TO LOOP VALVE STERILE DISPOSABLE | KIT | 576 | 3000014603
5 | 4220341402100 | COLUMN HEMOPERFUSION (ACTIVATED CHARCOAL HEMOPERFUSION COLUMN) CONTAINING: 150 - 300 GM OF ACTIVATED CHARCOAL HEMOPERFUSION GRADE | items (Pieces) | 1004 | 3000014603
6 | 4220341066000 | "CORONARY SINUS PARTIALLY OCCLUSION DEVICE, WITH ALL NEEDED ACCESSORIES" | EA | 40 | 3000014603
7 | 4214253200600 | PERICARDIOCENTESIS KIT, FOR PEDIATRIC, TO REMOVE FLUIDS FROM THE PERICARDIUM, DISPOSABLE, STERILE. | PC | 40 | 3000014603
8 | 4220341090100 | DILATOR, FOR PUNCTURE SITE / VASCULAR DILATATION, HYDROPHILIC, 0.018IN GUIDEWIRE, LENGTH 10-15 CM, 4 TO 5FR, DISPOSABLE, STERILE | EA | 1398 | 3000014603
9 | 4229517115200 | ULTRASOUND GUIDED REENTRY DEVICE, COMPATIBLE WITH 6 FR SHEATH, LENGTH 115 - 135 CM, DISPOSABLE, STERILE | PIECE | 60 | 3000014603
10 | 4220344718900 | "LUNG BIOPSY TRACT SYSTEM, CONSISTS OF ABSORBABLE HYDROGEL PLUG TO PREVENT PNEUMOTHORAX, STERILE, DISPOSABLE, INCLUDES (2 CO-AXIAL ADAPTERS WITH (2 PLUGS, INCLUDES 19G CO-AXIAL INTRODUCER NEEDLE, (INTRODUCER NEEDLE LENGTH TO BE SUPPLIED DETERMINED BY THE RECEIVING HOSPITAL SITE" | EA | 202 | 3000014603
11 | 4220344710800 | "PERCUTANEOUS HYDRO DISCECTOMY KIT, INCLUDES STRAIGHT OR CURVED ACCESS CANNULA WITH GUIDEWIRE, DILATOR, SPINAL NEEDLE" | EA | 100 | 3000014603
12 | 4220344717200 | MICRO CATHETER, STEERABLE, COILED SHAFT CONSTRUCTION, 0.014 WIRE, DEFLECTING TIP UP TO 90 DEGREE | EA | 250 | 3000014603
13 | 4220341053400 | DELIVERY SYSTEM, FOR PDA COILS, ASSORTED SIZES AS PER HOSPITAL REQUEST | EA | 216 | 3000014603
14 | 4220341054100 | HEMOSTATIC VALVE, WITH ROTATING AND EXTENSION LINE, FITS CATHETERS UP TO 8 FR, DISPOSABLE, STERILE | EA | 10634 | 3000014603
15 | 4229517115100 | THERMOCOUPLE, TO MEASURE TISSUE TEMPERATURE THROUGHOUT RADIOFREQUENCY ABLATION PROCEDURES | PIECE | 40 | 3000014603
16 | 4220344000700 | MICRO DILATATION BALLOON CATHETER, HYDROPHILIC COATED, KINK RESISTANT, 150-170 CM, DISPOSABLE, STERILE | PC | 100 | 3000014603
17 | 4220341019500 | INTRODUCER SHEATH SET, FULLY RADIOPAQUE, DISPOSABLE, STERILE, ASSORTED SIZES AND LENGTHS AS PER HOSPITAL REQUEST | EA | 7530 | 3000014603
18 | 4229517115800 | INTRODUCER SHEATH SET, RADIOPAQUE TIP, MULLINS DESIGN, ASSORTED SIZES AS PER HOSPITAL REQUEST | PIECE | 400 | 3000014603
19 | 4220341017500 | DRAINAGE CATHETER, PERCUTANEOUS, MULTIPURPOSE DRAINAGE CATHETER SET, HYDROPHILIC, 18 FR, LOCKING PIGTAIL, STIFFENING CANNULA, STAINLESS STEEL TROCAR STYLET, CATHETER LENGTH NOT MORE THAN 35 CM, DISPOSABLE, STERILE | EA | 942 | 3000014603
20 | 4220341017400 | DRAINAGE CATHETER, PERCUTANEOUS, MULTIPURPOSE DRAINAGE CATHETER SET, HYDROPHILIC, 20 FR, LOCKING PIGTAIL, STIFFENING CANNULA, STAINLESS STEEL TROCAR STYLET, CATHETER LENGTH NOT MORE THAN 35 CM, DISPOSABLE, STERILE | EA | 840 | 3000014603
21 | 4220341017300 | DRAINAGE CATHETER, PERCUTANEOUS, MULTIPURPOSE DRAINAGE CATHETER SET, HYDROPHILIC, 24 FR, LOCKING PIGTAIL, STIFFENING CANNULA, STAINLESS STEEL TROCAR STYLET, CATHETER LENGTH NOT MORE THAN 35 CM, DISPOSABLE, STERILE | EA | 4793 | 3000014603
22 | 4214250002500 | VERTEBROPLASTY KIT, ASSORTED SIZES AS PER HOSPITAL REQUEST | PC | 420 | 3000014603
23 | 4220344719100 | MICROCATHETER, FOR NEUROVASCULAR, 0.010 - 0.015 IN MICROCATHETER SYSTEM, ASSORTED TIP SHAPES, CATHETER LENGTH NOT LESS THAN 150 CM, DISPOSABLE, STERILE | EA | 350 | 3000014603
24 | 4213170402900 | "TOWEL, OPERATING ROOM, LATEX SAFE PREWASHED AND DELINTED S.U.D, WITH TAIL, 35 X 25 CM ( +/- 5 CM ), PACK OF 10, DISPOSABLE, STERILE" | EA | 66315 | 3000014603
25 | 4229161432000 | INSTRUMENT, SCISSORS, DRESSING, BLUNT, MOLDED FROM A HIGH-STIFFNESS, STRAIGHT, BLUNT/BLUNT, LENGTH 14 CM (+/-2), STERILE, DISPOSABLE | PC | 2000 | 3000014603
26 | 4229548019500 | "SET, PERITONEAL, LAVAGE, DIAGNOSTIC, DISPOSABLE, STERILE" | EA | 1222 | 3000014603
27 | 4214253700300 | "PNEUMOTHORAX SET, FOR THORACIC SURGERY, SIZE 14 FR, LENGTH 30 CM (+/- 2 CM), DISPOSABLE, STERILE" | PC | 500 | 3000014603
28 | 4220341091200 | "NEEDLE, BONE BIOPSY, SERRATED HEAD, 16 G X 10-13 CM, DISPOSABLE, STERILE" | EA | 442 | 3000014603
29 | 4222160406800 | "NEEDLE, POSTERIOR TIBIAL NERVE STIMULATION, TO USED WITH PC STIMULATOR FOR TREATMENT OF OVERACTIVE BLADDER" | EA | 305 | 3000014603
30 | 4214250205400 | "NEEDLE, ENDOSCOPIC, METAL, ASSORTED SIZE, STERILE" | EA | 80 | 3000014603
31 | 4229514328900 | "LEEP, NEEDLE, ELECTRODE, 0.8 X 16 MM, DISPOSABLE, STERILE" | PC | 750 | 3000014603
32 | 4229514329000 | "LEEP, SQUARE, 10 X 10 MM, FOR CAUTERY, IN GYNECOLOGY PROCEDURE, STERILE" | PC | 750 | 3000014603
33 | 4229180226300 | "DILATOR, VAGINAL, SET OF MULTI SIZES, SILICON, LATEX FREE, NON STERILE " | set | 120 | 3000014603
34 | 4214274400000 | CATHETER, FOLEY, 3-WAYS, PURE SILICONE, OPEN TIP OVER GUIDEWIRE, 30-50 CM LONG WITH LATERAL EYES, BALLOON SIZE: 5-15 ML WITH FUNNEL END VALVE SUITABLE TO BE USED WITH SYRINGE LUER LOCK, CYLINDRICAL, SIZE: CH 24, DISPOSABLE, STERILE | EA | 1600 | 3000014603
35 | 4214270234700 | "CATHETER, FOLEY, 2-WAYS, SILICONE, WITH INFECTION PROTECTION COATING (GOLD, SILVER AND PALLADIUM), 20-40 CM LONG WITH LATERAL EYES, BALLOON SIZE: 3-5 ML WITH FUNNEL END VALVE SUITABLE TO BE USED WITH SYRINGE LUER, LUER LOCK, CYLINDRICAL, SIZE: CH 8, DISPOSABLE, STERILE" | PC | 600 | 3000014603
36 | 4214270234900 | "CATHETER, FOLEY, 2-WAYS, SILICONE, WITH INFECTION PROTECTION COATING (GOLD, SILVER AND PALLADIUM), 20-40 CM LONG WITH LATERAL EYES, BALLOON SIZE: 3-5 ML WITH FUNNEL END VALVE SUITABLE TO BE USED WITH SYRINGE LUER, LUER LOCK, CYLINDRICAL, SIZE: CH 10, DISPOSABLE, STERILE" | PC | 900 | 3000014603
37 | 4214310000000 | "GEL, OBSTETRIC, PHTHALATE FREE, TO REDUCE LABOR TIME AND PAIN, TUBE, STERILE, DISPOSABLE" | PC | 3000 | 3000014603
38 | 4231260302300 | "DRESSING, FOR NEGATIVE PRESSURE WOUND THERAPY (NPWT), FOR HAND, WITH FINGER SEPARATORS, DISPOSABLE, STERILE, IT SHOULD BE COMPATIBLE WITH THE HOSPITAL MACHINE, (WOUND AND OSTOMY CARE)" | EA | 500 | 3000014603
39 | 4229548018800 | "PACK, PLAIN, strip , 1/2 INCH X 5 YD, STERILE, (WOUND AND OSTOMY CARE)" | EA | 4297 | 3000014603
40 | 4229548018900 | "PACK, PLAIN, strip , 1 INCH X 5 YD, STERILE, (WOUND AND OSTOMY CARE)" | EA | 3087 | 3000014603
41 | 4231151004800 | "DRESSING, THICK FOAM, ABSORBENT, SOFT, SILICONE, WITHOUT BORDER, NON-ADHESIVE, 6 X 8.5 CM (+/-1CM), SUITABLE FOR EB PATIENTS, DISPOSABLE, STERILE, (WOUND AND OSTOMY CARE)" | EA | 20815 | 3000014603
42 | 4231151700300 | "ADHESIVE REMOVER, SPRAY, PAINLESS, ODOURLESS, SILICONE BASED, TO FACILITATE EASY AND EFFECTIVE REMOVAL OF ALL ADHESIVE PLASTERS, 50-60 ML, SUITABLE FOR EB PATIENTS, (WOUND AND OSTOMY CARE)" | EA | 1200 | 3000014603
43 | 4227160019200 | "CONNECTOR DRAINAGE BAG, CONICAL, FEMALE / MALE LUER LOCK, DISPOSABLE STERILE" | EA | 500 | 3000014603
44 | 4214410400700 | CONNECTOR, FOR DRAINAGE BAG, LUER LOCK TO FUNNEL, DISPOSABLE, STERILE | EA | 15000 | 3000014603
45 | 4223160922900 | "TUBE CONNECTING, MALE LUER LOCK AND DRAINAGE BAG CONNECTOR, ONE WAY STOPCOCK ATTACHED, LENGTH 15-30CM" | EA | 30000 | 3000014603
46 | 4227250002200 | "TUBING, PLASTICIZED, MALE / MALE LUER, 0.2 MICRON FILTER, INTEGRAL ANTI-SIPHON VALVE, 152 CM (+/- 5CM), " | EA | 4250 | 3000014603
47 | 4227160004200 | FILTER, BLOOD TRANSFUSION, 40-60 MICRON, LOW RESIDUAL VOLUME 20 ML, RAPID FLOW RATE, COMPATIBLE WITH MULTIPLE BLOOD COMPONENTS, STERILE | each | 1000 | 3000014603
48 | 4214270403600 | "BAG, TELEMETRY POUCH, SOFT FOAM CONSTRUCTION WITH TORSO STRAP, FOR TRANSMITTER PROTECTION AND PATIENT COMFORT, SIZE 6X5 INCH" | EA | 200 | 3000014603
49 | 4111620501000 | "KIT, SPECIMEN, COLLECTION, MID-STREAM URINE, MUST CONTAIN DISINFECTANT WIPE, FUNNEL, AND SPECULUM CUP, STERILE" | EA | 8537 | 3000014603
50 | 4112180600700 | "VIAL, MEDICINE, EMPTY SEALED, 10 ML, CLEAR, PYROGEN FREE, STERILE" | EA | 350 | 3000014603
51 | 4223180700000 | "NIPPLE, NURSING BOTTLE, CLEFT ASSEMBLY, REUSABLE" | EA | 322 | 3000014603
52 | 4214280003300 | COMPRESSION SYSTEM, FEMORAL, FOR HEMOSTASIS MANAGEMENT, INCLUDING MANOMETER, BELT, AND COMPRESSION ARSH, SINGLE USE. | EA | 4500 | 3000014603
53 | 4231210500900 | "CREAM, PROTECTIVE SKIN BARRIER, NON-ALCOHOL, NO STING, SACHET, 2-5 GM, (WOUND AND OSTOMY CARE)" | EA | 3780 | 3000014603
54 | 4224170317600 | SWEDISH, KNEE CAGE, EXTRA-LARGE | each | 200 | 3000014603
55 | 4224200195800 | "PROSTHETIC CARBON FOOT, FOOTSHELL WITH COSMESIS CONNECTION CAP, SPLIT BIG TOE AND CONNECTS THE FOREFOOT AND THE HEEL SPRING, K LEVEL K3 -K4, WITH CARBON HEEL SPRING CUSTOMIZABLE SHOCK ABSORPTION, WITH TWO DIFFERENT HEEL WEDGE OPTIONS WITH POSSIBILITY REPLACEABLE HEEL WEDGE, WATERPROOF, BODY WEIGHT 100 - 150 KG, SIZE 23, RIGHT" | each | 10 | 3000014603
56 | 4224200016300 | "TWO COMPONENT ADHESIVE SETTING TIME, 60 SECOND, TO SECURE ADAPTER TO SOCKET DURING TRIAL FITTING" | each | 950 | 3000014603
57 | 4229161205200 | SPINAL KERRISON DOUBLE COATED ANTI REFLECTION SELF CLEANING EJECTOR ANGLED 45 DEGREE FORWARD LENGTH 400 MM SIZE 8 MM SPINAL | items (Pieces) | 164 | 3000014603
58 | 4229310705100 | DURAL AND NERVE RETRACTOR STRAIGHT INCLUDING SUCTION. LARGE SPINAL | items (Pieces) | 216 | 3000014603
59 | 4232160755100 | LERMAN HALO VEST ADULT SIZES ACCORDING TO END USER NON - INVASIVE OR EQUIVALENT SPINAL | SET | 136 | 3000014603
60 | 4232160755200 | LERMAN HALO VEST PEDIATRIC SIZE S ACCORDING TO END USER NON - INVASIVE OR EQUIVALENT SPINAL | SET | 212 | 3000014603
61 | 4232161200700 | DILATION SLEEVE, GRADUATED, INNER DIAMETER 5.3 MM, OUTER DIAMETER 8.9 MM, LENGTH 21 CM, OR EQUIVALENT, SPINAL | EACH | 2 | 3000014603
62 | 4232161200400 | DILATION SLEEVE, GRADUATED, INNER DIAMETER 9 MM, OUTER DIAMETER 12.7 MM, LENGTH 19 CM, OR EQUIVALENT, SPINAL | EACH | 2 | 3000014603
63 | 4232161200100 | DILATION SLEEVE GRADUATED, OUTER DIAMETER 14.9 MM, INNER DIAMETER 12.9 MM, LENGTH 17 CM, OR EQUIVALENT, SPINAL | EACH | 2 | 3000014603
64 | 4232161200200 | DILATION SLEEVE GRADUATED, OUTER DIAMETER 16.9 MM, INNER DIAMETER 15.1 MM, LENGTH 15 CM, OR EQUIVALENT, SPINAL | EACH | 2 | 3000014603
65 | 4232161200300 | DILATION SLEEVE, GRADUATED, INNER DIAMETER 17.1 MM, OUTER DIAMETER 18.9 MM, LENGTH 14 CM, OR EQUIVALENT, SPINAL | EACH | 2 | 3000014603
66 | 4232161200500 | DILATION SLEEVE GRADUATED, OUTER DIAMETER 20.9 MM, INNER DIAMETER 19 MM, LENGTH 13 CM, OR EQUIVALENT, SPINAL | EACH | 2 | 3000014603
67 | 4232151301200 | "WIRE, KIRSCHNER THREADED TIP ASSORTED LENGTHS, DIAMETER 0.6 MM TO 1 MM" | items (Pieces) | 824 | 3000014603
68 | 4232151301100 | "WIRE, KIRSCHNER THREADED TIP ASSORTED LENGTHS, DIAMETER 1.1 MM TO 1.8 MM" | items (Pieces) | 13233 | 3000014603
69 | 4232160518600 | MESH CAGE TITANIUM ANTERIOR THORACES - LUMBAR VERTEBRAL BODY REPLACEMENT 14 MM DIAMETER 110 MM LENGTH OR EQUIVALENT SPINAL | items (Pieces) | 193 | 3000014603
70 | 4232160518800 | MESH CAGE TITANIUM ANTERIOR THORACES - LUMBAR VERTEBRAL BODY REPLACEMENT 14 MM DIAMETER 150 MM LENGTH OR EQUIVALENT SPINAL | items (Pieces) | 268 | 3000014603
71 | 4232160519400 | MESH CAGE TITANIUM ANTERIOR THORACES - LUMBAR VERTEBRAL BODY REPLACEMENT 16 MM DIAMETER 150 MM LENGTH OR EQUIVALENT SPINAL | items (Pieces) | 296 | 3000014603
72 | 4232160520700 | MESH CAGE TITANIUM ANTERIOR THORACES - LUMBAR VERTEBRAL BODY REPLACEMENT 20 MM DIAMETER 150 MM LENGTH OR EQUIVALENT SPINAL | items (Pieces) | 154 | 3000014603
73 | 4232160521200 | MESH CAGE TITANIUM ANTERIOR THORACES - LUMBAR VERTEBRAL BODY REPLACEMENT 22 MM DIAMETER 130 MM LENGTH OR EQUIVALENT SPINAL | items (Pieces) | 57 | 3000014603
74 | 4232160521300 | MESH CAGE TITANIUM ANTERIOR THORACES - LUMBAR VERTEBRAL BODY REPLACEMENT 22 MM DIAMETER 150 MM LENGTH OR EQUIVALENT SPINAL | items (Pieces) | 58 | 3000014603
75 | 4232160521800 | MESH CAGE TITANIUM ANTERIOR THORACES - LUMBAR VERTEBRAL BODY REPLACEMENT 24 MM DIAMETER 150 MM LENGTH OR EQUIVALENT SPINAL | items (Pieces) | 174 | 3000014603
76 | 4232160653500 | MESH CAGE, LORDOTIC, TITANIUM VERTEBRAL BODY REPLACEMENT, ASSORTED SIZES AND DIAMETER AS REQUESTED BY END USER, SPINAL | EACH | 140 | 3000014603
77 | 4232160790700 | BONE SCALPEL DIAMOND SHAVER 4 MM WITH SILICONE SLEEVE DISPOSABLE SPINAL | items (Pieces) | 96 | 3000014603
78 | 4232160792700 | EXPANDABLE TITANIUM IMPLANT WITH TWO ENDPLATES FOR ANATOMICAL REDUCTION OF VERTEBRAL COMPRESSION FRACTURES MAXIMAL EXPANSION 12 MM ENDPLATES LENGTH 14 MM OR EQUIVALENT WITH BONE CEMENT KIT SPINAL | Kit | 434 | 3000014603
79 | 4232160792800 | EXPANDABLE TITANIUM IMPLANT WITH TWO ENDPLATES FOR ANATOMICAL REDUCTION OF VERTEBRAL COMPRESSION FRACTURES MAXIMAL EXPANSION 17 MM PLATE LENGTH 19 MM OR EQUIVALENT WITH BONE CEMENT KIT SPINAL | Kit | 468 | 3000014603
80 | 4232160792900 | EXPANDABLE TITANIUM IMPLANT WITH TWO ENDPLATES FOR ANATOMICAL REDUCTION OF VERTEBRAL COMPRESSION FRACTURES MAXIMAL EXPANSION 20 MM PLATE LENGTH 21 MM OR EQUIVALENT WITH BONE CEMENT KIT SPINAL | Kit | 396 | 3000014603
81 | 4229420518600 | INSTRUMENTATION COMPLETE SET FOR EXPANDABLE TITANIUM IMPLANT FOR COMPRESSION FRACTURE, SPINAL | SET | 106 | 3000014603
82 | 4232162201300 | INSTRUMENTATION SET COMPLETE AND NECESSARY STERILIZATION CASE (TRAY BOX AND LID) FOR TITANIUM ODONTOID ANTERIOR FIXATION (INCLUDES FLEXIBLE D RILL PIT AND SCREW DRIVER) SPINAL | SET | 34 | 3000014603
83 | 4232160766000 | SCREW PARTIALLY THREADED ODONTOID FIXATION SCREW 4 MM DIAMETER LENGTH ACCORDING TO END USER OR EQUIVALENT SPINAL | ST | 648 | 3000014603
84 | 4229553900200 | "ENDOSCOPIC VACUUM THERAPY SPONGE KIT, FOR LUMINAL DEFECT" | EA | 38 | 3000014603
85 | 4220170900100 | "INTERNAL ANAL SPHINCTER ELECTROMYOGRAPHY, DISPOSABLE" | EA | 50 | 3000014603
86 | 4229180253800 | BILIARY BIOPSY FORCEPS, STAINLESS STEEL SHEATH, DIMETER 2.1 MM OR LESS, LENGTH NOT LESS THAN 220 CM | EACH | 175 | 3000014603
87 | 4229180253700 | "BILIARY BIOPSY FORCEPS, WIRE GUIDED, ASSORTED SIZES" | EA | 244 | 3000014603
88 | 4229631300700 | "DISTAL CAP FOR DIAGNOSTIC SIDEVIEW DUODENOSCOPE, ASSORTED SIZES, COMPATIBLE WITH EACH HOSPITAL MACHINE, REUSABLE" | EACH | 100 | 3000014603
89 | 4229631300900 | "DISTAL CAP WITHOUT ELEVATOR, FOR DIAGNOSTIC SIDEVIEW DUODENOSCOPE, COMPATIBLE WITH EACH HOSPITAL MACHINE, SINGLE USE" | EACH | 24 | 3000014603
90 | 4229631301000 | "DISTAL CAP WITH ELEVATOR FOR DIAGNOSTIC SIDEVIEW DUODENOSCOPE, COMPATIBLE WITH EACH HOSPITAL MACHINE, SINGLE USE" | EACH | 200 | 3000014603
91 | 4228152107700 | "TUBE CONNECTOR, TO BE CONNECTED TO SUCTION GENERATOR, COMPATIBLE WITH EACH HOSPITAL MACHINE" | EA | 20 | 3000014603
92 | 4229546000200 | "VENTING CAP, ETHYLENE OXIDE (ETO) CHANNEL, FOR FLEXIBLE ENDOSCOPE, COMPATIBLE WITH EACH HOSPITAL MACHINE, REUSABLE" | EA | 100 | 3000014603
93 | 4228152105600 | PAPER- IMPACT PRINTER- LARGE WITH SPINDLE DSD/SSD MEDIVATOR RANGE OR EQUIVALENT | EA | 2000 | 3000014603
94 | 4228152105700 | PAPER- PRINTER IMPACT PRINTER- SMALL WITH SPINDLE DSD/SSD MEDIVATOR RANGE OR EQUIVALENT | EA | 1000 | 3000014603
95 | 4229640600600 | TUBE, FOR AUGMENTATION OF WATER JET FUNCTION FOR ESD/POEM, TO BE CONNECTED TO ELECTROSURGICAL KNIFE WITH INTEGRATED JET FUNCTION | ITEMS (PIECES) | 22 | 3000014603
96 | 4214253610400 | PARACENTESIS KIT (INCLUDING CATHETER, DRAINAGE BAG, ANTISEPTIC STICKS AND DRAPE), ASSORTED SIZES, ONE (1) EACH = ONE (1) KIT | EA | 50 | 3000014603
97 | 4229501701200 | CAPSULE ENDOSCOPY DELIVERY DEVICE (FOR DIRECT PLACEMENT OF VIDEO CAPSULE INTO THE STOMACH OR SMALL INTESTINE FOR PATIENT WITH DYSPHAGIA) | EA | 300 | 3000014603
98 | 4229490006500 | LABEL, ADHESIVE, WHITE ROLL, 1000 - 1200 LABELS PER ROLL (COMPATIBLE WITH HOSPITAL STANDARD) | EA | 10052 | 3000014603
99 | 4229631501000 | BIOPSY FORCEPS FOR ENTEROSCOPE , LENGTH NOT LESS THAN 300 CM, ASSORTED SIZES | EACH | 150 | 3000014603
100 | 4229633906100 | RUBBER TIPPED GRASPING FORCEPS, ,ASSORTED SIZES OF WORKING CHANNEL AND WORKING LENGTH, REUSABLE | EA | 148 | 3000014603
101 | 4229631500800 | SINGLE USE HOT BIOPSY FORCEPS FOR ENTEROSCOPE, ASSORTED SIZES OF WORKING CHANNEL AND ASSORTED SIZES OF LENGTH ( NOT LESS THAN 300 CM FOR ENTEROSCOPE) | EACH | 140 | 3000014603
102 | 4226200200000 | "COILS, VENOUS EMBOLIZATION, FOR GASTRIC VARICES THROUGH EUS, ASSORTED SIZE AND TYPE" | EA | 114 | 3000014603
103 | 4229494102300 | RADIOFREQUENCY ABLATION (RFA) CATHETER, RADIAL (CIRCUMFERENTIAL SELF ADJUSTABLE BALLOON), BALLOON LENGTH 8 CM AND ELECTRODE LENGTH 4 CM FOR BARRETT'S ESOPHAGUS, SET OF BALLOON CATHETER AND ELECTRODE | EA | 60 | 3000014603
104 | 4229491306500 | RADIOFREQUENCY ABLATION (RFA) CATHETER, RADIAL (CIRCUMFERENTIAL NON ADJUSTABLE BALLOON), BALLOON LENGTH 4 CM AND ASSORTED SIZES OF DIAMETER AND ELECTRODE LENGTH 3 CM FOR BARRETT'S ESOPHAGUS, SET OF BALLOON CATHETER AND ELECTRODE | EA | 12 | 3000014603
105 | 4110180400500 | RADIOFREQUENCY ABLATION (RFA) CATHETER, RECTANGULAR, THROUGH THE SCOPE (TTS) FOR BARRETT'S ESOPHAGUS | EA | 40 | 3000014603
106 | 4227150401600 | "NON WIRE GUIDED REUSABLE GRADUATED ESOPHAGEAL MECHANICAL DILATORS, TAPERED TIP, SET OF 10 DILATORS OR DIFFERENT SIZES ( ASSORTED SIZES FROM 6 MM TO 20 MM) FOR SELF DILATATION" | EA | 102 | 3000014603
107 | 4227150401700 | "NON WIRE GUIDED REUSABLE GRADUATED ESOPHAGEAL MECHANICAL DILATORS, BLUNT TIP, SET OF 10 DILATORS OR DIFFERENT SIZES ( ASSORTED SIZES FROM 6 MM TO 20 MM) FOR SELF DILATATION" | EA | 10 | 3000014603
108 | 4229494104300 | WIRE GUIDED REUSABLE GRADUATED MECHANICAL BILIARY DILATATOR FOR BILIARY AND PANCREATIC STRICTURE , ASSORTED SIZES AND DIAMETERS (INCLUDING 7 F AND 8.5F AND 10F) | EA | 144 | 3000014603
109 | 4227150401400 | THROUGH THE SCOPE (TTS) UNCOVERED SELF EXPANDING ESOPHAGEAL METALLIC STENT, ASSORTED SIZES AND DIAMETERS | EA | 148 | 3000014603
110 | 4229501701000 | "SWALLOWABLE GASTRIC BALLOON CAPSULE, GAS FILLED (NON DEGRADABLE, NEED ENDOSCOPY FOR REMOVAL)" | EA | 20 | 3000014603
111 | 4220170900000 | PH BUFFER PH1, FOR PH CATHETER AND CALIBRATION OF WIRELESS CAPSULE PH MONITORING | EA | 60 | 3000014603
112 | 4220170900200 | "EXTERNAL ANAL SPHINCTER ELECTROMYOGRAPHY, REUSABLE" | EACH | 20 | 3000014603
113 | 4225161700600 | VISCOUS SWALLOWING GEL FOR MANOMETRY | EA | 224 | 3000014603
114 | 4229490013000 | EUS CELIAC PLEXUS NEUROLYSIS FNA NEEDLE, DISTAL NEEDLE TIP WITH SIDE HOLES, ASSORTED SIZES | EA | 448 | 3000014603
115 | 4229501701600 | "ENDOSCOPIC ULTRASOUND GUIDED FINE NEEDLE, FIDUCIAL PLACEMENT SYSTEM, PRELOADED" | EA | 46 | 3000014603
116 | 4229501701700 | "ENDOSCOPIC ULTRASOUND GUIDED FINE NEEDLE, FIDUCIAL PLACEMENT SYSTEM, BACKLOADED" | EA | 10 | 3000014603
117 | 4229633901800 | BILIARY ISOLATED-TIP NEEDLE-KNIFE PAPILLOTOME WITH SEMI OVAL TIP FOR PRECUT PAPILLOTOMY AND ZENKER'S DIVERTICULUM DISSECTION 10MM CUTTING WIRE | EACH | 550 | 3000014603
118 | 4229494105000 | BILIARY GUIDEWIRE WITH HYDROPHILIC TIP , ASSORTED TYPES OF TIP (STRAIGHT AND ANGULATED), ASSORTED TYPES OF STIFFNESS (REGULAR/ STIFF), 0.018 INCH , SHORT WIRE (260 CM LENGTH) | EACH | 20 | 3000014603
119 | 4229631701400 | LASER FIBER FOR DIRECT VISUALIZATION SYSTEM OF CHOLANGIOSCOPE REUSABLE | EA | 88 | 3000014603
120 | 4229631701500 | LASER FIBER STRIP FOR DIRECT VISUALIZATION SYSTEM OF CHOLANGIOSCOPE REUSABLE | EA | 130 | 3000014603
121 | 4229633903000 | CERAMIC SCISSOR FOR LASER FIBER OF DIRECT VISUALIZATION SYSTEM OF CHOLANGIOSCOPE REUSABLE | EA | 23 | 3000014603
122 | 4214253607800 | CHEST DRAIN CATHETER SET, SELDINGER, ASSORTED SIZES | EA | 5 | 3000014603
123 | 4229633901200 | AIR/WATER VALVE FOR ENDOSCOPIC ULTRASOUND SCOPE (EUS), SINGLE USE | EACH | 2450 | 3000014603
124 | 4229633908200 | BALLOON APPLICATOR FOR LINEAR EUS SCOPE, REUSABLE | EACH | 33 | 3000014603
125 | 4229633908100 | BALLOON APPLICATOR FOR RADIAL EUS SCOPE REUSABLE | EACH | 26 | 3000014603
126 | 4227190906300 | "BIOPSY VALVE, FOR BRONCHOSCOPE, REUSABLE (IT SHOULD BE COMPATIBLE WITH HOSPITAL STANDARD)" | EA | 20 | 3000014603
127 | 4110180401500 | "SUCTION TUBE TO BE CONNECTED TO SUCTION PORT OF THE SCOPE, SINGLE USE" | EACH | 2000 | 3000014603
128 | 4618240700200 | CLEANING AND DECONTAMINATION WIPES FOR STERILIZATION OF MANOMETRY CATHETER (COMPLETE SYSTEM INCLUDING WIPES AND SOLUTION) | EA | 484 | 3000014603
129 | 4110180401800 | CLEANING BRUSH FOR SCOPE SUCTION/AIR WATER PORTS, REUSABLE, ASSORTED SIZES | EACH | 200 | 3000014603
130 | 4228202100500 | "COMPLETE SET OF CLEANING BRUSH (DOUBLE HEADER BRUSH FOR SUCTION/AIR WATER AND CHANNEL CLEANING BRUSH), REUSABLE" | EACH | 50 | 3000014603
131 | 4110180402100 | CLEANING BRUSH FOR AIR/WATER CHANNEL OF EUS SCOPE, REUSABLE | EACH | 20 | 3000014603
132 | 4229491307400 | "MINI CLEANING BRUSH FOR TINY CHANNEL OF BRONCHOSCOPE, BALLOON CHANNEL OF EUS SCOPE, AND DILATORS (SAVARY), CHANNEL DIAMETER 1 - 1.5 MM, REUSABLE" | EACH | 20 | 3000014603
133 | 4229501702200 | WATER FILTER FOR AUTOMATED ENDOSCOPE REPROCESSING | EACH | 100 | 3000014603
134 | 4229501702300 | FILTERS FOR AUTOMATED ENDOSCOPY PRE-CLEANING MACHINE | EACH | 100 | 3000014603
135 | 4228152104700 | FILTER- AIR-0.2 MICRON RATED MEDICAL GRADE | EA | 3 | 3000014603
136 | 4227164803400 | ADAPTER FUNCTIONAL RESIDUAL CAPACITY BARRETTE OR EQUIVALENT DISPOSABLE FOR PFT MACHINE COMPATIBLE WITH EASY ONE PRO OR EQUIVALENT | EA | 100 | 3000014603
137 | 4231151701100 | ADHESIVE LIQUID FOR MEDICAL USE 2/3 ML VIAL FOR ENDOTRACHEAL TUBE SECURING. ONE (1) EACH = ONE (1) VIAL | EA | 1109 | 3000014603
138 | 4227151502400 | ADULT NITRIC OXIDE DELIVERY AND SAMPLING COMPLETED KIT SHOULD BE COMPATIBLE WITH NOX-TEC FOR VENTILATOR OR EQUIVALENT | KIT | 1500 | 3000014603
139 | 4227151516300 | CALIBRATION SYRINGE 3.0 L VOLUME COMPATIBLE WITH HOSPITAL STANDARD PFT MACHINE MEDGRAPHIC-PLATINUM OR EQUIVALENT | EA | 20 | 3000014603
140 | 4227164603000 | CAPNOGRAPHY SENSOR SAMPLING LINE 2 M LONG FOR ALICE 6 AND 5 COMPATIBLE WIT LOFLO MODULE OR EQUIVALENT | EA | 508 | 3000014603
141 | 4227250056600 | CARBON DIOXIDE AIRWAY ADAPTER CO2 SAMPLE LINE PORT ADHESIVE DISPOSABLE | EA | 1300 | 3000014603
142 | 4227160012900 | CARDIAC CATHETER MIDLINE KIT PERIPHERALLY INSERTED SINGLE LUMEN 3.0 FR X 25CM WITH PEELABLE CANNULA | EA | 88 | 3000014603
143 | 4227160013000 | CARDIAC CATHETER MIDLINE KIT PERIPHERALLY INSERTED SINGLE LUMEN 5.0 FR X 25CM WITH PEELABLE CANNULA | EA | 88 | 3000014603
144 | 4227250008400 | CASSETTE FOR RAPID INFUSER WITH ONE LATCH QUICK LOADING CASSETTE AUTO ENGAGEMENT OF : 3 TEMPERATURE SENSORS 4 AIR SENSORS 3 PRESSURE SENSORS HIGHFLOW AIR COLLECTION AND AUTOMATED AIR REMOVAL SYSTEM HIGH EFFICIENCY CONDUCTIVE HEAT TRANSFER SYSTEM FLOW UP TO 1200 ML PER MINUTE AUTO PRIMING AND AIR PURGING DURING SETUP COMPATIBLE WITH THERMACORE 1200 OR EQUIVALENT | EA | 1194 | 3000014603
145 | 4227250034700 | CATHETER ARTERIAL SIZE 19 G X 10 CM SELDINGER TECHNIQUE GUIDEWIRE INTRODUCER NEEDLE STERILE | EA | 989 | 3000014603
146 | 4227250034800 | CATHETER ARTERIAL SIZE 19 G X 8 CM SELDINGER TECHNIQUE GUIDEWIRE INTRODUCER NEEDLE STERILE | EA | 1200 | 3000014603
147 | 4227151526200 | ELBOW ADAPTOR FOR VIBRATING MESH AEROSOL DRUG DELIVERY CHAMBER FOR AEROSOL MASK DISPOSABLE COMPATIBLE WITH AEROGEN SYSTEM OR EQUIVALENT | PC | 2404 | 3000014603
148 | 4227250004100 | EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OF RESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALED EPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETER INTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUER LOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TO HOLD CATHETER, DISPOSABLE, STERILE | EA | 15775 | 3000014603
149 | 4222170700100 | EPIDURAL YELLOW COLORED INFUSION SET COMPATIBLE WITH CADD SYSTEM OR EQUIVALENT | EA | 200 | 3000014603
150 | 4227151521000 | EXHALATION VALVE COMPATIBLE WITH VENTI LOGIC LS OR EQUIVALENT | PC | 204 | 3000014603
151 | 4227151519200 | FACE SHIELD TRANSPARENT WITH FILTER FOR CPR WITH INSTRUCTIONS PRINTED ON IT | EA | 88 | 3000014603
152 | 4227164602300 | FILTER CAPNOGRAPH COMPATIBLE WITH LIFESENSE - SLEEP STUDY MACHINE ALICE 6 AND 5 OR EQUIVALENT | EA | 100 | 3000014603
153 | 4227161600500 | FILTER DLCO DISPOSABLE COMPATIBLE WITH PFT MACHINE EASY ONE PRO OR EQUIVALENT | EA | 100 | 3000014603
154 | 4227151521200 | FINE FILTER COMPATIBLE WITH VENTI LOGIC LS OR EQUIVALENT | PC | 84 | 3000014603
155 | 4227161500100 | FLOW SENSOR FOR SCREEN PNEUMOTACH PEDIATRIC, COMPATIBLE WITH PFT MACHINE | EA | 12 | 3000014603
156 | 4227164803200 | JET VALVE VENTUS CANOPY COMPATIBLE WITH VENTUS CPX OR EQUIVALENT | EA | 12 | 3000014603
157 | 4227164602500 | JUMPER CABLE REFERENCE ELECTRODE COMPATIBLE WITH SLEEP STUDY MACHINE ALICE 6 AND 5 OR EQUIVALENT | EA | 100 | 3000014603
158 | 4227151519300 | MASK POCKET WITH ONEWAY VALVE FILTER | SET | 88 | 3000014603
159 | 4222151203500 | MEDICATION CASSETTE RESERVOIR COMPATIBLE WITH CADD SYSTEM OR EQUIVALENT | EA | 500 | 3000014603
160 | 4227164000400 | MOUTH PIECE BREATHING TUBE ERGONOMIC DISPOSABLE FOR INFECTION ISOLATION COMPATIBLE WITH NDD-EASYONE PRO OR EQUIVALENT | EA | 840 | 3000014603
161 | 4227151502900 | NEONATE NITRIC OXIDE DELIVERY AND SAMPLING COMPLETED KIT SHOULD BE COMPATIBLE WITH NOX-TEC FOR VENTILATOR OR EQUIVALENT | KIT | 1700 | 3000014603
162 | 4227150507400 | OPHTHALMIC BLOCKS NEEDLE, WITH PORT ONE FOR INJECTION SIZE: 24G X 30MM DISPOSABLE, STERILE | PC | 88 | 3000014603
163 | 4227150507500 | OPHTHALMIC BLOCKS NEEDLE, WITH PORT ONE FOR INJECTION SIZE: 24G X 40MM DISPOSABLE, STERILE | PC | 88 | 3000014603
164 | 4227250007700 | RAPID FLUID RESERVOIR 400ML COMPATIBLE WITH THERMACORE SYSTEM OR EQUIVALENT | EA | 169 | 3000014603
165 | 4227250028000 | SET BLOOD/FLUID WARMING HIGH FLOW SHOULD BE COMPATIBLE WITH LEVEL-1 SYSTEM OR EQUIVALENT | PC | 74 | 3000014603
166 | 4227250006800 | SILICONE ADAPTER OVAL SHAPE FOR VOLUME CALIBRATION COMPATIBLE WITH VYAIRE-JAEGER OR EQUIVALENT | EA | 24 | 3000014603
167 | 4227250040300 | SPINAL NEEDLE QUINCKE TYPE POINT DISPOSABLE STERILE 22G X 7 INCH | PC | 350 | 3000014603
168 | 4227250026000 | TUBE ENDOTRACHEAL SILICON SPECIALIST SOFT NASAL NORTH PROFILE CUFF HIGH VOLUME LOW PRESSURE ATRAUMATIC ROUNDED TIP CURVED TOWARDS THE FOREHEAD ATRAUMATIC MURPHY EYE DISPOSABLE STERILE LATEX FREE SIZE 5.0MM (ID) | PC | 960 | 3000014603
169 | 4227250026200 | TUBE ENDOTRACHEAL SILICON SPECIALIST SOFT NASAL NORTH PROFILE CUFF HIGH VOLUME LOW PRESSURE ATRAUMATIC ROUNDED TIP CURVED TOWARDS THE FOREHEAD ATRAUMATIC MURPHY EYE DISPOSABLE STERILE LATEX FREE SIZE 5.5MM (ID) | PC | 1000 | 3000014603
170 | 4227250027400 | TUBE ENDOTRACHEAL SILICON SPECIALIST SOFT NASAL NORTH PROFILE CUFF HIGH VOLUME LOW PRESSURE ATRAUMATIC ROUNDED TIP CURVED TOWARDS THE FOREHEAD ATRAUMATIC MURPHY EYE DISPOSABLE STERILE LATEX FREE SIZE 8.5MM (ID) | PC | 210 | 3000014603
171 | 4227250024900 | TUBE ENDOTRACHEAL SILICON SPECIALIST SOFT NASAL NORTH UNCUFFED ATRAUMATIC ROUNDED TIP CURVED TOWARDS THE FOREHEAD ATRAUMATIC MURPHY EYE DISPOSABLE STERILE LATEX FREE SIZE 6.0MM (ID) | PC | 120 | 3000014603
172 | 4227250025000 | TUBE ENDOTRACHEAL SILICON SPECIALIST SOFT NASAL NORTH UNCUFFED ATRAUMATIC ROUNDED TIP CURVED TOWARDS THE FOREHEAD ATRAUMATIC MURPHY EYE DISPOSABLE STERILE LATEX FREE SIZE 6.5MM (ID) | PC | 700 | 3000014603
173 | 4112170900200 | TUBE PLASTIC MICRO CAPILLARY FOR BLOOD GAS WITH HEPARINIZED 50-70 IU/ML 0.1 ML WITH CAP FOR BOTH END. | EA | 44590 | 3000014603
174 | 4227151521100 | VENTILATOR CIRCUIT 1.5M LONG 15MM Ø SIZE PEDIATRIC WITH EXPIRATION VALVE INCLUDES VALVE MEASUREMENT LINE PRESSURE MEASUREMENT LINE DISPOSABLE COMPATIBLE WITH VENTI LOGIC LS VENTILATOR OR EQUIVALENT | SET | 468 | 3000014603
175 | 4227151506200 | VENTILATOR CIRCUIT ADAPTER SET SIDE-STREAM ADULT/ PEDIATRIC FOR USE WITH INTUBATED PATIENT FOR CONTINUOUS CO2 MEASUREMENT SINGLE PATIENT USE UNIVERSAL COMPATIBILITY. | PC | 100 | 3000014603
176 | 4227151509800 | VENTILATOR CIRCUIT DOUBLE LUMEN PRESSURE LINE NON-HEATED WITH EXHALATION VALVE SIZE ADULT DISPOSABLE OXYGEN SENSOR ADAPTER COMPATIBLE WITH VENTI LOGIC LS OR EQUIVALENT | SET | 1764 | 3000014603
177 | 4227151509600 | VENTILATOR CIRCUIT SINGLE LUMEN NON-HEATED 1.8 M LONG SIZE NEONATE WITH EXHALATION VALVE AND LINE PRESSURE LINE DISPOSABLE COMPATIBLE WITH IMPACT EAGLE - ZOLL MACHINE OR EQUIVALENT | SET | 96 | 3000014603
178 | 4227151509500 | VENTILATOR CIRCUIT SINGLE LUMEN NON-HEATED MRI COMPATIBLE 3.6 M LONG SIZE ADULT/PEDIATRIC WITH EXHALATION VALVE AND LINE PRESSURE LINE DISPOSABLE COMPATIBLE WITH IMPACT EAGLE - ZOLL MACHINE OR EQUIVALENT | SET | 88 | 3000014603
179 | 4227151509700 | VENTILATOR CIRCUIT SINGLE LUMEN NON-HEATED MRI COMPATIBLE 3.6 M LONG SIZE NEONATE WITH EXHALATION VALVE AND LINE PRESSURE LINE DISPOSABLE COMPATIBLE WITH IMPACT EAGLE - ZOLL MACHINE OR EQUIVALENT | SET | 88 | 3000014603
180 | 4227151525500 | VENTILATOR CIRCUIT, DISPOSABLE OR SINGLE PATIENT USE, CIRCUIT WITHOUT PEEP, 15 MM PEDIATRIC SINGLE HEATED WIRE, FISHER & PAYKEL 1.7 M X 15 MM HEATED INSP LIMB, TEMP PROBE PORT, WYE AND 61 CM X 15 MM EXP LIMB WITH LTV VENTILATORS OR EQUIVALENT | SET | 88 | 3000014603
181 | 4227151525400 | VENTILATOR CIRCUIT, DISPOSABLE OR SINGLE PATIENT USE, WITHOUT PEEP, 22 MM ADULT, SINGLE HEATED WIRE, COMPATIBLE WITH FISHER & PAYKEL 1.7 M X 22 MM HEATED INSP LIMB, TEMP PROBE PORT, WYE AND 61 CM X 22 MM EXP LIMB, COMPATIBLE WITH LTV VENTILATORS OR EQUIVALENT | SET | 88 | 3000014603

## توزيع المناطق
Generic Mat Code | Plant | Delivery Address | Nedded QTY