## الطرح
SN | Item Code | Item Description | UOM | Nedded QTY | SRM Number
1 | 4227190336300 | NASOPHARYNGEAL AIRWAY LATEX FREE SILICON (ADJUSTABLE) WITH DISTAL - ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE DISPOSABLE SIZE 4.0MM (ID) | EA | 2345 | 3000014659
2 | 4227190337000 | NASOPHARYNGEAL AIRWAY LATEX FREE IVORY (ADJUSTABLE) WITH DISTAL - ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE DISPOSABLE SIZE 7.5MM (ID) | EA | 18224 | 3000014659
3 | 4227190337100 | NASOPHARYNGEAL AIRWAY LATEX FREE IVORY (ADJUSTABLE) WITH DISTAL - ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE DISPOSABLE SIZE 8.0MM (ID) | EA | 11392 | 3000014659
4 | 4227190337200 | NASOPHARYNGEAL AIRWAY LATEX FREE IVORY (ADJUSTABLE) WITH DISTAL - ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE DISPOSABLE SIZE 8.5MM (ID) | EA | 2242 | 3000014659
5 | 4227250003700 | EPIDURAL COMBINED SPINAL DISPOSABLE STERILE SET CONSIST OF:18G X 12-15 CM CSE TUOHY NEEDLE LOSS-OF RESISTANCE SYRINGE WELL SEALED NON LUER LOCK 20G CLEAR SCALED EPIDURAL CATHETER EASILY INSERTED NON KINKABLE ATRAUMATIC CATHETER INTRODUCER PIECE CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUER LOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TO HOLD CATHETER PAPER DRAPE EYE SHIELD TRANSPARENT ADHESIVE FENESTRATED DRAPE CSE SPINAL NEEDLE 26G X 165-170MM PENCIL POINT WITH INTERLOCK CONNECTION TO TUOHY NEEDLE | EA | 212 | 3000014659
6 | 4227250031200 | WATER TRAPS FOR USE WITH ANESTHESIA MACHINE FOR SAMPLING LINE SHOULD BE COMPATIBLE WITH MAQUET MACHINE OR EQUIVALENT | PC | 500 | 3000014659
7 | 4227221400300 | AIRWAY ACCESS ADAPTER TO BE USED WITH VENTILATION MACHINE AND SUCTION MACHINE Y-SHAPED SIZE NEONATES COMPATIBLE WITH NEONATE ETT TUB E DISPOSABLE STERILE. | EA | 1200 | 3000014659
8 | 4227250031700 | ADMIN SET BURETTE 60 DROPS/ML WITH INJECTION PORT 150 ML SAFETY DIAPHRAGM / VALVE TO PREVENT AIR ADMINISTRATION LENGTH SET NOT LESS THAN 150CM LUER LOCK TWO INJECTION PORT ONE BEFORE AND AFTER BURETTE ROLL FLOW CONTROL NEEDLE FREE COMPATIBLE WITH B. BRAUN SYSTEM OR EQUIVALENT | SET | 25000 | 3000014659
9 | 4227250032100 | I.V SET FOR INFUSION PUMP WITH TWO INJECTION PORT NEEDLE FREE LENGTH NOT LESS THAN 2M ROLLER CLAMP (SHOULD BE COMPATIBLE WITH PLUM 360 DEVICE OR EQUIVALENT ) | SET | 15000 | 3000014659
10 | 4227250032200 | I.V SET FOR INFUSION PUMP WITH TWO INJECTION PORT NEEDLE FREE LENGTH NOT LESS THAN 2M ROLLER CLAMP (SHOULD BE COMPATIBLE WITH B. BRAUN DEVICE OR EQUIVALENT ) | SET | 112500 | 3000014659
11 | 4227250032300 | SET FOR PCA PUMP (SHOULD BE COMPATIBLE WITH B.BRAUN SYSTEM OR EQUIVALENT ) | SET | 5182 | 3000014659
12 | 4218220900600 | PROBE TEMPERATURE TYMPANIC ADULT | EA | 800 | 3000014659
13 | 4227250033400 | PAPER CHART ECG (FOR USE CRASH CART COMPATIBLE WITH LIFEPAK 15 DEFIBRILLATOR RED GRID | ROL | 48150 | 3000014659
14 | 4227250046300 | INTRODUCER TRACHEAL TUBE PEDIATRIC (BOUGIE)ANGLED 10CH X 500-600MM | PC | 2990 | 3000014659
15 | 4218180400100 | PROBE SOFT LNCS MASIMO DBI FOR SLEEP STUDY MACHINE ADULT REUSABLE COMPATIBLE WITH ALICE 6 AND 5 OR EQUIVALENT | EA | 15 | 3000014659
16 | 4218160505700 | NIBP DURA CUFF CHILD 12-19CM 2 TUBE GREEN MATED SUBMIN COMPATIBLE WITH GE MACHINE OR EQUIVALENT REUSABLE | EA | 159 | 3000014659
17 | 4227222009300 | MACHINE DUST FILTER COMPATIBLE WITH PHILIPS VENTILATORS MODEL TRILOGY 100 AND 200 OR EQUIVALENT | EA | 88 | 3000014659
18 | 4217180000000 | NIBP CABLE 2 M LENGTH COMPATIBLE WITH TECHNO MAP MONITOR OR EQUIVALENT REUSABLE | EA | 88 | 3000014659
19 | 4214180300000 | NIBP NEONATAL MRI COMPATIBILITY 6 M COMPATIBLE WITH GE PATIENT MONITOR OR EQUIVALENT LATEX FREE REUSABLE | EA | 36 | 3000014659
20 | 4218160506500 | NIBP DURA CUFF TIGHT 2 TUBE BROWN MATED SUBMIN COMPATIBLE WITH GE MACHINE OR EQUIVALENT REUSABLE | EA | 140 | 3000014659
21 | 4227191522200 | TRACHEOSTOMY PERCUTANEOUS KIT (ONE STAGE DILATOR TRACHEOSTOMY TUBE WITH SUBGLOTTIC SUCTION TWO INNER CANNULA TRACHEOSTOMY HOLDER GUIDEWIRE WITH PROXIMAL AND DISTAL MARKING INTRODUCER CANNULA SPLIT GAUZE SAFETY SCALPEL CANNULA 10 CC SYRINGE) RADIOPAQUE MARKING STERILE SIZE 6.0MM (ID). | EA | 100 | 3000014659
22 | 4214161100500 | RESPIRATORY SETUP BAG TRANSPARENT PRINTED LABEL SPACE SIZE APPROXIMATELY 12 X 14 INCHES WITH DRAW STRING | EA | 198986 | 3000014659
23 | 4111197000200 | TEMPERATURE SENSOR SKIN 400 SERIES LATEX FREE DISPOSABLE | EA | 5974 | 3000014659
24 | 4227170504000 | CONNECTOR LUER LOCK FITTING MALE AND FEMALE WITH INTEGRAL PLUG | EA | 1800 | 3000014659
25 | 4227220905200 | VENTILATOR CIRCUIT KIT SIZE ADULT DUAL LIMB HEATED BOTH SIDES INSPIRATORY LIMB 1.8 M LONG EXTENSION TUBE 0.5 M LONG WITH MICROPORES LIMBS NO CONDENSATION TECHNOLOGY WITHOUT WATER TRAP WITH AUTOFILL HUMIDIFIER CHAMBER SINGLE USE INCLUDED BACTERIAL/VIRAL FILTER. | KIT | 5756 | 3000014659
26 | 4227151524900 | STANDARD MOUTH PIECE WITH FILTER FOR FENO MEASUREMENTS COMPATIBLE WITH MEDISOFT-FENO+ OR EQUIVALENT | PC | 88 | 3000014659
27 | 4227250062300 | PULSED AND RADIO FREQUENCY ABLATION STRAIGHT SHARP CANNULAE 20 GAUGE LENGTH 15 CM 10 MM TIP SPECIALIZED NEEDLE WITH ENHANCEMENT FOR ULTRASOUND VISUALIZATION. | EA | 88 | 3000014659
28 | 4227160004800 | "HIGH FLOW NASAL CANNULA, SIZES (PREMATURE) WITH CONNECTING ADAPTER, COMPATIBLE WITH AIRVO2 MACHINE OR EQUIVALENT" | EA | 2256 | 3000014659
29 | 4200000266300 | NASAL KIT PEDIATRIC RELATED TO ANALYZER FRACTIONAL EXHALED NITRIC OXIDE | KIT | 88 | 3000014659
30 | 4227151505500 | NASAL/ORAL CO2 CANNULA WITHOUT O2 CONNECTION, SET, USED IN HIGH HUMIDITY SETTING, SIZE ADULT, FOR CONTINUOUS MEASUREMENT, SINGLE PATIENT USE, COMPATIBLE WITH EACH HOSPITAL STANDARDS | PC | 209 | 3000014659
31 | 4231151304800 | NASAL GEL PAD, COVER NASAL BRIDGE, FOR BIPAP MASK, SIZE LARGE, WASHABLE, REUSABLE FOR THE SAME PATIENT. INDIVIDUAL PACK" | EA | 100 | 3000014659
32 | 4231151304900 | NASAL GEL PAD, COVER NASAL BRIDGE, FOR BIPAP MASK, SIZE MEDIUM, WASHABLE, REUSABLE FOR THE SAME PATIENT INDIVIDUAL PACK. | EA | 3000 | 3000014659
33 | 4231151305000 | NASAL GEL PAD, COVER NASAL BRIDGE, FOR BIPAP MASK, SIZE SMALL, WASHABLE, REUSABLE FOR THE SAME PATIENT INDIVIDUAL PACK. | EA | 2000 | 3000014659
34 | 4227222601300 | MDI CHAMBER FOR VENTILATOR CIRCUIT, SIZE ADULT, 22MM(ID) 22MM(OD) , DISPOSABLE. | EA | 100 | 3000014659
35 | 4110413700200 | BLOOD GAS SAMPLING ,MICRO CAPILLARY TUBING, HEPARINIZED, SINGLE USE, STERILE | EA | 92220 | 3000014659
36 | 4227222301800 | "CATHETER MULTI-ACCESS CATH NEONATAL PEDIATRIC 5FR, WITH 2.5 3.0 3.5MM CONNECTOR, LENGTH 30.5 CM, STERILE, DISPOSABLE, FOR MEDICATIO N DELIVERY., ONE (1) EACH = ONE (1) SET" | EA | 2120 | 3000014659
37 | 4227151524500 | WYE OXYGEN CONNECTOR , Y-SHAPED, 3 MM, PLASTIC, DISPOSABLE. | PC | 800 | 3000014659
38 | 4227150510900 | AIRWAY ADAPTER,SIZE ADULT, EXTENDABLE UP TO 7CM, 15MM(OD) 22MM(OD) DISPOSABLE. | PC | 4400 | 3000014659
39 | 4227150511000 | AIRWAY ADAPTER,SIZE PEDIATRIC, EXTENDABLE UP TO 5CM, 15MM(OD) 15MM(ID) DISPOSABLE. | PC | 4400 | 3000014659
40 | 4227150513200 | BIPAP VENTILATOR CIRCUIT, SINGLE LUMEN, HEATED WITH CABLE ADAPTOR, WITHOUT PORT, BOTH ENDS 22 MM, RUBBER SEALING, 1.8 M LONG, REUSABLE FOR SINGLE PATIENT USE,COMPATIBLE WITH BMC OR EQUIVALENT | SET | 88 | 3000014659
41 | 4227150513100 | BIPAP VENTILATOR CIRCUIT, SINGLE LUMEN, WITH PRESSURE LINE BUILD-IN, WITHOUT HEATING WIRES, WITHOUT PORT, BOTH ENDS 22 MM, RUBBER SEALING, 1.8 M LONG AND SLIM, REUSABLE FOR SINGLE PATIENT USE ,COMPATIBLE WITH HOFFRICHTER TREND II BILEVEL BIPAP MACHINE OR EQUIVALENT | SET | 88 | 3000014659
42 | 4227150512300 | ELBOW CONNECTOR 45°, ID 30 MM, REUSABLE, COMPATIBLE WITH VYAIRE-JAEGER OR EQUIVALENT | PC | 88 | 3000014659
43 | 4227150510700 | ENDOTRACHEAL TUBE HOLDER FOR NEONATE MID NASAL SEPTUM TO EAR CANAL UP TO 13CM,ACRYLIC ADHESIVE BOTH SIDES, ADJUSTABLE TUBE HIGHEST, DISPOSABLE, COLOR CODED SIZES. LATEX AND DEHP FREE, NON-WOVEN FABRIC, | PC | 2000 | 3000014659
44 | 4227150510000 | FENO KIT FOR ADULT, WITH MOUTH PIECE, FILTER, NITRIC OXIED SENSOR, COMPATIBLE WITH NIOX VERO OR EQUIVALENT | KIT | 88 | 3000014659
45 | 4227150506100 | GUIDE WIRE SPRING 0.018 (0.45MM) X (25CM) WITH STRAIGHT SOFT TIP ON ONE END J-TIP | PC | 4000 | 3000014659
46 | 4227150511700 | NEWBORN DOUBLE LUMEN BREATHING CIRCUIT MADE OF PVC DISPOSABLE COMPATIBLE WITH SIARETRON 1000 IPER HYPERBARIC OXYGEN CHAMBER VENTILATOR | PC | 100 | 3000014659
47 | 4227150511600 | PEDIATRIC DOUBLE LUMEN BREATHING CIRCUIT MADE OF PVC DISPOSABLE COMPATIBLE WITH SIARETRON 1000 IPER HYPERBARIC OXYGEN CHAMBER VENTILATOR | PC | 150 | 3000014659
48 | 4227150511200 | PILOT BALLON TUBE ASSEMBLY REPAIR KIT DISPOSABLE | PC | 1000 | 3000014659
49 | 4227150511900 | PLUG ADAPTER DUAL SHAPE,COMPATIBLE WITH PFT VYAIRE-JAEGER MACHINE OR EQUIVALENT | PC | 88 | 3000014659
50 | 4227150509600 | VENTILATOR CIRCUIT SET, DUAL LUMEN, NON-HEATED, WITH EXPIRATORY VALVE SIZE NEONATAL, PRESSURE LINE, LENGTH AT LEAST 2M TO 2, FOR MRI USE, COMPATIBLE WITH MVP VENTILATOR OR EQUIVALENT | PC | 88 | 3000014659