## قائمة الطرح
SN | Original Generic | Original Desc | UOM | Sum of Sum of Original Open Qty | SRM
1 | 4220341107000 | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 3200 | 3000014968
2 | 4227150501800 | "MDI ADAPTER FOR VENTILATOR CIRCUIT, STRAIGHT, DISPOSABLE, PORT TOWARDSPATIENT, 15 (OD), MACHINE SIDE 15 (ID)" | EA | 902 | 3000014968
3 | 4227160002300 | "BREATHING SYSTEM INFANT T-PIECE, 1.7M TO 1.8M LENGTH, WITH 0.5L OPENTAIL BAG, ONE (1) ITEM/PC = ONE (1) SET" | EA | 26 | 3000014968
4 | 4227160003300 | "FILTER HME AND (BACTERIAL/VIRAL), HIGH FILTRATION EFFICIENCY 99.999%,MECHANICAL, MACHINE SIDE 15MM (OD), PATIENT SIDE 15MM (ID),STRAIGHT,WITHCO2 PORT, NEONATE, DISPOSABLE." | EA | 504 | 3000014968
5 | 4227160003500 | CO2 SAMPLING LINE SINGLE USE LENGTH 2.3 M- 2.6 M | EA | 4810 | 3000014968
6 | 4227160004000 | "ADULT VOLUMETRIC EXERCISER 4000-5000 ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 984 | 3000014968
7 | 4227160004100 | "PEDIATRIC VOLUMETRIC EXERCISER 2500ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER WITH INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 156 | 3000014968
8 | 4227160004500 | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 28265 | 3000014968
9 | 4227160005600 | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 44150 | 3000014968
10 | 4227160006000 | "PNEUMOTHORAX KIT, 20 SIDE PORTS, 18 G X 20 CM NEEDLE, 9FR X 30 CM,DISPOSABLE, STERILE, ONE (1) ITEM/PC = ONE (1) KIT" | EA | 174 | 3000014968
11 | 4227160009200 | PAD DEFIBRILLATOR PRE -GELLED 4.5*4.5 INCH | EA | 150 | 3000014968
12 | 4227160009900 | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - DOUBLELUMEN PUR CATHETER, GUIDE WIRE(UNKINKABLE), NON LUER LOCK SYRINGE 5 ML,INTRODUCER NEEDLE SHORT BEVEL, INTRODUCER CANNULA, DILATOR, SECONDARYFIXATION DEVICE, SLIDING CLAMPS, SCAL P BLADE, SIZE: 7 FR, LENGTH 15-18CM, PEEL PACK, DISPOSABLE, STERILE" | EA | 121 | 3000014968
13 | 4227160010300 | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - TRIPLELUMEN PUR CATHETER. - GUIDE WIRE(UNKINKABLE) - NON LUER LOCK SY RANGE 5ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. -SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP B LADE. - SIZE: 7FR, LENGTH 20 CM, PEEL PACK, DISPOSABLE, STERILE" | EA | 433 | 3000014968
14 | 4227160010400 | CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - TRIPLELUMEN PUR CATHETER. - GUIDE WIRE (UNKINKABLE) - NON LUER LOCK SY RANGE 5ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. -SECONDARY FIXATION DEVICE. -SLIDING CLAMPS, SIZE: 7 FR, LENGTH 30 CM,PEEL PACK, DISPOSABLE, STERILE | EA | 126 | 3000014968
15 | 4227160010700 | "CATHETER CENTRAL VENOUS COMPLETE KIT, CONTAINS: DOUBLE LUMEN CATHETER 4FR X 8CM - GUIDE WIRE (UNKINKABLE) NOT LESS THAN 40CM WITH SOFT TIP ANDEND J- TIP, EXTENSION LINE CLAMPS, FENESTRATED DRAPE ADHESIVE NOT LESSTHAN 40*60 CM WITH 7-10CM FENESTRATION- CATHETE R CONTAIN CLAMP- SCALPELNUMBER 11, NOT LESS THAN FOUR GAUZE 4X4, NOT LESS THAN TWO 2X2, SUTUREBRAIDED SILK WITH STRAIGHT NEEDL E, TISSUE DILATOR, INJECTION NEEDLE25G, SYRINGE 3ML LUER LOCK, SYRINGE 5ML LUER SLIP, INTRODUCER NEEDLE 21GA, CATHETER 22 GA X NOT LESS THAN 4.0CM RADIOPAQUE WITH INTRODUCERNEEDLE WITH 5 ML LUER-SLIP SYRINGE, DISPOSABLE, STERILE, ONE (1) SET =ONE (1) KIT" | EA | 26 | 3000014968
16 | 4227160011200 | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 2055 | 3000014968
17 | 4227160011300 | "PERCUTANEOUS SHEATH INTRODUCER SET, WITH NEEDLE, GUIDEWIRE, GAUZE ANDDRAPE WITH DISINFECTED (FOR SWAN GANZ), LENGTH 11CM, DISPOSABLE,STERILE, SIZE 6.0FR" | EA | 127 | 3000014968
18 | 4227160011500 | CATHETER ARTERIAL SIZE, 19GX10CM, SELDINGER TECHNIQUE, GUIDEWIRE,INTRODUCER NEEDLE, STERILE | EA | 674 | 3000014968
19 | 4227160011700 | "CATHETER, ARTERIAL, POLYETHYLENE INDWELLING CATHETER 20G, 5CM LONG,LATEX-FREE, PVC-FREE, DEHP-FREE WITH WINGED RED HUB FOR SECURE FIXATIONAND EASY IDENTIFICATION WITH 7 CM INTEGRATED EXTENSION LINE ANDREMOVABLE SLIDE CLAMP, 35CM X 0.50-0.55MM SPRING-WIRE GUIDE WITH EXITMARKING AND SOFT TIP ENDS FOR PLACEMENT USING SELDINGER TECHNIQUE,INTRODUCER 20 G NEEDLE, (1MM X 4 CM), RADIAL, DISPOSABLE, STERILE" | ST | 36 | 3000014968
20 | 4227160011800 | "CATHETER, ARTERIAL, POLYETHYLENE INDWELLING CATHETER 22G, 5CM LONG,LATEX-FREE, PVC-FREE, DEHP-FREE WITH WINGED RED HUB FOR SECURE FI XATIONAND EASY IDENTIFICATION WITH 7 CM INTEGRATED EXTENSION LINE ANDREMOVABLE SLIDE CLAMP, 35CM X 0.50-0.55MM SPRING-WIRE GUIDE WITH EXITMARKING AND SOFT TIP ENDS FOR PLACEMENT USING SELDINGER TECHNIQUE,INTRODUCER 22 G NEEDLE, (1MM X 4 CM), RADIAL, DISPOSABLE, STERILE" | EA | 1780 | 3000014968
21 | 4227160013600 | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | EA | 1203 | 3000014968
22 | 4227190322400 | HOLDER ENDOTRACHEAL TUBE SET, WITH PLASTIC TUBE GRIP, HOOKUP LOOP STRAPVELCRO ADJUSTABLE, FOR 6.0 ETT AND ABOVE. | EA | 250 | 3000014968
23 | 4227190325900 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.0MM ( ID)" | EA | 12 | 3000014968
24 | 4227190326000 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.5MM ( ID)" | EA | 274 | 3000014968
25 | 4227190326100 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 4.0MM ( ID)" | EA | 266 | 3000014968
26 | 4227190326200 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 4.5MM ( ID)" | EA | 10 | 3000014968
27 | 4227190336800 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 6.5MM (ID)" | EA | 290 | 3000014968
28 | 4227190336900 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 1540 | 3000014968
29 | 4227190337000 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.5MM (ID)" | EA | 120 | 3000014968
30 | 4227190337100 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 1338 | 3000014968
31 | 4227190503800 | "TUBE ENDO-BRONCHIAL BLOCKER, Y BIFURCATION, DOUBLE BALLOON, MULTIPORTADAPTOR ALLOW VENTILATION, BRONCHOSCOPY AND THE BLOCKER SIMULTANEOUSLYFOR USE IN THORACIC SURGERY, ADULT, DISPOSABLE, STERILE" | EA | 149 | 3000014968
32 | 4227190504000 | "BLOOD GAS SAMPLING KIT, 1ML SYRINGE, LUER SLIP TIP, WITH NEEDLE SIZE23G, 2.5 CM LENGTH, HEPARINIZED 20 -35 IU/ML, SAFETY NEEDLE CA P, WITHBUBBLE REMOVER, STERILE, DISPOSABLE., ONE (1) ITEM/PC = ONE (1) KIT" | EA | 29768 | 3000014968
33 | 4227191522300 | "TRACHEOSTOMY PERCUTANEOUS KIT (ONE STAGE DILATOR, TRACHEOSTOMY TUBEWITH SUBGLOTTIC SUCTION, TWO INNER CANNULA, TRACHEOSTOMY HOLDER,GUIDEWIRE WITH PROXIMAL AND DISTAL MARKING, INTRODUCER CANNULA, SPLITGAUZE, SAFETY SCALPEL, CANNULA, 10 CC SYRINGE), RADIOPAQUE MARKING,STERILE SIZE 7.0MM (ID)." | EA | 237 | 3000014968
34 | 4227191530000 | "MASK FULL FACE ADULT SILICONE/GEL, VENTED, SIZE LARGE WITH STRAP ANDSWIVEL, ADJUSTABLE SILICON PADDED FOREHEAD SUPPORT, DISPOSABLE FORCPAP/BIPAP MACHINE., ONE (1) ITEM/PC = ONE (1) SET" | EA | 2710 | 3000014968
35 | 4227191530400 | MASK NASAL ADULT SILICONE/GEL, FOAM VENTED SMALL WITH STRAP AND SWIVEL DISPOSABLE FOR CPAP/BIPAP MACHINE | EA | 59 | 3000014968
36 | 4227191531200 | "FACE MASK RESUSCITATION, ROUND SILICONE SIZE DIAMETER 80MM, DISPOSABLE" | EA | 66 | 3000014968
37 | 4227191531300 | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 23340 | 3000014968
38 | 4227191532200 | MASK NASAL PEDIATRIC (SILICONE/GEL), VENTED, SIZE SMALL WITH STRAP ANDSWIVEL, ADJUSTABLE FOREHEAD SUPPORT, ADJUSTABLE MOLD DISPOSABLE FORCPAP/BIPAP MACHINE. | EA | 17 | 3000014968
39 | 4227191535500 | "CUFF INFLATOR / PRESSURE GAUGE FOR ENDOTRACHEAL- TRACHEOSTOMY MEASURINGCUFF PRESSURE, REUSABLE" | EA | 84 | 3000014968
40 | 4227191535600 | "TRACHEOSTOMY TUBE HOLDER, ONE PIECE, VELCRO SECURING, SOFT PADDED FOAMCOVERED WITH FABRIC, ADULT/PEDIATRIC SIZE, 1.5 INCH WIDE, FITS NECK FROM18INCH TO 22 INCH , DISPOSABLE, NON-STERILE." | EA | 2240 | 3000014968
41 | 4227250003200 | "SPINAL NEEDLE WHITACRE PENCIL POINT WITH INTRODUCER 22G X 3.5""" | EA | 350 | 3000014968
42 | 4227250003800 | "EPIDURAL SET G16 FOR ADULT : 16G X 12-15 CM TUOHY NEEDLE, LOSS-OFRESISTANCE SYRINGE, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL, CATHETER LABEL0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, PAPER DRAPE EYE SHIELD, TRANSPARENT ADHESIVE, FENESTRATEDDRAPE, DISPOSABLE, STERILE" | EA | 10 | 3000014968
43 | 4227250004100 | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 1656 | 3000014968
44 | 4227250005300 | "AIR PRESSURE BAG FOR INVASIVE MONITOR, WITH MANOMETER, REUSABLE, 500ML" | EA | 478 | 3000014968
45 | 4227250008200 | HME FILTER FOR TRACHED PATIENTS, FOR ADULT,TIDAL VOLUME RANGE WITH O2AND SUCTION PORT, IN BLISTER PACK STERILE, DISPOSABLE | EA | 290 | 3000014968

## توزيع المناطق
Original Pur group name | Original Tender desc | Original Tender no | Original Generic | Original Delivery Address | Original Desc | UOM | Sum of Original Open Qty
MOH | تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Riiyadh Cluster 1 | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 325
MOH | تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Riiyadh Cluster 2 | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 30
MOH | تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Riiyadh Cluster 3 | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 195
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Ahsa | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 236
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Dammam | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 150
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Jeddah | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 1836
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 363
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Makkah | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 210
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Najran | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 129
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - PMAH | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 98
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Qassim | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 163
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Qonfodah | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 1
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Riiyadh Cluster 2 | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 8
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4220341107000 | MOH - Riiyadh Cluster 3 | CATHETER, ARTERIAL, THIN WALL, 8 - 10 CM LENGTH, 20 G NEEDLE, SHORTBEVEL, 25 CM GUIDEWIRE, DISPOSABLE, STERILE | EA | 6
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227150501800 | MOH - Ahsa | "MDI ADAPTER FOR VENTILATOR CIRCUIT, STRAIGHT, DISPOSABLE, PORT TOWARDSPATIENT, 15 (OD), MACHINE SIDE 15 (ID)" | EA | 94
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227150501800 | MOH - Ahsa | "MDI ADAPTER FOR VENTILATOR CIRCUIT, STRAIGHT, DISPOSABLE, PORT TOWARDSPATIENT, 15 (OD), MACHINE SIDE 15 (ID)" | EA | 73
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227150501800 | MOH - Dammam | "MDI ADAPTER FOR VENTILATOR CIRCUIT, STRAIGHT, DISPOSABLE, PORT TOWARDSPATIENT, 15 (OD), MACHINE SIDE 15 (ID)" | EA | 596
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227150501800 | MOH - KSMC | "MDI ADAPTER FOR VENTILATOR CIRCUIT, STRAIGHT, DISPOSABLE, PORT TOWARDSPATIENT, 15 (OD), MACHINE SIDE 15 (ID)" | EA | 60
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227150501800 | MOH - Makkah | "MDI ADAPTER FOR VENTILATOR CIRCUIT, STRAIGHT, DISPOSABLE, PORT TOWARDSPATIENT, 15 (OD), MACHINE SIDE 15 (ID)" | EA | 19
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227150501800 | MOH - Makkah | "MDI ADAPTER FOR VENTILATOR CIRCUIT, STRAIGHT, DISPOSABLE, PORT TOWARDSPATIENT, 15 (OD), MACHINE SIDE 15 (ID)" | EA | 60
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160002300 | MOH - Ahsa | "BREATHING SYSTEM INFANT T-PIECE, 1.7M TO 1.8M LENGTH, WITH 0.5L OPENTAIL BAG, ONE (1) ITEM/PC = ONE (1) SET" | EA | 26
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160003300 | MOH - Dammam | "FILTER HME AND (BACTERIAL/VIRAL), HIGH FILTRATION EFFICIENCY 99.999%,MECHANICAL, MACHINE SIDE 15MM (OD), PATIENT SIDE 15MM (ID),STRAIGHT,WITHCO2 PORT, NEONATE, DISPOSABLE." | EA | 261
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160003300 | MOH - Makkah | "FILTER HME AND (BACTERIAL/VIRAL), HIGH FILTRATION EFFICIENCY 99.999%,MECHANICAL, MACHINE SIDE 15MM (OD), PATIENT SIDE 15MM (ID),STRAIGHT,WITHCO2 PORT, NEONATE, DISPOSABLE." | EA | 243
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160003500 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | CO2 SAMPLING LINE SINGLE USE LENGTH 2.3 M- 2.6 M | EA | 400
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160003500 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | CO2 SAMPLING LINE SINGLE USE LENGTH 2.3 M- 2.6 M | EA | 1200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160003500 | MOH - Jeddah | CO2 SAMPLING LINE SINGLE USE LENGTH 2.3 M- 2.6 M | EA | 2000
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160003500 | MOH - Makkah | CO2 SAMPLING LINE SINGLE USE LENGTH 2.3 M- 2.6 M | EA | 1210
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004000 |  | "ADULT VOLUMETRIC EXERCISER 4000-5000 ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 428
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004000 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | "ADULT VOLUMETRIC EXERCISER 4000-5000 ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 164
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004000 | MOH - Riiyadh Cluster 1 | "ADULT VOLUMETRIC EXERCISER 4000-5000 ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 208
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004000 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "ADULT VOLUMETRIC EXERCISER 4000-5000 ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 184
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004100 | MOH - Baha | "PEDIATRIC VOLUMETRIC EXERCISER 2500ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER WITH INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 8
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | "PEDIATRIC VOLUMETRIC EXERCISER 2500ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER WITH INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 64
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004100 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "PEDIATRIC VOLUMETRIC EXERCISER 2500ML VOLUME MEASUREMENT ADVANCEDLOW-WORK-OF-BREATHING FILTER WITH INDICATOR FOR VISUALIZATION OF DAILYIMPROVEMENT, MOUTH PIECE WITH 6 INCH EXTENDABLE TUBE, SINGLE-PATIENTUSE, PATIENT LABEL." | EA | 84
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 |  | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 3984
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Ahsa | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 48
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Dammam | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 1284
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Dammam | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 1294
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Jeddah | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 3402
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 4140
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - KSMC | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 780
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Makkah | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 588
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Makkah | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 3372
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Qassim | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 1782
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Qonfodah | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 258
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Riiyadh Cluster 1 | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 2290
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Riiyadh Cluster 1 | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 2295
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Riiyadh Cluster 2 | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 916
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Riiyadh Cluster 2 | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 922
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 720
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160004500 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "PRE-FILLED DISTILLED WATER 500ML TO 550 ML BUBBLE HUMIDIFIER WITHPRESSURE RELIEF VALVE, O2 OUTLET ADAPTER, DISPOSABLE" | EA | 190
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 |  | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 4800
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Ahsa | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 600
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 11200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Baha | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 1200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Dammam | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 9300
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Jeddah | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 2400
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 2200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 100
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - KSMC | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 2200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Makkah | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 2400
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Najran | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 600
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - North boarders Health Direct.المديريةالعامة للشؤون الصحية الحدود | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 2000
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - PMAH | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 1600
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160005600 | MOH - Qassim | "CATHETER MOUNT, EXTENDABLE 15 CM, 22 OD /15 ID SWIVEL ELBOW WITH DOUBLEFLIP CAP AND SEAL, DISPOSABLE" | EA | 2800
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160006000 |  | "PNEUMOTHORAX KIT, 20 SIDE PORTS, 18 G X 20 CM NEEDLE, 9FR X 30 CM,DISPOSABLE, STERILE, ONE (1) ITEM/PC = ONE (1) KIT" | EA | 58
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160006000 | MOH - Ahsa | "PNEUMOTHORAX KIT, 20 SIDE PORTS, 18 G X 20 CM NEEDLE, 9FR X 30 CM,DISPOSABLE, STERILE, ONE (1) ITEM/PC = ONE (1) KIT" | EA | 30
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160006000 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | "PNEUMOTHORAX KIT, 20 SIDE PORTS, 18 G X 20 CM NEEDLE, 9FR X 30 CM,DISPOSABLE, STERILE, ONE (1) ITEM/PC = ONE (1) KIT" | EA | 5
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160006000 | MOH - Dammam | "PNEUMOTHORAX KIT, 20 SIDE PORTS, 18 G X 20 CM NEEDLE, 9FR X 30 CM,DISPOSABLE, STERILE, ONE (1) ITEM/PC = ONE (1) KIT" | EA | 24
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160006000 | MOH - Makkah | "PNEUMOTHORAX KIT, 20 SIDE PORTS, 18 G X 20 CM NEEDLE, 9FR X 30 CM,DISPOSABLE, STERILE, ONE (1) ITEM/PC = ONE (1) KIT" | EA | 28
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160006000 | MOH - Qonfodah | "PNEUMOTHORAX KIT, 20 SIDE PORTS, 18 G X 20 CM NEEDLE, 9FR X 30 CM,DISPOSABLE, STERILE, ONE (1) ITEM/PC = ONE (1) KIT" | EA | 29
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160009200 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | PAD DEFIBRILLATOR PRE -GELLED 4.5*4.5 INCH | EA | 90
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160009200 | MOH - Makkah | PAD DEFIBRILLATOR PRE -GELLED 4.5*4.5 INCH | EA | 60
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160009900 | MOH - Riiyadh Cluster 1 | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - DOUBLELUMEN PUR CATHETER, GUIDE WIRE(UNKINKABLE), NON LUER LOCK SYRINGE 5 ML,INTRODUCER NEEDLE SHORT BEVEL, INTRODUCER CANNULA, DILATOR, SECONDARYFIXATION DEVICE, SLIDING CLAMPS, SCAL P BLADE, SIZE: 7 FR, LENGTH 15-18CM, PEEL PACK, DISPOSABLE, STERILE" | EA | 76
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160009900 | MOH - Riiyadh Cluster 3 | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - DOUBLELUMEN PUR CATHETER, GUIDE WIRE(UNKINKABLE), NON LUER LOCK SYRINGE 5 ML,INTRODUCER NEEDLE SHORT BEVEL, INTRODUCER CANNULA, DILATOR, SECONDARYFIXATION DEVICE, SLIDING CLAMPS, SCAL P BLADE, SIZE: 7 FR, LENGTH 15-18CM, PEEL PACK, DISPOSABLE, STERILE" | EA | 45
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160010300 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - TRIPLELUMEN PUR CATHETER. - GUIDE WIRE(UNKINKABLE) - NON LUER LOCK SY RANGE 5ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. -SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP B LADE. - SIZE: 7FR, LENGTH 20 CM, PEEL PACK, DISPOSABLE, STERILE" | EA | 201
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160010300 | MOH - Dammam | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - TRIPLELUMEN PUR CATHETER. - GUIDE WIRE(UNKINKABLE) - NON LUER LOCK SY RANGE 5ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. -SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP B LADE. - SIZE: 7FR, LENGTH 20 CM, PEEL PACK, DISPOSABLE, STERILE" | EA | 160
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160010300 | MOH - Riiyadh Cluster 3 | "CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - TRIPLELUMEN PUR CATHETER. - GUIDE WIRE(UNKINKABLE) - NON LUER LOCK SY RANGE 5ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. -SECONDARY FIXATION DEVICE. -SLIDING CLAMPS. - SCALP B LADE. - SIZE: 7FR, LENGTH 20 CM, PEEL PACK, DISPOSABLE, STERILE" | EA | 72
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160010400 | MOH - Qonfodah | CATHETER CENTRAL VENOUS COMPLETE SET, RADIOPAQUE, CONTAINS: - TRIPLELUMEN PUR CATHETER. - GUIDE WIRE (UNKINKABLE) - NON LUER LOCK SY RANGE 5ML - INTRODUCER NEEDLE SHORT BEVEL. - INTRODUCER CANNULA. - DILATOR. -SECONDARY FIXATION DEVICE. -SLIDING CLAMPS, SIZE: 7 FR, LENGTH 30 CM,PEEL PACK, DISPOSABLE, STERILE | EA | 126
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160010700 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "CATHETER CENTRAL VENOUS COMPLETE KIT, CONTAINS: DOUBLE LUMEN CATHETER 4FR X 8CM - GUIDE WIRE (UNKINKABLE) NOT LESS THAN 40CM WITH SOFT TIP ANDEND J- TIP, EXTENSION LINE CLAMPS, FENESTRATED DRAPE ADHESIVE NOT LESSTHAN 40*60 CM WITH 7-10CM FENESTRATION- CATHETE R CONTAIN CLAMP- SCALPELNUMBER 11, NOT LESS THAN FOUR GAUZE 4X4, NOT LESS THAN TWO 2X2, SUTUREBRAIDED SILK WITH STRAIGHT NEEDL E, TISSUE DILATOR, INJECTION NEEDLE25G, SYRINGE 3ML LUER LOCK, SYRINGE 5ML LUER SLIP, INTRODUCER NEEDLE 21GA, CATHETER 22 GA X NOT LESS THAN 4.0CM RADIOPAQUE WITH INTRODUCERNEEDLE WITH 5 ML LUER-SLIP SYRINGE, DISPOSABLE, STERILE, ONE (1) SET =ONE (1) KIT" | EA | 26
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 |  | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 20
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 |  | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 55
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Ahsa | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Ahsa | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 155
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 60
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 150
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Jezan Health Directorateالمديريةالعامة للشؤون الصحية جازان | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 90
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 518
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 306
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - KSMC | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 110
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - KSMC | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 125
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Makkah | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 10
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Makkah | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 26
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Najran | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 130
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - PMAH | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 13
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Qassim | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 11
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Qassim | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 75
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011200 | MOH - Qonfodah | "CATHETER, PULMONARY ARTERY (SWAN GANZ), BALLOON TIPPED FLOATING, FOUROR FIVE LUMEN, WITH THERMO DILUTION CARDIAC OUTPUT THERMISTOR, LENGTH110 CM, DISPOSABLE, LATEX FREE, STERILE, SIZE 7.0FR" | EA | 1
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011300 |  | "PERCUTANEOUS SHEATH INTRODUCER SET, WITH NEEDLE, GUIDEWIRE, GAUZE ANDDRAPE WITH DISINFECTED (FOR SWAN GANZ), LENGTH 11CM, DISPOSABLE,STERILE, SIZE 6.0FR" | EA | 15
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011300 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | "PERCUTANEOUS SHEATH INTRODUCER SET, WITH NEEDLE, GUIDEWIRE, GAUZE ANDDRAPE WITH DISINFECTED (FOR SWAN GANZ), LENGTH 11CM, DISPOSABLE,STERILE, SIZE 6.0FR" | EA | 10
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011300 | MOH - Jeddah | "PERCUTANEOUS SHEATH INTRODUCER SET, WITH NEEDLE, GUIDEWIRE, GAUZE ANDDRAPE WITH DISINFECTED (FOR SWAN GANZ), LENGTH 11CM, DISPOSABLE,STERILE, SIZE 6.0FR" | EA | 22
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011300 | MOH - Qassim | "PERCUTANEOUS SHEATH INTRODUCER SET, WITH NEEDLE, GUIDEWIRE, GAUZE ANDDRAPE WITH DISINFECTED (FOR SWAN GANZ), LENGTH 11CM, DISPOSABLE,STERILE, SIZE 6.0FR" | EA | 80
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011500 |  | CATHETER ARTERIAL SIZE, 19GX10CM, SELDINGER TECHNIQUE, GUIDEWIRE,INTRODUCER NEEDLE, STERILE | EA | 500
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011500 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | CATHETER ARTERIAL SIZE, 19GX10CM, SELDINGER TECHNIQUE, GUIDEWIRE,INTRODUCER NEEDLE, STERILE | EA | 56
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011500 | MOH - KSMC | CATHETER ARTERIAL SIZE, 19GX10CM, SELDINGER TECHNIQUE, GUIDEWIRE,INTRODUCER NEEDLE, STERILE | EA | 105
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011500 | MOH - Qonfodah | CATHETER ARTERIAL SIZE, 19GX10CM, SELDINGER TECHNIQUE, GUIDEWIRE,INTRODUCER NEEDLE, STERILE | EA | 13
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011700 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | "CATHETER, ARTERIAL, POLYETHYLENE INDWELLING CATHETER 20G, 5CM LONG,LATEX-FREE, PVC-FREE, DEHP-FREE WITH WINGED RED HUB FOR SECURE FIXATIONAND EASY IDENTIFICATION WITH 7 CM INTEGRATED EXTENSION LINE ANDREMOVABLE SLIDE CLAMP, 35CM X 0.50-0.55MM SPRING-WIRE GUIDE WITH EXITMARKING AND SOFT TIP ENDS FOR PLACEMENT USING SELDINGER TECHNIQUE,INTRODUCER 20 G NEEDLE, (1MM X 4 CM), RADIAL, DISPOSABLE, STERILE" | ST | 30
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011700 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | "CATHETER, ARTERIAL, POLYETHYLENE INDWELLING CATHETER 20G, 5CM LONG,LATEX-FREE, PVC-FREE, DEHP-FREE WITH WINGED RED HUB FOR SECURE FIXATIONAND EASY IDENTIFICATION WITH 7 CM INTEGRATED EXTENSION LINE ANDREMOVABLE SLIDE CLAMP, 35CM X 0.50-0.55MM SPRING-WIRE GUIDE WITH EXITMARKING AND SOFT TIP ENDS FOR PLACEMENT USING SELDINGER TECHNIQUE,INTRODUCER 20 G NEEDLE, (1MM X 4 CM), RADIAL, DISPOSABLE, STERILE" | ST | 4
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011700 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "CATHETER, ARTERIAL, POLYETHYLENE INDWELLING CATHETER 20G, 5CM LONG,LATEX-FREE, PVC-FREE, DEHP-FREE WITH WINGED RED HUB FOR SECURE FIXATIONAND EASY IDENTIFICATION WITH 7 CM INTEGRATED EXTENSION LINE ANDREMOVABLE SLIDE CLAMP, 35CM X 0.50-0.55MM SPRING-WIRE GUIDE WITH EXITMARKING AND SOFT TIP ENDS FOR PLACEMENT USING SELDINGER TECHNIQUE,INTRODUCER 20 G NEEDLE, (1MM X 4 CM), RADIAL, DISPOSABLE, STERILE" | ST | 2
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160011800 | MOH - KSMC | "CATHETER, ARTERIAL, POLYETHYLENE INDWELLING CATHETER 22G, 5CM LONG,LATEX-FREE, PVC-FREE, DEHP-FREE WITH WINGED RED HUB FOR SECURE FI XATIONAND EASY IDENTIFICATION WITH 7 CM INTEGRATED EXTENSION LINE ANDREMOVABLE SLIDE CLAMP, 35CM X 0.50-0.55MM SPRING-WIRE GUIDE WITH EXITMARKING AND SOFT TIP ENDS FOR PLACEMENT USING SELDINGER TECHNIQUE,INTRODUCER 22 G NEEDLE, (1MM X 4 CM), RADIAL, DISPOSABLE, STERILE" | EA | 1780
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160013600 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | EA | 270
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160013600 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | EA | 260
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160013600 | MOH - Riiyadh Cluster 1 | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | EA | 171
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160013600 | MOH - Riiyadh Cluster 1 | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | EA | 342
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227160013600 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "CLOSE SUCTION SYSTEM, MINIMUM 72 HRS, STERILE, DISPOSABLE, 12 FR,GRADUATED, COLOR CODED, TRANSPARENT ELASTIC SHEATH, MDI ADAPTER F ORETT., ONE (1) ITEM/PC = ONE (1) SET" | EA | 160
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190322400 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | HOLDER ENDOTRACHEAL TUBE SET, WITH PLASTIC TUBE GRIP, HOOKUP LOOP STRAPVELCRO ADJUSTABLE, FOR 6.0 ETT AND ABOVE. | EA | 200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190322400 | MOH - Riiyadh Cluster 2 | HOLDER ENDOTRACHEAL TUBE SET, WITH PLASTIC TUBE GRIP, HOOKUP LOOP STRAPVELCRO ADJUSTABLE, FOR 6.0 ETT AND ABOVE. | EA | 50
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190325900 | MOH - Makkah | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.0MM ( ID)" | EA | 12
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190326000 | MOH - KSMC | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.5MM ( ID)" | EA | 202
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190326000 | MOH - Riiyadh Cluster 2 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.5MM ( ID)" | EA | 38
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190326000 | MOH - Riiyadh Cluster 3 | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 3.5MM ( ID)" | EA | 34
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190326100 | MOH - Najran | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 4.0MM ( ID)" | EA | 266
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190326200 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "TUBE ENDOTRACHEAL, RAE- PREFORMED, PVC, UNCUFFED, ORAL TYPE, RADIOPAQUEWITH 15MM TERMINATION CONNECTOR, SMOOTH FORMED MURPHY EYE AND TIP,NUMERICAL SCALING EVERY 1 CM STARTING FROM INSERTION SIDE, PROPERCORRELATION BETWEEN ID/OD, DISPOSABLE, STERILE, SIZE, 4.5MM ( ID)" | EA | 10
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336800 |  | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 6.5MM (ID)" | EA | 290
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 |  | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 660
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Ahsa | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 70
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 180
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Jeddah | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 160
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Makkah | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 210
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Najran | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 120
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 60
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Riiyadh Cluster 1 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 34
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Riiyadh Cluster 2 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 26
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190336900 | MOH - Riiyadh Cluster 3 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.0MM (ID)" | EA | 20
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337000 | MOH - Makkah | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.5MM (ID)" | EA | 70
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337000 | MOH - Riiyadh Cluster 1 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.5MM (ID)" | EA | 28
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337000 | MOH - Riiyadh Cluster 2 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 7.5MM (ID)" | EA | 22
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 |  | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 330
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 420
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 | MOH - Hafer Health Directorateالمديريةالعامة للشؤون الصحية حفر ال | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 20
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 | MOH - Joaf Health Directorateالمديريةالعامة للشؤون الصحية الجوف | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 8
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 | MOH - KSMC | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 290
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 | MOH - Qorayat Health Directorateالمديريةالعامة للشؤون الصحية القريا | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 | MOH - Riiyadh Cluster 1 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 25
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 | MOH - Riiyadh Cluster 2 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 10
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190337100 | MOH - Riiyadh Cluster 3 | "NASOPHARYNGEAL AIRWAY, LATEX FREE, IVORY, (ADJUSTABLE) WITH DISTAL -ROUNDED TIP + DEPTH FIXATION DEVICE + 15MM (ID) CONNECTOR STERILE,DISPOSABLE SIZE 8.0MM (ID)" | EA | 35
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190503800 | MOH - Ahsa | "TUBE ENDO-BRONCHIAL BLOCKER, Y BIFURCATION, DOUBLE BALLOON, MULTIPORTADAPTOR ALLOW VENTILATION, BRONCHOSCOPY AND THE BLOCKER SIMULTANEOUSLYFOR USE IN THORACIC SURGERY, ADULT, DISPOSABLE, STERILE" | EA | 4
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190503800 | MOH - Baha | "TUBE ENDO-BRONCHIAL BLOCKER, Y BIFURCATION, DOUBLE BALLOON, MULTIPORTADAPTOR ALLOW VENTILATION, BRONCHOSCOPY AND THE BLOCKER SIMULTANEOUSLYFOR USE IN THORACIC SURGERY, ADULT, DISPOSABLE, STERILE" | EA | 136
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190503800 | MOH - Makkah | "TUBE ENDO-BRONCHIAL BLOCKER, Y BIFURCATION, DOUBLE BALLOON, MULTIPORTADAPTOR ALLOW VENTILATION, BRONCHOSCOPY AND THE BLOCKER SIMULTANEOUSLYFOR USE IN THORACIC SURGERY, ADULT, DISPOSABLE, STERILE" | EA | 9
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190504000 | MOH - Ahsa | "BLOOD GAS SAMPLING KIT, 1ML SYRINGE, LUER SLIP TIP, WITH NEEDLE SIZE23G, 2.5 CM LENGTH, HEPARINIZED 20 -35 IU/ML, SAFETY NEEDLE CA P, WITHBUBBLE REMOVER, STERILE, DISPOSABLE., ONE (1) ITEM/PC = ONE (1) KIT" | EA | 93
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190504000 | MOH - Dammam | "BLOOD GAS SAMPLING KIT, 1ML SYRINGE, LUER SLIP TIP, WITH NEEDLE SIZE23G, 2.5 CM LENGTH, HEPARINIZED 20 -35 IU/ML, SAFETY NEEDLE CA P, WITHBUBBLE REMOVER, STERILE, DISPOSABLE., ONE (1) ITEM/PC = ONE (1) KIT" | EA | 38
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190504000 | MOH - Najran | "BLOOD GAS SAMPLING KIT, 1ML SYRINGE, LUER SLIP TIP, WITH NEEDLE SIZE23G, 2.5 CM LENGTH, HEPARINIZED 20 -35 IU/ML, SAFETY NEEDLE CA P, WITHBUBBLE REMOVER, STERILE, DISPOSABLE., ONE (1) ITEM/PC = ONE (1) KIT" | EA | 29500
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227190504000 | MOH - Qonfodah | "BLOOD GAS SAMPLING KIT, 1ML SYRINGE, LUER SLIP TIP, WITH NEEDLE SIZE23G, 2.5 CM LENGTH, HEPARINIZED 20 -35 IU/ML, SAFETY NEEDLE CA P, WITHBUBBLE REMOVER, STERILE, DISPOSABLE., ONE (1) ITEM/PC = ONE (1) KIT" | EA | 137
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191522300 | MOH - Hael Health Directorateالمديريةالعامة للشؤون الصحية حائل | "TRACHEOSTOMY PERCUTANEOUS KIT (ONE STAGE DILATOR, TRACHEOSTOMY TUBEWITH SUBGLOTTIC SUCTION, TWO INNER CANNULA, TRACHEOSTOMY HOLDER,GUIDEWIRE WITH PROXIMAL AND DISTAL MARKING, INTRODUCER CANNULA, SPLITGAUZE, SAFETY SCALPEL, CANNULA, 10 CC SYRINGE), RADIOPAQUE MARKING,STERILE SIZE 7.0MM (ID)." | EA | 237
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191530000 | MOH - Makkah | "MASK FULL FACE ADULT SILICONE/GEL, VENTED, SIZE LARGE WITH STRAP ANDSWIVEL, ADJUSTABLE SILICON PADDED FOREHEAD SUPPORT, DISPOSABLE FORCPAP/BIPAP MACHINE., ONE (1) ITEM/PC = ONE (1) SET" | EA | 2710
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191530400 | MOH - Najran | MASK NASAL ADULT SILICONE/GEL, FOAM VENTED SMALL WITH STRAP AND SWIVEL DISPOSABLE FOR CPAP/BIPAP MACHINE | EA | 53
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191530400 | MOH - Qonfodah | MASK NASAL ADULT SILICONE/GEL, FOAM VENTED SMALL WITH STRAP AND SWIVEL DISPOSABLE FOR CPAP/BIPAP MACHINE | EA | 6
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531200 | MOH - Najran | "FACE MASK RESUSCITATION, ROUND SILICONE SIZE DIAMETER 80MM, DISPOSABLE" | EA | 64
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531200 | MOH - Qonfodah | "FACE MASK RESUSCITATION, ROUND SILICONE SIZE DIAMETER 80MM, DISPOSABLE" | EA | 2
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 |  | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 800
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Ahsa | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 350
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 200
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 2000
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Baha | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 230
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Dammam | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 180
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Dammam | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 2600
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Jeddah | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 20
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Jeddah | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 1030
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Jeddah | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 420
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - KSMC | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 500
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - KSMC | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 940
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - KSMC | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 230
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Makkah | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 1340
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Makkah | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 3120
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Makkah | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 5880
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Najran | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 100
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Taif | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 900
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191531300 | MOH - Taif | "ANESTHESIA FACE MASK, FULLY TRANSPARENT ALL MASK AND INFLATABLE, AIRCUSHION, ANATOMICAL FIT WITH EFFECTIVE SEAL, EASY AND COMFORTABLE GRIPFOR USER, FLEXIBLE MASK BODY, NON SLIP RIDGES, LATEX FREE, DISPOSABLE,SIZE 4 ADULT MEDIUM" | EA | 2500
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191532200 | MOH - Qonfodah | MASK NASAL PEDIATRIC (SILICONE/GEL), VENTED, SIZE SMALL WITH STRAP ANDSWIVEL, ADJUSTABLE FOREHEAD SUPPORT, ADJUSTABLE MOLD DISPOSABLE FORCPAP/BIPAP MACHINE. | EA | 17
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191535500 | MOH - Ahsa | "CUFF INFLATOR / PRESSURE GAUGE FOR ENDOTRACHEAL- TRACHEOSTOMY MEASURINGCUFF PRESSURE, REUSABLE" | EA | 16
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191535500 | MOH - PMAH | "CUFF INFLATOR / PRESSURE GAUGE FOR ENDOTRACHEAL- TRACHEOSTOMY MEASURINGCUFF PRESSURE, REUSABLE" | EA | 54
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191535500 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "CUFF INFLATOR / PRESSURE GAUGE FOR ENDOTRACHEAL- TRACHEOSTOMY MEASURINGCUFF PRESSURE, REUSABLE" | EA | 14
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191535600 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | "TRACHEOSTOMY TUBE HOLDER, ONE PIECE, VELCRO SECURING, SOFT PADDED FOAMCOVERED WITH FABRIC, ADULT/PEDIATRIC SIZE, 1.5 INCH WIDE, FITS NECK FROM18INCH TO 22 INCH , DISPOSABLE, NON-STERILE." | EA | 450
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191535600 | MOH - Makkah | "TRACHEOSTOMY TUBE HOLDER, ONE PIECE, VELCRO SECURING, SOFT PADDED FOAMCOVERED WITH FABRIC, ADULT/PEDIATRIC SIZE, 1.5 INCH WIDE, FITS NECK FROM18INCH TO 22 INCH , DISPOSABLE, NON-STERILE." | EA | 650
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191535600 | MOH - Najran | "TRACHEOSTOMY TUBE HOLDER, ONE PIECE, VELCRO SECURING, SOFT PADDED FOAMCOVERED WITH FABRIC, ADULT/PEDIATRIC SIZE, 1.5 INCH WIDE, FITS NECK FROM18INCH TO 22 INCH , DISPOSABLE, NON-STERILE." | EA | 500
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227191535600 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "TRACHEOSTOMY TUBE HOLDER, ONE PIECE, VELCRO SECURING, SOFT PADDED FOAMCOVERED WITH FABRIC, ADULT/PEDIATRIC SIZE, 1.5 INCH WIDE, FITS NECK FROM18INCH TO 22 INCH , DISPOSABLE, NON-STERILE." | EA | 640
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250003200 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | "SPINAL NEEDLE WHITACRE PENCIL POINT WITH INTRODUCER 22G X 3.5""" | EA | 350
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250003800 | MOH - Ahsa | "EPIDURAL SET G16 FOR ADULT : 16G X 12-15 CM TUOHY NEEDLE, LOSS-OFRESISTANCE SYRINGE, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL, CATHETER LABEL0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, PAPER DRAPE EYE SHIELD, TRANSPARENT ADHESIVE, FENESTRATEDDRAPE, DISPOSABLE, STERILE" | EA | 10
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - Ahsa | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 46
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - Aseer Health Directorateالمديريةالعامة للشؤون الصحية عسير | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 60
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - Beshah Health Directorateالمديريةالعامة للشؤون الصحية بيشه | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 640
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - Jeddah | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 140
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - KSMC | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 330
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - Makkah | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 80
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - Najran | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 150
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - Qasim Health Directorateالمديريةالعامة للشؤون الصحية القصيم | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 60
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250004100 | MOH - Qassim | "EPIDURAL SET FOR CHILDREN :19G X 8 -9CM TUOHY NEEDLE, PLASTIC LOSS-OFRESISTANCE SYRINGE10 ML, WELL SEALED, NON LUER LOCK 20G CLEAR & SCALEDEPIDURAL CATHETER, EASILY INSERTED, NON KINKABLE, ATRAUMATIC CATHETERINTRODUCER PIECE, CATHETER CONNECTOR EPIDURAL CATHETER LABEL 0.2M LUERLOCK FLAT FILTER (5 M X 4 STRAW FILTER) ADHESIVE APPLICATION SPONGE TOHOLD CATHETER, DISPOSABLE, STERILE" | EA | 150
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250005300 | MOH - Diwan - Riyadh | "AIR PRESSURE BAG FOR INVASIVE MONITOR, WITH MANOMETER, REUSABLE, 500ML" | EA | 478
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250008200 |  | HME FILTER FOR TRACHED PATIENTS, FOR ADULT,TIDAL VOLUME RANGE WITH O2AND SUCTION PORT, IN BLISTER PACK STERILE, DISPOSABLE | EA | 100
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250008200 | MOH - Dammam | HME FILTER FOR TRACHED PATIENTS, FOR ADULT,TIDAL VOLUME RANGE WITH O2AND SUCTION PORT, IN BLISTER PACK STERILE, DISPOSABLE | EA | 70
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250008200 | MOH - Najran | HME FILTER FOR TRACHED PATIENTS, FOR ADULT,TIDAL VOLUME RANGE WITH O2AND SUCTION PORT, IN BLISTER PACK STERILE, DISPOSABLE | EA | 50
MOH | منافسة تأمين لوازم العلاج التنفسي والتخدير | NPT0011/19 | 4227250008200 | MOH - Tabouk Health Directorateالمديريةالعامة للشؤون الصحية تبوك | HME FILTER FOR TRACHED PATIENTS, FOR ADULT,TIDAL VOLUME RANGE WITH O2AND SUCTION PORT, IN BLISTER PACK STERILE, DISPOSABLE | EA | 70